# ATTACHMENT A:  Special Inspection And Testing Summary – Sample

A tool for the DPIRC, not a required submittal; guidance based on older IBC edition

| 1. Concrete [ ] Continuous placement inspection [ ] Exceptions__________________ [ ] ________Cylinders per ______CY Test: _____@7 _____@28____Hold 2. Bolts Installed in concrete [ ] All bolts [ ] Location: ______________________ 3. Special moment-resisting concrete frame [ ] As indicated [ ] Location: _______________________ 4. Reinforcing steel and prestessing tendons [ ] Placement inspection [ ] Stressing and grouting of tendons 5. Structural Welding Periodic Visual inspection: [ ] Single pass fillet welds <5/16” [ ] Steel deck [ ] Welded studs [ ] Cold formed studs and joists [ ] Stair and railing systems [ ] Reinforcing steel Continuous Visual inspection [ ] All other welding [ } Reinforcing steel [ ] Other ___________________________ Special moment-resisting frames” [ ] UT all CJP groove welds [ ] UT all CJP groove welds >5/16” [ ] UT all PP groove welds in column splices [ ] UT all PP groove welds in column splices > ¾” [ ] UT column flanges at beam flange welds [ ] NDT rate reduction applies [ ] Other ____________________________ 6. High strength bolting Snug Tight: [ ] All [ ] As indicated Full Pretension [ ] All [ ] As Indicated 7. Structural Masonry fm= ____, Stresses ______ Verification of fm [ ] Prism tests [ ] Prism test record [ ] Unit Strength [ ] Continuous inspection [ ] Periodic inspection: _____________________ | 7. Structural masonry (continued) Test: Before During Prisms [ ] [ ] Units [ ] [ ] Grout [ ] [ ] 8. Reinforced gypsum concrete [ ] Continuous inspection of mixing and placement [ ] Periodic inspection_____________________ [ ] Strength testing _______________________ 9. Insulating concrete fill [ ] Periodic inspection ____________________ [ ] Strength testing _______________________ 10. Spray-applied fire resistive materials [ ] Periodic inspection _____________________ 11. Piling, drilled pier and caisson Continuous Periodic Pile Driving [ ] [ ] Drilling [ ] [ ] Testing [ ] [ ] 12. Shotcrete [ ] Continuous placement inspection [ ] Preconstruction panel [ ] In-place cores Strength testing: [ ] Testing panel [ ] In-place cores 13. Special grading, excavation, and filing [ ] Periodic Inspection [ ] Subgrade tests ____________________ [ ] Compaction tests __________________ [ ] Verify bearing strata 14. Smoke control systems [ ] Periodic inspection during ductwork erection [ ] During system testing 15. Special cases [ ] Shear wall/diaphragm nailing Anchorage to existing concrete/masonry [ ] Installation inspection [ ] Proof load testing [ ] Shoring [ ] Underpinning |
| --- | --- |

Notes:___________________________________________________________