SECTION 01 1117

WORK BY OWNER – SELF-PERFORM

*************************************************************************************************************LANL MASTER SPECIFICATION

Word file at http://engstandards.lanl.gov

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  ESM Chapter 1 Section Z10 Att F Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements may be added if increased confidence in procurement or execution is desired, and independent review of final Section/Spec is required; see ESM Chapter 1 Section Z10 Att F.

This section may reference other sections that are future LANL Masters.  Until they exist, the design agency shall either delete these anticipatory references or create a project spec on the topic (whichever is more appropriate for the project).
This Section must not be added to issued design packages (e.g., by DRN or FCR) without consideration to the impact on other spec sections.  That is because the automatic submittal reduction material may be overly aggressive as written if the other spec sections were created without the opportunity to selectively state “Submittals shall not be eliminated by Section 01 1117”.  The other material would not cause the same issue,

*************************************************************************************************************

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

# GENERAL

## Section Includes

### Amendments to other spec sections used for self-perform work (i.e., by LANL forces).

### This section takes precedence over those sections, allowing them to be used with reduced editing (i.e., LANL master specs need not be tailored for matters handled by this section, since LANL will refer to this section in case of conflict, etc.).

## REQUIREMENT CHANGES AND CLARIFICATIONS

### Word Substitutions

| When encountering this… | Take to mean this: |
| --- | --- |
| Construction Subcontractor or Subcontractor | LANL self-perform entity |
| Form 2178 | Section 01 2500 Substitution Form |
| Subcontract | work scope |
| Subcontract Number | Work Order (WO) number |
| Subcontract Technical Representative (STR) | LANL craft superintendent(s) or N/A |

*************************************************************************************************************

Authors note:  In following table, for electrical testing, LANL procedures meet spec requirements.  For records, field engineer ensures acceptable test, records only needed for file.

*************************************************************************************************************

### Submittal Requirement Changes -- General

| Topic | New Requirement | Section Ref. |
| --- | --- | --- |
| Welding procedures (WPSs) and welder quals | Not required; however Welding Checklist process still required. | 01 4455 and others |
| Electrical testing procedures | Not required. Test plans are still required, however. | 26 0813 |
| Electrical and pressure testing records | Hold/witness points must be witnessed by LANL inspector (CM-CE). Records may be treated as closeout (not action) submittals if records are signed (accepted) by field engineer. | 26 0813, 22 0813. |

### Always Required Submittals.  Submittals are always required in these circumstances:

##### When they are Closeout Submittals (project record documents such as test records and manuals).

*************************************************************************************************************

Regarding “2” below, Action or Informational submittals are required when, in the opinion of the Design Agency, they are essential to ensuring the project proceeds without undue cost, schedule, safety, or quality risk.  Submittals may also be required (to avoid errors/delays) for specialty or complex items for which listers performing material takeoffs are not familiar and costly or long-lead (4+ weeks) procurements (this reminder adapted from Z10 Att. F r1 on Submittal Reduction.)

*************************************************************************************************************

##### When document notes (for its entirety, or items selectively): “Submittal(s) shall not be eliminated by Section 01 1117.

##### When listed below or important quality or safety impact.

| Topic | Required when affecting… |
| --- | --- |
| Fire/Life Safety | Fire alarm/suppression/egress/life safety including product flame spread and smoke generation |
| Structural | Design, products, anchorage, aspects of IEBC Level 2A or 2B alteration projects that include IEBC Section 807, Structural; or IEBC repair that includes “substantial structural damage” |
| Pressure safety | All documentation |
| Welding & NDE | Document base metal, filler material, and WPS used (welding checklist may satisfy) |

### Submittal Reduction:  Except for “Always Required” (“C” above), all other ML-4 submittals are not required when item being purchased meets specification exactly AND the project meets all of the following criteria:

- The work is an IEBC repair or modification (up to Level 2):

- This does not include: IEBC Level 3 alteration (major renovation), building addition, or new structure; and

- The total effort is under $500k (GPP/IGPP limit), even when multiple jobs or projects are created to produce a desired outcome.

NOTE:  No other ESM requirements including those on design outputs, reviews (e.g., IBC Program permitting), design control (e.g., FCR/FCN) are altered by this approach on submittal reduction.

*************************************************************************************************************

Bills of Materials are typically on drawings while a Consolidated Bill of Materials is a project’s compilation of all BOMs.  This Article clarifies ESM Ch 1 Section Z10 Att. F.

“Adequately defined” means all necessary information to procure the correct it with necessary quality, be it manufacturer/model/part number or necessary salient features.

Design Agency production of CBOM is preferable approach to ensuring correctness, and rigor in producing CBOM must be comparable to design if being relied upon for nuclear safety; design agency review/approval of a CBOM produced by other-than-engineering may work but appropriate rigor in review is required when nuclear safety may be impacted.  Note, at time of writing SI-DC (DCRM) treated CBOMs as submittals, but they tended to lack an identifier (acronym and unique number).

*************************************************************************************************************

### CBOM Usage

#### When an item not requiring submittals or specific inspection is adequately defined in a BOM, CBOM, or material takeoff, it is not required to be discussed in the Specifications or Drawings so long as the Design Agency either produced the (C)BOM or approved it.

#### CBOMs must be consistent with design outputs and the incorrect document(s) revised to eliminate conflicts.

### Section 01 3300 Submittal Procedures Att. A Construction Submittal Log -- Schedule

| Code | Subcontract Meaning | Take to mean this: |
| --- | --- | --- |
| A | Per Subcontract Schedule | Per work schedule |
| B | Prior to Balance of Payment | Prior to work package closure |
| M | Prior to Mobilization | Prior to field or shop work |
| N | Prior to Notice to Proceed | Prior to work authorization |
| Y | Prior to Progress Payment for Each Specific Task | Prior to major task or phase completion; in all cases prior to work package closure |

# PRODUCTS

Not Used

# EXECUTION

Not Used

END OF SECTION

************************************************************

Do not delete the following reference information:

************************************************************

THE FOLLOWING REFERENCE FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 1117, Rev. 0, dated May 19, 2016.