SECTION 02 4119

SELECTIVE STRUCTURE DEMOLITION

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Ch 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

PART 1 GENERAL

1.1	SECTION INCLUDES

A.	Protection of existing materials

B.	Disposal of materials

C.	Identification of utilities

D.	Demolition

1.2	PROJECT RECORD DOCUMENTS

A.	Accurately record actual locations of capped utilities.

1.3	REGULATORY REQUIREMENTS

A.	Do not close or obstruct egress width to exits.

B.	Do not disable or disrupt building fire or life safety systems without [3 days] prior written notice to the LANL Subcontract Technical Representative (STR).

PART 2 PRODUCTS

Not Used.

PART 3 EXECUTION

3.1	PREPARATION

A.	Protect existing materials which are not to be demolished.

B.	Do not damage existing materials designated to be reused.

C.	Identify location of existing utilities.

3.2	DEMOLITION REQUIREMENTS

A.	Conduct demolition to minimize interference with occupied building areas.

B.	If existing structure appears to be in danger, cease operations and notify the STR immediately.  Do not resume affected operations until directed by the STR.

C.	If hazardous or contaminated materials are discovered, cease operations immediately and notify STR for direction.

D.	Maintain protected egress and access to the work.

3.3	DEMOLITION

A.	Disconnect, remove, cap and identify designated utilities within demolition areas.

B.	Demolish in an orderly and safe manner.

C.	Remove demolished materials from site as work progresses [and haul to the Los Alamos County Landfill].  Upon completion of work, leave areas in clean condition.

D.	Do not burn or bury materials on site.

E.	Remove temporary work.

END OF SECTION

************************************************************

Do not delete the following reference information.

*************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 02 4119 Rev. 1, dated April 23, 2008.