SECTION 05 3000

METAL DECKING

***********************************************************************************************************

NOTE: These master specifications serve as templates and must be edited to act as project-specific construction specifications.

This specification section covers the requirements for steel floor and roof decks, including accessories.

This specification section is for use with LANL ESM Chapter 5, Section II; therefore it is applicable to ML-4 projects.  For ML-1 / ML-2 and ML-3, independent reviews may be required; see ESM Ch 1 Section Z10 Specifications and Quality sections.

ESM Chapter 5, Sect. II, para. 7.0, references the International Building Code (IBC), Chapter 22, Steel, for guidance on design requirements for steel building structures, and components therein, most of which are contained in this and other METALS sections of the specifications.

When editing to suit project, designer shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM Structural POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.

Please forward your edited versions of these specifications to struc-spec-editor.  This will help to ensure that the master specifications are up to date.

***********************************************************************************************************

*************************************************************************************************************

NOTE: Determine which roof areas on the structure are considered by the structural engineer as functioning as diaphragms for the lateral-force-resisting system.

Composite decks and diaphragm-acting decks, including connections, should be designed by the structural engineer according to the IBC.  All connections must be shown. Drawings must show wind uplift loads for roof joist design in addition to the items listed below.

For non-diaphragm acting, non-composite decks, the Constructor may provide the deck design and connections. In this case, the drawings must show roof live loads, including snow loads, and wind loads, including internal and external pressures and high intensity zones. Consider showing a roof uplift and snow load plan on the drawings.

In addition to the above, show the following information on the project drawings:

1. Structural properties (height, sheet thickness, and section moduli or moment of inertia).

2. Floor and roof deck penetrations.

3. Location, spacing, and size of hanger clips or loops.

4. Closure plates.

5. Location of cellular decking and whether it is to be used as electrical raceway.

6. Weld or fastener spacing.

7. Whether construction is based on shored construction.

Design steel deck to carry the concrete and steel deck dead loads, and the live loads during construction before the concrete sets. Additional concrete dead load due to deflection of the deck shall be considered when necessary to prevent excessive stresses or deflections in the deck.

*************************************************************************************************************

PART 1 GENERAL

*************************************************************************************************************

NOTE: The structural steel design must meet the requirements of OSHA Steel Erection Standard, 29 CFR Part 1926, Subpart R-Steel Erection, effective date January 18, 2002.

*************************************************************************************************************

  - REFERENCES

A.	The publications listed below form a part of this specification to the extent referenced. The publications are referred to in the text by the basic designation only.

AMERICAN IRON AND STEEL INSTITUTE (AISI)

AISI SG03-3	Cold-Formed Steel Design Manual Set

AMERICAN SOCIETY OF CIVIL ENGINEERS (ASCE)

ASCE 8	Design of Cold-Formed Stainless Steel Structural Members

ASTM INTERNATIONAL (ASTM)

ASTM A 108 	Steel Bars, Carbon, Cold-Finished, Standard Quality

##### ASTM A 176	Stainless and Heat-Resisting Chromium Steel Plate, Sheet, and Strip

ASTM A 240	Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications

ASTM A 276	Stainless and Heat-Resisting Steel Bars and Shapes

ASTM C 423 	Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

ASTM A 570 	Steel, Sheet and Strip, Carbon, Hot-Rolled

ASTM A 653 	Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

ASTM A 666				Austenitic Stainless Steel, Sheet,

Strip, Plate, and Flat Bar for Structural Applications.

ASTM A 780 	Repair of Damaged and Uncoated Areas of Hot-Dipped Galvanized Coatings

ASTM A 924	General Requirements for Steel Sheet, Metallic-Coated by the Hot-Dip Process

ASTM A 1008 	Steel Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability

##### ASTM F 593	Stainless Steel Bolts, Hex Cap Screws, and Studs

AMERICAN WELDING SOCIETY (AWS)

AWS D1.1 				Structural Welding Code – Steel

AWS D1.3 	Structural Welding Code – Sheet Steel

FM GLOBAL (FM)

FM P7825 				Approval Guide

INTERNATIONAL CODE COUNCIL

IBC 					International Building Code

NATIONAL FIRE PROTECTION ASSOCIATION (NFPA)

NFPA 70 				National Electrical Code

THE SOCIETY FOR PROTECTIVE COATINGS (SSPC)

SSPC Paint 20 	Zinc-Rich Coating (Type I - "Inorganic" and Type II - "Organic")

UNDERWRITERS LABORATORIES (UL)

UL 209  	Cellular Metal Floor Raceways and Fittings

UL Bld Mat Dir 			Building Materials Directory

  - SUBMITTALS

*****************************************************************************************************

NOTE: Submittals must be limited to those necessary for adequate quality control. The importance of an item in the project should be one of the primary factors in determining if a submittal for the item should be required.

Indicate submittal classification in the blank space following the name of the item requiring the submittal by using "REQD" when the submittal requires LANL approval.  Submittal items not designated with a "REQD" are considered as being for Constructor’s Quality Control System or for information only.

*************************************************************************************************************

- LANL approval is required for submittals with a "REQD" designation; submittals not having a "REQD" designation are for Constructor’s Quality Control system, information only, or as otherwise designated.

Submit the following in accordance with the requirements of Section 01 3300.

  - Certificates

      - Deck Units

      - Accessories

      - Wind Storm Resistance

      - Qualification of Welders.

      - Fire Safety

      - Self-drilling, self-tapping screws

      - Mill Test Reports:  chemical analysis and physical testing of deck materials

      - Test Reports demonstrating that steel-rolling compounds, lubricants, and primers are compatible with sprayed-on fireproofing and will not impair performance under fire exposure for applications indicated

  - Shop Drawings

      - Fabrication Drawings

  - Product Data

      - Deck Units

      - Sound Absorbing Material

      - Accessories

      - [Mechanical Fasteners]

  - Design Data

      - Deck Units, including certified noise-reduction coefficient (NRC) from test results by independent testing laboratory

b.   Submit manufacturer's design calculations, or applicable published literature for the structural properties of the proposed deck units

  - Samples

      - [Deck Units]

      - [Accessories]

  - QUALITY ASSURANCE

- Deck Units

1.	Deck units and accessories shall be products of a manufacturer regularly engaged in manufacture of steel decking. [Provide a 2 sq ft. sample of decking material and each accessory to be used.] [Provide a sample of acoustical material to be used.] Provide manufacturer's certificates attesting that the decking material meets the specified requirements.

- Certification of Piston Tool Operator

1.	Manufacturer's certificate attesting that the operators are authorized to use the low velocity piston tool.

C.	Qualification of Welders

1.	Provide welder qualification procedures, welder qualifications, and duration of qualification period in accordance with AWS D1.1 and AWS D1.3.

D.	Regulatory Requirements

***********************************************************************************************************

NOTE: For roofing systems with insulation/underlayment applied directly to deck, include applicable paragraph/sentence for fire rated and/or windstorm resistance. Specify roof assemblies that are in consonance with other roof components (Supports, deck, adhesives, bitumen, fasteners and attachments, vapor retarders, insulation, membrane, and surfacing) so that the roof construction assembly results in UL or FM fire-resistance and windstorm resistance classification required by project criteria.

***********************************************************************************************************

1.	Fire Safety

- a.	Roof deck shall have been tested as a part of a roof deck construction assembly of the type used for this project, and shall be listed as Class A in the UL Bld Mat Dir, or listed as Class 1 construction in FM P7825, and so labeled.

2.	Wind Storm Resistance

**********************************************************************************************************

NOTE: Select the appropriate wind uplift pressure based on wind speeds used by the structural designer in accordance with LANL ESM Chapter 5 and IBC.

**********************************************************************************************************

a.	Design roof systems to comply with FM Class 1-90 Windstorm Resistance criteria or their equivalent, with wind pressures on roofing determined in accordance with the requirements of LANL ESM Chapter 5 and IBC.

3.	Fabrication Drawings

a.	Each set of drawings shall indicate type of deck, gage, finish, and the following:

b.	Layout of deck and accessories including laps, extensions and profile orientation

c.	Support locations and bearing details

d.	Edge and end locations (i.e., of deck units)

e.	Openings in deck units and reinforcement to be provided

f.	Location and sequence of deck connections and methods of anchoring

g.	Attachment of accessories

h.	Adjusting plate details

i.	Special jointing

j.	Layout of headed-stud shear connectors

k.	Manufacturer's erection instructions and other pertinent details.

  - DELIVERY, STORAGE, AND HANDLING

A.	Deliver deck units to the site in a dry and undamaged condition. Store and handle steel deck in a manner to protect it from corrosion, deformation, and other types of damage. Do not use decking for storage or as working platform until units have been fastened into position. Exercise care not to damage material or overload decking during construction.  Must not exceed the design live load or the maximum uniform distributed storage load.  Stack decking on platforms or pallets and cover with weather-tight ventilated covering. Elevate one end during storage to provide drainage.  Maintain deck finish at all times to prevent formation of rust. Repair deck finish using touch-up paint. Replace damaged material.

1.5	DESIGN REQUIREMENTS FOR NON-DIAPHRAGM-ACTING AND NON-COMPOSITE DECKS

A.	Properties of Sections

1.	Properties of metal roof deck sections must comply with engineering design width as limited by the provisions of AISI SG03-3.

B.	Allowable Loads

1.	Indicate total uniform dead and live load for detailing purposes.

PART 2 PRODUCTS

  - MATERIALS

- Steel Sheets

*****************************************************************************************************

NOTE: Minimum metal thickness should be 0.014 inches for form decks and 0.028 inches for roof and composite decks. However, for corrosive exposures, consider 0.034-inch minimum thickness.

*****************************************************************************************************

NOTE: Specify ASCE 8 for stainless steel decks.

*****************************************************************************************************

NOTE: Include requirements for acoustical steel deck when required by the design, otherwise delete.  Acoustical steel deck is designed to serve as a sound-absorbing ceiling as well as a structural deck. Acoustical non-cellular steel roof deck is identical in appearance to standard steel roof deck (non-cellular) except that the webs of the ribs are perforated to receive fiber glass sound absorbing material, in roll form, placed between the perforated ribs. Acoustical non-cellular roof deck should not be used without modifying FM or UL requirements for roof decks in Division 07.  Acoustical cellular steel deck is identical in appearance to cellular steel deck, except that the steel bottom plate (ceiling) is perforated. In addition, acoustical deck serves as both a deck and acoustical ceiling (in lieu of a separate finished acoustical ceiling) where noise levels are to be controlled. Include cover plates when cellular deck is specified. Include 2-inch end laps for non-cellular deck.

********************************************************************************************************

1.	Flat rolled carbon steel sheets of structural quality, [thickness not less than [indicated] [0.028] [_____] inch before coating,] meeting the requirements of AISI SG03-3, except as modified herein.  [Stainless steel sheets of structural quality, [thickness not less than [indicated] [0.028] [_____] inch meeting the requirements of ASCE 8.]  [For acoustical steel deck units, provide perforated sheets with 5/32-inch diameter holes staggered 3/8 inch on-centers.]

- Steel Coating

********************************************************************************************************

NOTE: Specify coated steel for most floor decks and all roof decks, with the exception of stainless steel decks.  The minimum recommended finish is a galvanized coating per ASTM 653, G30 (Z090), except in the case of parking garage floor decks, in which case a minimum G90 (Z275) is recommended.  In corrosive or high moisture environments, a G60 (Z180) or G90 (Z275) coating is recommended.  An acceptable alternative in corrosive environments is ASTM 924 aluminum-zinc alloy.  A G90 (Z275) coating should be specified for decks used with concrete or spray-applied fire protection.  Prime painted, not coated, should be specified only for low-budget jobs where deck is not critical. Include sentence in brackets when applicable. Coordinate cellular deck wire raceways with appropriate sections in Division 16 and add nformation where needed.

********************************************************************************************************

1.	ASTM A 653 designation G30 [   ] [Z275] [_____] galvanized, or ASTM A 924 aluminum-zinc alloy.  Apply coating to both sides of sheet. [Coating for decking provided as wire raceways shall conform to UL 209.]

[C.	Sound Absorbing Material

******************************************************************************************************

NOTE: Include requirements for acoustical steel deck when required by the design, otherwise delete.

******************************************************************************************************

1.	Provide [glass fiber in roll or pre-molded form for acoustical non-cellular steel roof deck] [and] [glass fiber rigid strip for acoustical cellular steel deck] in accordance with the manufacturer's standards.]

  - ACCESSORIES

A.	Provide accessories of same material as deck, unless specified otherwise.  Provide manufacturer's standard type accessories, as specified.

B.	Adjusting Plates

1.	Provide adjusting plates, or segments of deck units, of same thickness and configuration as deck units in locations too narrow to accommodate full size units. Provide factory cut plates of predetermined size where possible.

- End Closures

1.	Fabricated of sheet metal by the deck manufacturer. Provide end closures minimum 0.028 inch thick to close open ends at [exposed edges of floors,] [parapets,] [end walls,] [eaves,] [and] openings through deck.

[D.	ACOUSTIC CLOSURES

1.	Glass fiber or mineral or mineral fiber insulation, profile to match deck.]

E.	Partition Closures

*************************************************************************************************************

NOTE: Coordinate options in paragraphs entitled "Partition Closures" and "Closures Above Partitions." When a suspended acoustical ceiling is provided below the metal deck, the closures above partitions may be eliminated for acoustical purposes provided the acoustical properties of the ceiling are adequate to restrict sound transmission to a level consistent with the facility design criteria.

*************************************************************************************************************

1.	Provide closures for closing voids above interior walls and partitions that are perpendicular to the direction of the configurations. [Provide rubber, plastic, or sheet steel closures above typical partitions.] [Provide minimum one-inch thick soft composition rubber closures above walls and partitions contiguous to acoustical steel deck.] [Provide sheet steel closures above fire-resistant interior walls and partitions located on both sides of wall or partition.] [Provide glass fiber blanket insulation in the space between pairs of closures at acoustical partitions.]

********************************************************************************************************

NOTE: Drawings shall show closures above interior partitions where required. On fire partitions, metal closures will be shown on both sides of the wall.

********************************************************************************************************

F.	Closure Plates for Composite Deck

1.	The concrete shall be supported and retained at each floor level. Provide edge closures at all edges of the slab of sufficient strength and stiffness to support the wet concrete. Metal closures shall be provided for all openings in composite steel deck 1/4 inch and over.

- Sheet Metal Collar

1.	Where deck is cut for passage of pipes, ducts, columns, etc., and deck is to remain exposed, provide a neatly cut sheet metal collar to cover edges of deck. Do not cut deck until after installation of supplemental supports.

H.	Cover Plates

1.	Sheet metal to close panel edge and end conditions, and where panels change direction or butt. Polyethylene-coated, self-adhesive, 2-inch wide joint tape may be provided in lieu of cover plates on flat-surfaced decking butt joints.

- Sump Pans

***************************************************************************************************

NOTE: Coordinate sump pans with type of roof drain specified.

***************************************************************************************************

1.	Sump pans shall be provided for roof drains and shall be minimum 0.075-inch thick steel, [flat] [recessed] type. Sump pans shall be shaped to meet roof slope by the supplier or by a sheet metal specialist. Bearing flanges of sump pans shall overlap steel deck a minimum of 3 inches.  Opening in bottom of pan shall be shaped, sized, and reinforced to receive roof drain.

- Column Closures

1.	Sheet metal, minimum 0.0358-inch thick or metal rib lath.

K.	Access Hole Covers

1.	Sheet metal, minimum 0.0474-inch thick.

L.	Hangers

********************************************************************************************************

NOTE: Location, spacing, and size of hangar clips or loops must be indicated or specified, as applicable to the project.

********************************************************************************************************

1.	Provide clips or loops for [utility systems] [and] [suspended ceilings] of one or more of the following types:

a. Lip tabs or integral tabs where non-cellular decking or flat plate of cellular section is 0.0474-inch thick or more, and a structural concrete fill is used over deck.

b. Slots or holes punched in decking for installation of pigtails.

c. Tabs driven from top side of decking and arranged so as not to pierce electrical cells.

d. Decking manufacturer's standard as approved by LANL.

M.	Shear Connectors

********************************************************************************************************

NOTE: Designer shall determine the necessity for shear connectors as per IBC.  Designer shall show the size, spacing, and location of the shear connectors.

If stainless steel deck is specified then shear connectors shall be ASTM F 593.

********************************************************************************************************

1.	Shear connectors shall be [headed stud type, ASTM A 108, Grade 1015 or 1020, cold finished carbon steel with dimensions complying with IBC] [and] [or] [strap type, ASTM A 570, Grade D, hot-rolled carbon steel] [or] [headed stud type, ASTM F 593, Alloy [    ] and Condition [    ], stainless steel with dimensions complying with ASCE 8].

[N.	Mechanical Fasteners

********************************************************************************************************

NOTE: Delete this paragraph when only welding is allowed.

********************************************************************************************************

1.	Provide mechanical fasteners, such as powder-actuated or pneumatically driven fasteners, for anchoring the deck to structural supports and adjoining units that are designed to meet the loads indicated. Provide positive locking-type fasteners standard with the IBC and the steel deck manufacturer, as approved by LANL.]

O.	Miscellaneous Accessories

********************************************************************************************************

NOTE: Ensure that items listed in this paragraph are indicated on the project drawings.

********************************************************************************************************

1.	The manufacturer's standard accessories shall be furnished as necessary to complete the deck installation. Metal accessories shall be of the same material as the deck and have minimum design thickness as follows: saddles, 0.0474 inch; welding washers, 0.0598 inch; cant strip, 0.0295 inch; other metal accessories, 0.0358 inch; unless otherwise indicated. Accessories shall include but not be limited to saddles, welding washers, fasteners, cant strips, butt cover plates, underlapping sleeves, and ridge and valley plates.

  - FABRICATION

- Deck Units

*************************************************************************************************************

NOTE: Cellular and non-cellular decking may or may not be combined into one deck system. If only one type is used, delete the other type. Where deck design is based on shored construction, edit and include requirements in the last bracketed sentence and indicate on structural drawings that decking must be shored during placement and curing of concrete.

**************************************************************************************************************************************************************************************************************************

NOTE: The steel deck shall be designed according to IBC.  Verify grades of steel are appropriate for design.  IBC allows steel conforming to AISI SG03-3 or ASCE 8.

Phosphatized and painted coating is not recommended for the majority of applications.

The steel deck specified in this guide specification will be used in conjunction with insulation and built-up roofing in accordance with LANL ESM Chapter 4 (Architectural), Section B (Building Shell), or will be used as a permanent form for concrete or as part of a composite deck assembly.

Drawings should show location and extent of steel deck, complete structural support including openings greater than 12 inches, type and location of accessories, uniformly distributed live loads (positive and negative) in psf, thickness, and required values for section modulus and moment of inertia per foot of width.

Moments of inertia and section modulus values will be designed based on procedures set forth in IBC.

Subsystems for fire-rated construction, including roof deck, joists, insulation, built-in roofing, and ceiling material will be indicated.

When the finished installations will be exposed to high humidity, or corrosive chemical fumes, special care in specifying the finish should be used and individual manufacturers should be consulted for the specific application. Where sprayed-on fireproofing is used, only galvanized decking with an ASTM G90 coating will be allowed.  Specifics on coating should be specified in paragraphs Roof Deck, Composite Deck, and Form Deck.

Notes on the drawings should indicate the attachment method to be used, and should give the size and spacing for perimeter, side lap, intermediate supports, and end lap attachments.

*************************************************************************************************************

1.	Deck units shall conform to IBC. Form [cellular] [and] [non-cellular] decking and accessories shall have a 33-ksi-minimum yield strength and, in addition, conform to ASTM A 653, Structural Steel; or ASTM A 1008 Coated Carbon Steel Sheets, Grade C [D] [E]. [; or, for stainless steel decking, [ASTM A 176, Type [    ]] [ASTM A 240, Type [    ]] [ASTM A 276, Type [    ], Condition [    ], Finish [   ]] [ASTM A 666, Type [    ]].]  Panels of maximum possible lengths shall be used to minimize end laps. Deck units shall be fabricated in lengths to span 3 or more supports with flush, telescoped, or nested 2-inch laps at ends, and interlocking, or nested side laps, unless otherwise indicated. Deck with cross-sectional configuration differing from the units indicated may be used, provided that the properties of the proposed units, determined in accordance with IBC, are equal to or greater than the properties of the units indicated and that the material will fit the space provided without requiring revisions to adjacent materials or systems. [Factory-apply a standard, phosphatized and painted, baked-on enamel finish to underside of steel decking.] [[Floor] [and] [Road] deck system design is based on shored construction.]

- Roof Deck

********************************************************************************************************

NOTE: The epoxy coating is expensive and should only be considered for corrosive environments where justified by a cost analysis.

********************************************************************************************************

1.	Deck used in conjunction with insulation and built-up roofing shall have a 33,000-psi minimum yield strength and, in addition, conform to ASTM A 653, Structural Steel; or ASTM A 1008 Coated Carbon Steel Sheets, Grade C [D] [E]. [; or, for stainless steel decking, [ASTM A 176, Type [    ]] [ASTM A 240, Type [    ]] [ASTM A 276, Type [    ], Condition [    ], Finish [   ]] [ASTM A 666, Type [    ]].]  Roof deck units shall be fabricated of [[0.0295] [_____] inch design thickness or thicker steel] [the steel design thickness required by the design drawings] and shall be [shop painted] [galvanized in conformance with ASTM A 653, G30 [    ] coating class [or aluminum-zinc coated in accordance with ASTM A 924]] [painted with an epoxy coating or equivalent applied to prime-coating in accordance with manufacturer's standard].

C.	Form Deck

1.	Deck used as formwork for concrete shall conform to ASTM A 653, Structural Steel; or ASTM A 1008 Coated Carbon Steel Sheets, Grade C [D] [E]. [; or, for stainless steel decking, [ASTM A 176, Type [    ]] [ASTM A 240, Type [    ]] [ASTM A 276, Type [    ], Condition [    ], Finish [   ]] [ASTM A 666, Type [    ]].]  Form deck shall be fabricated of [[0.015] [____] inch design thickness or thicker steel.] [the steel design thickness required by the design drawings.] [Paint with one coat of manufacture's standard paint.] [galvanize in conformance with ASTM A 653, G30 [   ] coating class [or aluminum-zinc coated in accordance with ASTM A 924]].]

[D.	Composite Deck

1.	Composite deck assembly shall conform to ASTM A 653, Structural Steel; or ASTM A 1008 Coated Carbon Steel Sheets, Grade C [D] [E]. [; or, for stainless steel decking, [ASTM A 176, Type [    ]] [ASTM A 240, Type [    ]] [ASTM A 276, Type [    ], Condition [    ], Finish [   ]] [ASTM A 666, Type [    ]].]  Deck used as the tension reinforcing in composite deck shall be fabricated of [[0.0295] [____] inch design thickness or thicker steel.] [the steel design thickness required by the design drawings.] [galvanize in conformance with ASTM A 653, G30 [   ] coating class [or aluminum-zinc coated in accordance with ASTM A 924]].]

2.	In addition to resisting shear, devices shall provide resistance to vertical separation between the steel deck and the concrete. Provide one of the following types of shear devices:

a. Mechanically fixed shear devices such as embossments, holes, or welded buttons.

b. Mechanically fixed shear devices such as inverted, triangular-shaped ribs.]

[E.	Cellular Decking

1.	Cellular decking provided as wire raceways, shall conform to NFPA 70.]

[F.	Acoustical Steel Deck

*************************************************************************************************************

NOTE: A noise reduction coefficient of 0.70 is a commonly used coefficient. The coefficient can also be obtained from manufacturer's literature.  However, specific design requirements must be considered and the appropriate value inserted. The manufacturer's standard acoustical steel deck shall be provided where indicated.

*************************************************************************************************************

1.	Provide a Noise Reduction Coefficient (NRC) rating of not less than [0.70] [_____], when tested in accordance with ASTM C 423, Standard Mounting No. 6. Sound absorbing materials shall be either [glass fiber in roll or pre-molded form for acoustical steel deck (non-cellular)] [and] [or] [glass fiber rigid strip for acoustical steel deck (cellular)] in accordance with manufacturer's standards.]

[G.	Shop Priming

*************************************************************************************************************

NOTE: Specify shop priming when decking will receive field applied finish paint. Paint will not adhere to passivating or stabilizing treatment commonly used on galvanized steel surfaces to prevent "white rust." Coordinate requirements for finishes with requirements for fireproofing and field finish painting.

*************************************************************************************************************

1.	Shop prime accessories and [underside of] deck at the factory after coating. Clean surfaces in accordance with the manufacturer's standard procedure followed by a spray, dip or roller coat of rust-inhibitive primer, oven cured. Provide shop primer compatible with [field applied finish painting, as specified in Section 09 9100, "Painting."]]

H.	Touch-Up Paint

1.	Touch-up paint for shop-painted units shall be [of the same type used for the shop painting] [_____], and touch-up paint for zinc-coated units shall be [an approved galvanizing repair paint with a high-zinc dust content] [_____]. Welds shall be touched-up with paint conforming to SSPC Paint 20 in accordance with ASTM A 780. Finish of deck units and accessories shall be maintained by using touch-up paint whenever necessary to prevent the formation of rust.

PART 3  EXECUTION

  - EXAMINATION

A.	Prior to installation of decking units and accessories, examine worksite to verify that as-built structure will permit installation of decking system without modification.

  - INSTALLATION

*************************************************************************************************************

NOTE: Use IBC for all decks.

Indicate cellular deck to be used as wiring raceways on the project drawings if included below.

NOTE: The designer must determine if there are shoring requirements for composite decks. For most applications the design is selected so that shoring

is not required. Shoring requirements shall be detailed on the design drawings.

*************************************************************************************************************

A.	Install steel deck units in accordance with IBC and approved shop drawings. [Installation, including fasteners, shall comply with the test assembly arrangement used to determined nominal strength, and shall, as a minimum, meet the quality standards established for the test.]  Place units on structural supports, properly adjusted, leveled, and aligned at right angles to supports before permanently securing in place. Damaged deck and accessories including material which is permanently stained or contaminated, deformed, or with burned holes shall not be installed. Extend deck units over three or more supports unless absolutely impractical. Report inaccuracies in alignment or leveling to LANL and make necessary corrections before permanently anchoring deck units. Locate deck ends over supports only. [Ends of floor deck may be lapped or butted.] Do not use unanchored deck units as a work or storage platform. [Do not fill unanchored deck with concrete.] Permanently anchor units placed by the end of each working day.  Do not support suspended ceilings, light fixtures, ducts, utilities, or other loads by steel deck unless indicated. Loads shall be distributed by appropriate means to prevent damage. [Shoring shall be in position before concrete placement begins in composite or form deck.][Size cellular decking provided as electrical raceways to accommodate indicated wiring systems. Chip off burrs and eliminate sharp edges which may damage wiring.  Mesh decking panels accurately and place in accordance with UL 209.]  [Acoustical material shall be neatly fitted into the rib voids.]

B..	Attachment

***********************************************************************************************************

NOTE: Refer to IBC for shear capacity, flexibility, connection details, size and spacing of welds and attachments, and concrete fill requirements.

Where welding only is allowed, delete the first two bracketed phrases and include the last bracketed phrase.

***********************************************************************************************************

1.	Immediately after placement and alignment, and after correcting inaccuracies, permanently fasten steel deck units to structural supports and to adjacent deck units by welding with normal 5/8-inch diameter puddle welds [or fastened with screws, powder-actuated fasteners, or pneumatically driven fasteners] as indicated on the design drawings and in accordance with IBC [and manufacturer's recommended procedure]. Clamp or weight deck units to provide firm contact between deck units and structural supports while performing welding [or fastening]. [Anchoring the deck to structural supports with powder-actuated fasteners or pneumatically driven fasteners is prohibited.] Attachment of adjacent deck units by button-punching is prohibited.

*************************************************************************************************************

The fasteners shall provide minimum required pull-out, pull-over and shear resistance based upon test results of the specific steel deck and fastener

as listed in the current edition of the Factory Mutual Approval Guide and Factory Mutual Data Sheet 1-28 or manufacturer's data sheets. If studs are

being welded to the top flanges of beams, the deck ends should be butted. If not, deck ends should be lapped. Welding washers shall be used at welded

connections when deck thickness is less than 0.028 inch. Fasteners for roof insulations are specified in roof-insulation section of Div. 7 (Thermal and Moisture Protection).

*************************************************************************************************************

2.	Welding:

*************************************************************************************************************

NOTE: Show location, size, and spacing of attachments on the drawings for composite and diaphragm-acting decks. If they are not shown, delete the first bracketed phrase and include the second.

Coordinate finish repair with finish requirements.

*************************************************************************************************************

a.	Perform welding in accordance with AWS D1.3 using methods and electrodes recommended by the manufacturers of the base metal alloys being used.  Avoid burning through the deck while field welding to supports.  Ensure only operators previously qualified by tests prescribed in AWS D1.1 and AWS D1.3 make welds. Immediately recertify, or replace with qualified welders, welders that have passed qualification tests but are producing unsatisfactory welding. Location, size, and spacing of fastening shall [be as indicated on the drawings] [conform to the recommendations of the IBC and the steel deck manufacturer].  Welding washers [shall be provided in accordance with the manufacturer’s requirements] [shall not be used] at the connections of the deck to supports. Welding washers shall not be used at sidelaps. Holes and similar defects will not be acceptable. Deck ends shall be [lapped 2 inches] [butted]. All partial or segments of deck units shall be attached to structural supports in accordance with IBC. [Shear connectors shall be attached as shown and shall be welded as per AWS D1.1 [through the steel deck to the steel member] [directly to the steel member]].  Immediately clean welds by chipping and wire brushing. Heavily coat welds, cut edges and damaged portions of [coated finish with zinc-dust paint conforming to ASTM A 780] [shop [primed] [painted] finish with the manufacturer's standard touch-up paint].

[3.	Fastening

*************************************************************************************************************

NOTE: Delete this paragraph when only welding is allowed.

*************************************************************************************************************

a.	Anchor deck to structural supports and adjoining units with mechanical deck fasteners as recommended by the IBC and the steel deck manufacturer, as approved by LANL. [Powder-actuated fasteners shall be driven with a low-velocity piston tool by an operator authorized by the manufacturer of the piston tool. Pneumatically driven fasteners shall be driven with a low-velocity fastening tool and shall comply with the manufacturer's recommendations.]]

C.	Openings

*************************************************************************************************************

NOTE: Include bracketed phrases when design is based on seismic requirements. When cells of cellular steel floor decking will be used for air ducts, the cutting of decking units for connections to air distribution ductwork, outlets, and system accessories must be coordinated with, and specified in, applicable sections of the mechanical specifications.

When cells of cellular metal floor decking will be used for electrical raceways, the inspection of these cells, cutting for inserts, and installation of electrical outlets, fittings, or grounding of the metal floor decking, be coordinated with, and specified in, applicable sections of the electrical specifications.

*************************************************************************************************************

1.	All holes and openings required shall be cut or drilled holes and be coordinated with the drawings, specifications, and other trades. Frame and reinforce openings through the deck in conformance with IBC. [Holes and openings 6 to 12 inches across shall be reinforced by 0.0474-inch thick steel sheet at least 12 inches wider and longer than the opening and be fastened to the steel deck at each corner of the sheet and at a maximum of 6 inches on center.  Holes and openings larger than 12 inches, where no other framing is provided, shall be reinforced by steel channels or angles installed perpendicular to the main framing system and supported by the adjacent framing. Steel channels or angles shall be installed perpendicular to the deck ribs and shall be fastened to the channels or angles perpendicular to the framing. ][Deck manufacturer shall approve holes or openings larger than 6 inches in diameter prior to drilling or cutting. ] [Openings shall not interfere with members of the seismic lateral force resisting system such as chords and drag struts.]

- Deck Damage

1.	IBC, for repair of deck damage.

E.	Accessory Installation

  - Adjusting Plates

a.	Install as shown on shop drawings.

2.	End Closures

a.	Provide end closure to close open ends of cells at columns, walls, and openings in deck.

3.	Closures Above Partitions

*************************************************************************************************************

NOTE: Coordinate options in paragraphs entitled "Partition Enclosures" and "Closures Above Partitions." When a suspended acoustical ceiling is provided below the metal deck, the closures above partitions may be eliminated for acoustical purposes provided the acoustical properties of the ceiling are adequate to restrict sound transmission to a level consistent with the facility design criteria.

*************************************************************************************************************

a.	Provide for closing voids between cells over partitions that are perpendicular to direction of cells. Provide a one-piece closure strip for partitions 4 inches nominal or less in thickness and two-piece closure strips for wider partitions. [Provide sheet metal closures above fire-rated partitions at both sides of partition with space between filled with fiberglass insulation.] [Provide flexible rubber closures above acoustic-rated partitions at both sides of partition with space between filled with blanket insulation.]

- Cover Plates

a.	[Provide metal cover plates, or joint tape, at joints between cellular decking sheets to be used as electrical raceways.] [Where concrete leakage would be a problem, provide metal cover plates, or joint tape, at joints between decking sheets, cellular or non-cellular, to be covered with concrete fill.]

[5.	Column Closures

*************************************************************************************************************

NOTE: Delete this paragraph if steel floor decks are not included.

*************************************************************************************************************

a.	Provide for spaces between floor decking and columns which penetrate the deck. Field cut closure plate to fit column in the field and tack weld to decking and columns.]

6.	Access Hole Covers

a.	Provide covers to seal holes cut in decking to facilitate welding of decking to structural supports.

7.	Hangers

*************************************************************************************************************

NOTE: Location, spacing, and size of hanger clips or loops must be indicated or specified, as applicable to the project.

*************************************************************************************************************

a.	Provide as indicated to support [utility system] [and] [suspended ceilings]. Space devices [as indicated] [so as to provide one device per 6.25 square feet].

[F.	Sound Absorbing Material

*************************************************************************************************************

NOTE: Include this paragraph when required by the design for acoustical deck.

*************************************************************************************************************

1.	Install sound absorbing [glass fiber roll or pre-molded form, neatly in voids between perforated webs of acoustical non-cellular steel deck] [and] [glass fiber rigid strip, in cells of acoustical cellular steel deck].  Keep sound absorbing material dry before, during and after installation.]

[G.	Concrete Work

*************************************************************************************************************

NOTE: Ensure that admixtures containing chloride salts are not used in concrete placed on steel deck.  Coordinate with Section 03 3001, "Reinforced Concrete." Delete this paragraph if concrete is not cast on metal decking.

*************************************************************************************************************

1.	Prior to placement of concrete, inspect installed decking to ensure that there has been no permanent deflection or other damage to decking. Replace decking which has been damaged or permanently deflected as approved by LANL. Place concrete on metal deck in accordance with IBC. Concrete fill over metal deck is specified in Section 03 3001, "Reinforced Concrete."]

H.	Preparation of Fire-Proofed Surfaces

1.	Deck surfaces, both composite and non-composite, which are to receive sprayed-on fireproofing, shall be galvanized and shall be free of all grease, mill oil, paraffin, dirt, salt, and other contaminants which impair adhesion of the fireproofing. Any required cleaning shall be done prior to steel deck installation using a cleaning method that is compatible with the sprayed-on fireproofing.

[3.3	FIELD QUALITY CONTROL

*************************************************************************************************************

NOTE: Include this paragraph when the project includes roof decks that are not receiving concrete.  Coordinate paragraph with requirements for roofing membrane.

*************************************************************************************************************

- Decks Not Receiving Concrete

1.	Inspect the decking top surface for distortion after installation. For roof decks not receiving concrete, verify distortion by placing a straight edge across three adjacent top flanges. The maximum allowable gap between the straight edge and the top flanges is 1/16 inch; when gap is more than 1/16 inch, provide corrective measures or replacement.  Re-inspect decking after performing corrective measures or replacement.]

3.4	CLEAN-UP AND FINISH TOUCH-UP

A.  	After erection, remove weld spatter, grease and oil from decking

B.	After erection, touch up (with same paint specified for shop primer) all scarred areas (both top and underside) of decking, including cuts, drill holes, rust spots, welds, weld scars and similar defects

END OF SECTION

********************************************************

Do not delete the following reference information:

********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 05 3000 Rev. 0, dated August 21, 2007.