SECTION 05 3000

METAL DECKING

*************************************************************************************************************

Edit this template for each project. In doing so, Specifier must add job-specific requirements.  Brackets are used in the text to indicate where text must be supplied by the Specifier. Once the choice is made or text supplied, remove the brackets. The specifications must also be edited to delete specification requirements for materials, systems, processes, items, or designs that are not included in the Project-- and Specifier's notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Structural Specifications POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.
This specification section covers the requirements for metal floor and roof* decks, including accessories.

*If this section is used for roof deck then coordination between structural and architectural EORs is required to ensure that their respective ‘design intent’ for the roof is adequately conveyed to Construction Subcontractor, to include ‘de-conflicting’ this section and any ‘architectural’ roof covering /deck section used (e.g., this section and 07 4113, Metal Roof Panels, can be used for ‘architectural’ and ‘structural.’). The ‘diaphragm-related’ note at bottom of this page will likely be of assistance in this ‘coordination.’

This specification section is for use with LANL ESM Chapter 5, Section II; therefore it is applicable to ML-4 projects..  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Ch 1 Section Z10 Specifications and Quality sections.

ESM Chapter 5, Sect. II, para. 7.0, references the International Building Code (IBC), Chapter 22, Steel, for guidance on design requirements for steel building structures, and components therein, most of which are contained in this and other METALS sections of the specifications. 
*************************************************************************************************************

*************************************************************************************************************

NOTE: All decks that are expected to function as diaphragms (in the structure’s lateral-force-resisting system), as well as all composite decks and connections*, must be designed by the structural EOR in accordance with the IBC.  All connections must be shown.  Drawings must show wind uplift loads for roof joist design in addition to the items listed below.

For non-diaphragm acting, non-composite decks, the Construction Subcontractor may provide the deck design and connections.  In this case, in addition to the items listed below, the drawings must show roof live loads, including snow loads, and wind loads, including internal and external pressures and high intensity zones. Consider showing a roof uplift and snow load plan on the drawings.

*Composite decks are not to be confused with composite beams:  The former are included herein, ‘regulated’ by SDI, and their behavior is achieved via ‘features’ on/of the metal deck; while the latter are not included, ‘regulated’ by AISC, and their behavior is achieved via shear connectors welded to steel beams either with or without the presence of metal deck.

As applicable, show the following items on the project drawings:

1. 	Structural properties (height, sheet thickness, and section moduli or moment of inertia).

2. 	Floor and roof deck penetrations.

3. 	Location, spacing, and size of hanger clips or loops.

4. 	Closure plates.

5. 	Location of cellular decking.

- 	Note that both cellular decking to be used as electrical raceway and Electrified Cellular Floor Decking, if required by Project, will have to be edited in to this Section (i.e., they are not included herein).

6.	 Weld or fastener spacing.

7. 	Whether construction is based on shored construction.

Design metal deck to carry the concrete and metal deck dead loads, and the live loads during construction before the concrete sets. Additional concrete dead load due to deflection of the deck shall be considered when necessary to prevent excessive stresses or deflections in the deck.

Finally, structural steel design must be such that the requirements of OSHA Steel Erection Standard, 29 CFR Part 1926, Subpart R-Steel Erection, can be met.

*************************************************************************************************************

PART 1 GENERAL

  - RELATED SECTIONS

- Division 1 Specification Sections apply to this Section.

  - SUMMARY

- Section Includes:

  - Roof deck.

  - Acoustical roof deck.

  - Cellular roof deck.

  - Acoustical cellular roof deck.

  - Composite floor deck.

  - Noncomposite form deck.

- Related Requirements

************************************************************************************************************

Retain subparagraphs below to cross-reference requirements Construction Subcontractor might expect to find in this Section but are specified in other Sections.

NOTES:  03 3001 will require editing if it is used by project for lightweight concrete.

The only shear-connector-related requirement included herein is a sentence in Part 3 pertaining to welding studs through deck to supporting member (i.e., as is sometimes done for composite beams).  05 1000 contains the product /material requirements for shear connectors, as well as requirements for the welding of them to members.

Finally, 05 5000 will require editing if it is used by project for framed deck openings with miscellaneous steel shapes.

*************************************************************************************************************

Section 03 3001 Reinforced Concrete for normal-weight [and lightweight] structural concrete fill over metal deck.

Section 05 1000 Structural Metal Framing for shop- and field-welded shear connectors.

[Section 05 5000 Metal Fabrications for framing deck openings with miscellaneous steel shapes.]

Section 09 9100 Painting for repair painting of primed deck and finish painting of deck.

  - REFERENCES

The publications listed below form a part of this specification to the extent referenced. The publications are referred to in the text by the basic designation only.

- AMERICAN IRON AN	D STEEL INSTITUTE (AISI)

1.	AISI S100	North American Specification for the Design of Cold-

Formed Steel Structural Members

- ASTM INTERNATIONAL (ASTM)

- ASTM A 570 		Steel, Sheet and Strip, Carbon, Hot-Rolled

- ASTM A 653 	Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process

- ASTM A 780 	Repair of Damaged and Uncoated Areas of Hot-Dipped Galvanized Coatings

- ASTM A 924	General Requirements for Steel Sheet, Metallic Coated by the Hot-Dip Process

- ASTM A 1008 	Steel Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability

- ASTM C 423 	Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

- ASTM E 119	Test Methods for Fire Tests of Building Construction and Materials

- AMERICAN WELDING SOCIETY (AWS)

- AWS D1.3 		Structural Welding Code – Sheet Steel

- STEEL DECK INSTITUTE

- SDI Publication 	Design Manual for Composite Decks, Form Decks
No. 31			and Roof Decks

- THE SOCIETY FOR PROTECTIVE COATINGS (SSPC)

- SSPC Paint 20 	Zinc-Rich Coating (Type I - "Inorganic" and Type II- "Organic")

- UNDERWRITERS LABORATORIES (UL)

- UL 209  		Cellular Metal Floor Raceways and Fittings

  - ACTION SUBMITTALS

        - Product Data: For each type of deck, accessory, and product indicated.

        - Shop Drawings:

### "Laboratory Test Reports for Credit EQ 4" Subparagraph below applies to LEED for Schools.

#### Include layout and types of deck panels, anchorage details, reinforcing channels, pans, cut deck openings, special jointing, accessories, and attachments to other construction.

  - INFORMATIONAL SUBMITTALS

*************************************************************************************************************

NOTE: Informational submittals must be limited to those necessary for adequate quality control. The importance of an item, or complexity, in the context of the project should determine whether or not a submittal for it is required.

Retain first paragraph below if retaining "Welding Qualifications" Paragraph in "Quality Assurance" Article.

*************************************************************************************************************

- Welding Procedure Specifications (WPS) and Welder Certifications: In accordance with 01 4455 Onsite Welding and Joining Requirements.

- Product Certificates: For each type of metal deck.

- Product Test Reports: Based on evaluation of comprehensive tests performed by a qualified testing agency, indicating that each of the following complies with requirements.

#### Power-actuated mechanical fasteners.

#### Acoustical roof deck.

- ICC Evaluation Reports:  For metal deck.

*****************************************************************************************************

Retain paragraph below if Subcontractor is responsible for field quality-control testing and inspecting.  Retain paragraph below if Subcontractor is responsible for field quality-control testing and inspecting.Retain paragraph below if Construction Subcontractor is responsible for field quality-control testing and inspecting.

*********************************************************************************************************************************************************************************************************

- Field quality-control reports.

  - SUSTAINABLE DESIGN SUBMITTALS

    - Product Data: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

    - Laboratory Test Reports:  For primers, documentation indicating that products comply with the testing and product requirements for the California Department of Health Services, “Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers.”

  - QUALITY ASSURANCE

*************************************************************************************************************

Retain paragraph below if Construction Subcontractor selects testing agency or if Construction Subcontractor is required to provide services of a qualified testing agency in "Field Quality Control" Article.

Testing agency is normally engaged by LANL.

### *************************************************************************************************************

    - Testing Agency Qualifications shall be in accordance with Section 01 4000, Quality Assurance.

*************************************************************************************************************

### Retain paragraph below if shop or field welding is required.  If retaining, also retain ‘Welding-related’ paragraph in "Informational Submittals" Article.

### *************************************************************************************************************

        - Welding Qualifications:  Refer to following specification sections:

01 4455 Onsite Welding and Joining Requirements

************************************************************************************************************

A metal roof deck can serve as both a roof covering and a roof deck, or just the latter.  In either case, it is part of the IBC definition of “Roof Assembly;” therefore, compliance with IBC Section 1505, Fire Classification is required.  Retain and edit paragraph below if project includes a metal roof deck.

************************************************************************************************************

- Fire-Resistance Listing and Identification: Provide metal roof deck tested, listed and identified as follows.

  - Identification: Class [A] [B] [C].

  - List published by [    ].

  - Testing shall be in accordance with [ASTM E 108] [UL 790].

  - DELIVERY, STORAGE, AND HANDLING

    - Protect steel deck from corrosion, deformation, and other damage during delivery, storage, and handling.

    - Stack steel deck on platforms or pallets and slope to provide drainage. Protect with a waterproof covering and ventilate to avoid condensation.

      - Protect and ventilate acoustical cellular roof deck with factory-installed insulation to maintain insulation free of moisture.

PART 2 PRODUCTS

*************************************************************************************************************

For projects involving work on existing buildings, see Section 01 6000, Product Requirements, paragraph 1.2.B .

*************************************************************************************************************

  - PERFORMANCE REQUIREMENTS

    - AISI Specifications: Comply with calculated structural characteristics of steel deck according to AISI S100.

*************************************************************************************************************

Retain paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

*************************************************************************************************************

        - Fire-Resistance Ratings: Comply with ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

- Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

*************************************************************************************************************

EPA-CPG requires ‘recycled content’ regardless of whether or not LEED credit is being pursued.

*************************************************************************************************************

Recycled Content of Steel Products:

Postconsumer recycled content:

Basic Oxygen Furnace:  16%

Electric Arc Furnace:  67%

Recovered Materials

Basic Oxygen Furnace:  25-30%

Electric Arc Furnace:  100%

  - ROOF DECK

*****************************************************************************************************

Retain this article if roof deck is required.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

*****************************************************************************************************

        - Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

ASC Profiles, Inc.; a Blue Scope Steel company.

Canam United States; Canam Group Inc.

CMC Joist & Deck.

Consolidated Systems, Inc.; Metal Dek Group.

Cordeck.

DACS, Inc.

Epic Metals Corporation.

Marlyn Steel Decks, Inc.

New Millennium Building Systems, LLC.

Nucor Corp.; Vulcraft Group.

Roof Deck, Inc.

Valley Joist; Subsidiary of EBSCO Industries, Inc.

Verco Manufacturing Co.

Wheeling Corrugating Company; Div. of Wheeling-Pittsburgh Steel Corporation.

[Insert manufacturer's name].

Roof Deck:  Fabricate panels, without top-flange stiffening grooves, to comply with "SDI Specifications and Commentary for Steel Roof Deck," in SDI Publication No. 31, and with the following:

*************************************************************************************************************

Retain one or more of the steel-sheet subparagraphs below to suit Project.

Retain steel grade from options in "Prime-Painted Steel Sheet" Subparagraph below

*************************************************************************************************************

          - Prime-Painted Steel Sheet: ASTM A 1008, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80] minimum, shop primed with manufacturer's standard baked-on, rust-inhibitive primer.

            - Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

*************************************************************************************************************

Retain steel grade and zinc-coating weight from options in Subparagraph below.

*************************************************************************************************************

- Retain steel grade and zinc-coating weight from options in "Galvanized-Steel Sheet" Subparagraph below.

          - Galvanized-Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80], [G60] [G90] zinc coating.

*************************************************************************************************************

Retain steel grade from options in Subparagraph below.

*************************************************************************************************************

#### Retain steel grade from options in "Galvanized and Shop-Primed Steel Sheet" Subparagraph below.

          - Galvanized and Shop-Primed Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80], G60 zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

************************************************************************************************************
Verify availability of aluminum-zinc-alloy-coated steel sheet with deck manufacturers before retaining Subparagraph below. Revise steel grade and coating weight, if required, to suit Project.

************************************************************************************************************

#### Verify availability of aluminum-zinc-alloy-coated steel sheet with deck manufacturers before retaining "Aluminum-Zinc-Alloy-Coated Steel Sheet" Subparagraph below. Revise steel grade and coating weight, if required, to suit Project.

          - Aluminum-Zinc-Alloy-Coated Steel Sheet: ASTM A 792, Structural Steel (SS), Grade 33 minimum, AZ50 aluminum-zinc-alloy coating.

*************************************************************************************************************
Retain roof-deck category and profile type from "Deck Profile" and "Cellular Deck Profile" subparagraphs below. Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations. Insert different proprietary profiles, if required, to suit Project.

*************************************************************************************************************

- Retain roof-deck category and profile type from "Deck Profile" and "Cellular Deck Profile" subparagraphs below. Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations. Insert different proprietary profiles, if required, to suit Project.

Deck Profile: [As indicated] [Type NR, narrow rib] [Type IR, intermediate rib] [Type WR, wide rib] [Type 3DR, deep rib] [Long span].

Cellular Deck Profile: [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span], with bottom plate.

*************************************************************************************************************
Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. FM Global approval, if required, is limited to roof deck 1-1/2 inches deep.
*************************************************************************************************************

- Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. FM Global approval, if required, is limited to roof deck 1-1/2 inches (38 mm) deep.

          - Profile Depth: [As indicated] [1-1/2 inches] [2 inches] [3 inches] [4-1/2 inches] [6 inches] [7-1/2 inches].

************************************************************************************************************Retain one steel thickness from Subparagraph below or revise to suit Project

***********************************************************************************************************

- Retain one steel thickness from "Design Uncoated-Steel Thickness" Subparagraph below or revise to suit Project.

          - Design Uncoated-Steel Thickness: [As indicated] [0.0295 inch] [0.0358 inch] [0.0474 inch] [0.0598 inch] [0.0747 inch].

************************************************************************************************************Retain one steel thickness from Subparagraph below if cellular roof deck, combining a roof-deck profile with a bottom plate, is required. Thickness combinations are based on deck unit (first) and bottom plate (second).
***********************************************************************************************************

- Retain one steel thickness from "Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate" Subparagraph below if cellular roof deck, combining a roof-deck profile with a bottom plate, is required. Thickness combinations are based on deck unit (first) and bottom plate (second).

          - Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate: [As indicated] [0.0358/0.0358 inch] [0.0358/0.0474 inch] [0.0474/0.0474 inch] [0.0474/0.0598 inch] [0.0598/0.0474 inch] [0.0598/0.0598 inch].

*************************************************************************************************************Retain span used in design from Subparagraph below.
************************************************************************************************************

- Retain span used in design from "Span Condition" Subparagraph below.

          - Span Condition: [As indicated] [Simple span] [Double span] [Triple span or more].

*************************************************************************************************************
Retain side-lap configuration from Subparagraph below. Interlocking seams may be fastened by welding or button punching
************************************************************************************************************

Side Laps: [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Construction Subcontractor's option].

Retain side-lap configuration from "Side Laps" Subparagraph below. Interlocking seams may be fastened by welding or button punching.

  - ACOUSTICAL ROOF DECK

*************************************************************************************************************
Retain this article if acoustical roof deck is required.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

*************************************************************************************************************

        - Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

*************************************************************************************************************
Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings

*************************************************************************************************************

Basis-of-Design Product: Subject to compliance with requirements, provide [product indicated on Drawings] [Insert manufacturer's name; product name or designation] or comparable product by one of the following:

ASC Profiles, Inc.; a Blue Scope Steel company.

Canam United States; Canam Group Inc.

CMC Joist & Deck.

Consolidated Systems, Inc.; Metal Dek Group.

Cordeck.

DACS, Inc.

Epic Metals Corporation.

Marlyn Steel Decks, Inc.

New Millennium Building Systems, LLC.

Nucor Corp.; Vulcraft Group.

Roof Deck, Inc.

Wheeling Corrugating Company; Div. of Wheeling-Pittsburgh Steel Corporation.

[Insert manufacturer's name].

- Acoustical Roof Deck: Fabricate panels, without top-flange stiffening grooves, to comply with "SDI Specifications and Commentary for Steel Roof Deck," in SDI Publication No. 31, and with the following:

*************************************************************************************************************
Retain one or more of the steel-sheet subparagraphs below to suit Project.

Retain steel grade from options in "Prime-Painted Steel Sheet" Subparagraph below

*************************************************************************************************************

          - Prime-Painted Steel Sheet: ASTM A 1008, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80] minimum, shop primed with manufacturer's standard baked-on, rust-inhibitive primer.

            - Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

*************************************************************************************************************
Retain steel grade and zinc-coating weight from options in Subparagraph below.

*********************************************************************************************************

- Retain steel grade and zinc-coating weight from options in "Galvanized-Steel Sheet" Subparagraph below.

          - Galvanized-Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80], [G60] [G90] zinc coating.

*************************************************************************************************************
Retain steel grade from options in Subparagraph below.

*************************************************************************************************************

#### Retain steel grade from options in "Galvanized and Shop-Primed Steel Sheet" Subparagraph below.

          - Galvanized and Shop-Primed Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80], G60 zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

*************************************************************************************************************
Verify availability of aluminum-zinc-alloy-coated steel sheet with deck manufacturers before retaining Subparagraph below. Revise steel grade and coating weight, if required, to suit Project.

*************************************************************************************************************

#### Verify availability of aluminum-zinc-alloy-coated steel sheet with deck manufacturers before retaining "Aluminum-Zinc-Alloy-Coated Steel Sheet" Subparagraph below. Revise steel grade and coating weight, if required, to suit Project.

          - Aluminum-Zinc-Alloy-Coated Steel Sheet: ASTM A 792, Structural Steel (SS), Grade 33 minimum, AZ50 aluminum-zinc-alloy coating.

*************************************************************************************************************
Retain roof-deck category and profile type from "Deck Profile" and "Cellular Deck Profile" subparagraphs below. Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations. Insert different proprietary profiles, if required, to suit Project.

*************************************************************************************************************

#### Retain roof-deck category and profile type from "Deck Profile" and "Cellular Deck Profile" subparagraphs below. Categories and profiles are based on SDI nomenclature; manufacturers may identify same categories and profiles with other designations. Insert different proprietary profiles, if required, to suit Project.

Deck Profile: [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span].

Cellular Deck Profile: [As indicated] [Type WR, wide rib] [Type 3DR, deep rib] [Long span], with bottom plate.

*************************************************************************************************************
Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. 
*************************************************************************************************************

- Profile Depth: [As indicated] [1-1/2 inches] [2 inches] [3 inches] [4-1/2 inches] [6 inches] [7-1/2 inches].

*************************************************************************************************************
Retain one steel thickness from Subparagraph below if noncellular acoustical roof deck is required or revise to suit Project.
*************************************************************************************************************

- Design Uncoated-Steel Thickness: [As indicated] [0.0295 inch] [0.0358 inch] [0.0474 inch] [0.0598 inch].

Retain one steel thickness from "Design Uncoated-Steel Thickness" Subparagraph below or revise to suit Project.

*************************************************************************************************************
Retain one steel thickness from Subparagraph below if cellular acoustical roof deck, combining a roof-deck profile with a bottom plate, is required. Thickness combinations are based on deck unit (first) and bottom plate (second).

*************************************************************************************************************

- Retain one steel thickness from "Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate" Subparagraph below if cellular roof deck, combining a roof-deck profile with a bottom plate, is required. Thickness combinations are based on deck unit (first) and bottom plate (second).

- Design Uncoated-Steel Thicknesses; Deck Unit/Bottom Plate: [As indicated] [0.0358/0.0358 inch] [0.0358/0.0474 inch] [0.0474/0.0358 inch] [0.0474/0.0474 inch] [0.0474/0.0598 inch] [0.0598/0.0474 inch] [0.0598/0.0598 inch].

*************************************************************************************************************
Retain span used in design from Subparagraph below.

*************************************************************************************************************

- Retain span used in design from "Span Condition" Subparagraph below.

          - Span Condition: [As indicated] [Simple span] [Double span] [Triple span or more].

*************************************************************************************************************
Retain side-lap configuration from Subparagraph below. Interlocking seams may be fastened by welding or button punching

************************************************************************************************************

Side Laps: [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Construction Subcontractor's option].

Acoustical Perforations: [Deck units with manufacturer's standard perforated vertical webs] [Cellular deck units with manufacturer's standard perforated flat-bottom plate welded to ribbed deck].

Retain side-lap configuration from "Side Laps" Subparagraph below. Interlocking seams may be fastened by welding or button punching.

*************************************************************************************************************
Retain Subparagraph below if sound-absorbing insulation is required *************************************************************************************************************

Sound-Absorbing Insulation: Manufacturer's standard premolded roll or strip of glass or mineral fiber. [Insert actual physical properties and thicknesses of insulation].

*************************************************************************************************************
Retain first subparagraph below if cellular acoustical roof deck requires factory-installed sound-absorbing insulation 
*************************************************************************************************************

- Factory install sound-absorbing insulation into cells of cellular deck.

*************************************************************************************************************
Retain first subparagraph below if sound-absorbing insulation is to be field installed in topside deck ribs at same time roofing system is installed *************************************************************************************************************

            - Installation of sound-absorbing insulation is specified in Section [Insert Section number[ "[Insert title of applicable roofing Section]”.

*************************************************************************************************************
Retain one noise reduction coefficient (NRC) requirement from options in "Acoustical Performance" Subparagraph below or revise to suit Project. Consult deck manufacturer to verify tested NRC values for proposed roof-deck assembly. Published NRC values usually rely on a specific roof insulation above the deck

*************************************************************************************************************

Acoustical Performance: NRC [0.65] [0.75] [0.80] [0.85] [0.90], tested according to ASTM C 423

  - COMPOSITE FLOOR DECK

*************************************************************************************************************
Retain this article if composite floor deck is required.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

*************************************************************************************************************

        - Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

ASC Profiles, Inc.; a Blue Scope Steel company.

Canam United States; Canam Group Inc.

CMC Joist & Deck.

Consolidated Systems, Inc.; Metal Dek Group.

Cordeck.

DACS, Inc.

Epic Metals Corporation.

Marlyn Steel Decks, Inc.

New Millennium Building Systems, LLC.

Nucor Corp.; Vulcraft Group.

Roof Deck, Inc.

Verco Manufacturing Co.

Wheeling Corrugating Company; Div. of Wheeling-Pittsburgh Steel Corporation.

[Insert manufacturer’s name].

- Composite Floor Deck: Fabricate panels, with integrally embossed or raised pattern ribs and interlocking side laps, to comply with "SDI Specifications and Commentary for Composite Steel Floor Deck," in SDI Publication No. 31, with the minimum section properties indicated, and with the following:

************************************************************************************************************
Retain one or more of the steel-sheet subparagraphs below to suit Project.

Retain steel grade and color, if applicable, from options in "Prime-Painted Steel Sheet" Subparagraph below

********************************************************************************************************

          - Prime-Painted Steel Sheet: ASTM A 1008, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80] minimum, with top surface phosphatized and unpainted and underside surface shop primed with manufacturer's standard [gray] [or] [white] baked-on, rust-inhibitive primer.

*************************************************************************************************************
Retain either "Galvanized-Steel Sheet" or "Galvanized and Shop-Primed Steel Sheet" Subparagraph below for galvanized-steel sheet. A lightweight coating, G30, is the minimum recommended by SDI for composite deck because it is the positive bending reinforcement for slab and must last the life of the structure

Retain zinc-coating weight from options in Subparagraph below.

*************************************************************************************************************

- Retain steel grade and zinc-coating weight from options in "Galvanized-Steel Sheet" Subparagraph below.

          - Galvanized-Steel Sheet: ASTM A 653, Structural Steel (SS), Grade 33, [G30] [G60] [G90] zinc coating.

**********************************************************************************************************
Retain zinc-coating weight and color, if applicable, from options in Subparagraph below.

***********************************************************************************************************

Retain steel grade from options in "Galvanized and Shop-Primed Steel Sheet" Subparagraph below.

Galvanized and Shop-Primed Steel Sheet: ASTM A 653, Structural Steel (SS), Grade 33, [G30] [G60] zinc coating; with unpainted top surface and cleaned and pretreated bottom surface primed with manufacturer's standard [gray] [white] baked-on, rust-inhibitive primer.

**********************************************************************************************************
Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. 
**********************************************************************************************************

Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. FM Global approval, if required, is limited to roof deck 1-1/2 inches (38 mm) deep.

Profile Depth: [1-1/2 inches] [2 inches] [3 inches] [As indicated].

*************************************************************************************************************
Retain one steel thickness from Subparagraph below or revise to suit Project

*************************************************************************************************************

Retain one steel thickness from "Design Uncoated-Steel Thickness" Subparagraph below or revise to suit Project.

          - Design Uncoated-Steel Thickness: [0.0295 inch] [0.0358 inch] [0.0474 inch] [0.0598 inch].

*************************************************************************************************************
Retain span used in design from Subparagraph below.

*************************************************************************************************************

Retain span used in design from "Span Condition" Subparagraph below.

Span Condition: [As indicated] [Simple span] [Double span] [Triple span or more].

  - NONCOMPOSITE FORM DECK

************************************************************************************************************
Retain this article if noncomposite form deck is required. Form deck may be used as roof deck, floor deck, or both. Insert minimum section properties here or indicate on Drawings

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

************************************************************************************************************

        - Manufacturers: Subject to compliance with requirements, [provide products by the following] [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

          - ASC Profiles, Inc.; a Blue Scope Steel company.

Canam United States; Canam Group Inc.

CMC Joist & Deck.

Consolidated Systems, Inc.; Metal Dek Group.

Cordeck.

DACS, Inc.

Marlyn Steel Decks, Inc.

New Millennium Building Systems, LLC.

Nucor Corp.; Vulcraft Group.

Roof Deck, Inc.

Valley Joist; Subsidiary of EBSCO Industries, Inc.

Verco Manufacturing Co.

Wheeling Corrugating Company; Div. of Wheeling-Pittsburgh Steel Corporation.

[Insert manufacturer's name].

- Noncomposite Form Deck: Fabricate ribbed-steel sheet noncomposite form-deck panels to comply with "SDI Specifications and Commentary for Noncomposite Steel Form Deck," in SDI Publication No. 31, with the minimum section properties indicated, and with the following:

************************************************************************************************************
Retain one or more of the steel-sheet subparagraphs below to suit Project.

Retain steel grade from options in "Uncoated Steel Sheet" Subparagraph below

************************************************************************************************************

          - Uncoated Steel Sheet: ASTM A 1008, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80] minimum

*************************************************************************************************************
Retain steel grade from options in Subparagraph below

*************************************************************************************************************

          - Prime-Painted Steel Sheet: ASTM A 1008, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80] minimum, with[ top and] underside surface shop primed with manufacturer's standard baked-on, rust-inhibitive primer. Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

*************************************************************************************************************
Retain either "Galvanized-Steel Sheet" or "Galvanized and Shop-Primed Steel Sheet" Subparagraph below for galvanized-steel sheet. A lightweight coating, G30, is the minimum recommended by SDI for noncomposite form deck

Retain steel grade and zinc-coating weight from options in Subparagraph below.

*************************************************************************************************************

          - Galvanized-Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 40] [Grade 80], [G30] [G60] [G90] zinc coating.

************************************************************************************************************
Retain steel grade from options in Subparagraph below.

************************************************************************************************************

          - Galvanized and Shop-Primed Steel Sheet: ASTM A 653, Structural Steel (SS), [Grade 33] [Grade 80], G60 zinc coating; cleaned, pretreated, and primed with manufacturer's standard baked-on, rust-inhibitive primer.

- Retain steel grade and zinc-coating weight from options in "Galvanized-Steel Sheet" Subparagraph below.

Retain steel grade from options in "Galvanized and Shop-Primed Steel Sheet" Subparagraph below.

Color: [Manufacturer's standard] [Gray] [White] [Gray top surface with white underside].

*************************************************************************************************************
Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. *************************************************************************************************************

Retain one profile depth from "Profile Depth" Subparagraph below or revise to suit Project. Indicate locations on Drawings if various depths are required. FM Global approval, if required, is limited to roof deck 1-1/2 inches (38 mm) deep.

Profile Depth: [9/16 inch] [15/16 inch] [1-5/16 inches] [1-1/2 inches].

*************************************************************************************************************
Retain one steel thickness from Subparagraph below or revise to suit Project

************************************************************************************************************

Design Uncoated-Steel Thickness: [0.0149] [0.0179] [0.0239] [0.0295 inch] [0.0358 inch] [0.0474 inch] [0.0598 inch].

Retain one steel thickness from "Design Uncoated-Steel Thickness" Subparagraph below or revise to suit Project.

*************************************************************************************************************
Retain span used in design from Subparagraph below.

*************************************************************************************************************

Retain span used in design from "Span Condition" Subparagraph below.

Span Condition: [As indicated] [Simple span] [Double span] [Triple span or more].

*************************************************************************************************************
Retain side-lap configuration from Subparagraph below. Interlocking seams may be fastened by welding or button punching.

*************************************************************************************************************

Side Laps: [Overlapped] [Interlocking seam] [Overlapped or interlocking seam at Construction Subcontractor's option].

  - ACCESSORIES

- General: Provide manufacturer's standard accessory materials for deck that comply with requirements indicated.

- Mechanical Fasteners: Corrosion-resistant, low-velocity, power-actuated or pneumatically driven carbon-steel fasteners; or self-drilling, self-threading screws.

- Side-Lap Fasteners: Corrosion-resistant, hexagonal washer head; self-drilling, carbon-steel screws, No. 10 minimum diameter.

- Flexible Closure Strips: Vulcanized, closed-cell, synthetic rubber.

- Miscellaneous Sheet Metal Deck Accessories: Steel sheet, minimum yield strength of 33,000 psi, not less than 0.0359-inch design uncoated thickness, of same material and finish as deck; of profile indicated or required for application

********************************************************************************************************
Revise "Pour Stops and Girder Fillers" Paragraph below to suit Project. Pour-stop thickness and profile guidelines are presented in SDI Publication No. 31.

********************************************************************************************************

- Pour Stops and Girder Fillers: Steel sheet, minimum yield strength of 33,000 psi, of same material and finish as deck, and of thickness and profile [indicated] [recommended by SDI Publication No. 31 for overhang and slab depth].

- Column Closures, End Closures, Z-Closures, and Cover Plates: Steel sheet, of same material, finish, and thickness as deck unless otherwise indicated.

************************************************************************************************************
Piercing hanger tabs in Paragraph below are designed for embedment in concrete slabs; delete if not required. Before retaining this type of tab, verify whether it can support the loads to which it will be subjected without overloading the deck slab or becoming overstressed.

Rolled-in hanger tabs for composite floor deck may be available from some manufacturers, but improper use could result in overstressing the tabs or overloading the composite deck.  Suspended-ceiling failures and excessive deck deflection have been attributed to overloaded tabs. If selected for use, insert rolled-in hanger tabs here; verify load limits, availability, limitations, and recommendations with deck manufacturers..

************************************************************************************************************

- Piercing Hanger Tabs: Piercing steel sheet hanger attachment devices for use with floor deck

************************************************************************************************************
Usually retain weld washers in Paragraph below if weld-fastening deck with an uncoated minimum steel thickness of less than 0.028 inch. Retain weld washer thickness. ************************************************************************************************************

- Weld Washers: Uncoated steel sheet, shaped to fit deck rib, [0.0598 inch] [0.0747 inch] thick, with factory-punched hole of 3/8-inch minimum diameter.

### ************************************************************************************************************
Retain either "Flat Sump Plates" or "Recessed Sump Pans" Paragraph below if required. Recessed sump pans are seldom used. Coordinate with choice of roof drain if recessed sump pans are required.

************************************************************************************************************

- Flat Sump Plates: Single-piece steel sheet, 0.0747 inch thick, of same material and finish as deck. For drains, cut holes in the field

- Recessed Sump Pans: Single-piece steel sheet, 0.0747 inch thick, of same material and finish as deck, with 3-inch-wide flanges and [level] [sloped] recessed pans of 1-1/2-inch minimum depth. For drains, cut holes in the field

- Galvanizing Repair Paint: [ASTM A 780] [SSPC-Paint 20, with dry film containing a minimum of 94 percent zinc dust by weight].

- Repair Paint: Manufacturer's standard rust-inhibitive primer of same color as primer.

PART 3  EXECUTION

  - EXAMINATION

### Examine supporting frame and field conditions for compliance with requirements for installation tolerances and other conditions affecting performance.

### Proceed with installation only after unsatisfactory conditions have been corrected

  - INSTALLATION, GENERAL

  - Install deck panels and accessories according to applicable specifications and commentary in SDI Publication No. 31, manufacturer's written instructions, and requirements in this Section.

  - Install temporary shoring before placing deck panels if required to meet deflection limitations.

### Locate deck bundles to prevent overloading of supporting members.

### Place deck panels on supporting frame and adjust to final position with ends accurately aligned and bearing on supporting frame before being permanently fastened. Do not stretch or contract side-lap interlocks.

### *************************************************************************************************************
Retain subparagraph below if long-span cellular roof deck is required.

*************************************************************************************************************

1.	Align cellular deck panels over full length of cell runs and align cells at ends of abutting panels.

  - Place deck panels flat and square and fasten to supporting frame without warp or deflection.

  - Cut and neatly fit deck panels and accessories around openings and other work projecting through or adjacent to deck

### *************************************************************************************************************Coordinate reinforcing requirements of openings in first paragraph below with applicable Sections.

*************************************************************************************************************

  - Provide additional reinforcement and closure pieces at openings as required for strength, continuity of deck, and support of other work.

  - Comply with AWS requirements and procedures for manual shielded metal arc welding, appearance and quality of welds, and methods used for correcting welding work..

### *************************************************************************************************************Retain paragraph below if mechanical fastening is permitted.

*************************************************************************************************************

  - Mechanical fasteners may be used in lieu of welding to fasten deck. Locate mechanical fasteners and install according to deck manufacturer's written instructions.

  - ROOF-DECK INSTALLATION

### *************************************************************************************************************
This article includes installation requirements for classes of roof deck and form deck used in roof applications. Revise first paragraph below and insert requirements if mechanical fastening to supports is permitted.

*************************************************************************************************************

- Fasten roof-deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated or arc seam welds with an equal perimeter that is not less than 1-1/2 inches long, and as follows:

### *************************************************************************************************************
Retain one weld diameter from "Weld Diameter" Subparagraph below or revise to suit Project.

*************************************************************************************************************

- Retain one weld diameter from "Weld Diameter" Subparagraph below or revise to suit Project.

          - Weld Diameter: [5/8 inch] [3/4 inch], nominal.

### *************************************************************************************************************
Retain one weld spacing from options in "Weld Spacing" Subparagraph below. First option is based on SDI specifications for roof deck. Retain second option if showing requirements on Drawings. Revise if diaphragm requirements require closer weld spacings.

*************************************************************************************************************

- Retain one weld spacing from options in "Weld Spacing" Subparagraph below. First option is based on SDI specifications for roof deck; second, on FMG Loss Prevention Data Sheet 1-29 recommendations for roof deck securement. Retain third if showing requirements on Drawings. Revise if diaphragm requirements or FM Global approval requires closer weld spacings.

          - Weld Spacing: Weld edge and interior ribs of deck units with a minimum of two welds per deck unit at each support. Space welds [18 inches apart, maximum] [as indicated].

### *************************************************************************************************************
Retain "Weld Washers" Subparagraph below if deck thickness is less than 0.028 inch.

*************************************************************************************************************

Retain "Weld Washers" Subparagraph below if minimum uncoated steel thickness is less than 0.028 inch (0.71 mm). See installation considerations in the Evaluations.

Weld Washers: Install weld washers at each weld location.

### *************************************************************************************************************
SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches. Revise fastener spacing in Paragraph below if required.

*************************************************************************************************************

- SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches (1524 mm). Revise fastener spacing in "Side-Lap and Perimeter Edge Fastening" Paragraph below if required.

- Side-Lap and Perimeter Edge Fastening: Fasten side laps and perimeter edges of panels between supports, at intervals not exceeding the lesser of 1/2 of the span or [18 inches] [36 inches], and as follows:

*************************************************************************************************************
Select acceptable fastening method(s) from three subparagraphs below. Coordinate with choice of side lap.

*************************************************************************************************************

- Select acceptable fastening method(s) from three subparagraphs below. Coordinate with choice of side lap.

Mechanically fasten with self-drilling, No. 10 diameter or larger, carbon-steel screws.

Mechanically clinch or button punch. Fasten with a minimum of 1-1/2-inch-long welds.

- End Bearing: Install deck ends over supporting frame with a minimum end bearing of 1-1/2 inches, with end joints as follows:

### *************************************************************************************************************
Retain one of three options in "End Joints" Subparagraph below. SDI allows lapped or butted ends for roof deck.

*************************************************************************************************************

- Retain one of three options in "End Joints" Subparagraph below. SDI allows lapped or butted ends for roof deck. FM Global recommends that ends lap a minimum of 2 inches (51 mm).

          - End Joints: [Lapped 2 inches minimum] [Butted] [Lapped 2 inches minimum or butted at Construction Subcontractor's option].

- Roof Sump Pans and Sump Plates: Install over openings provided in roof deck and [weld] [mechanically fasten] flanges to top of deck. Space [welds] [mechanical fasteners] not more than 12 inches apart with at least one [weld] [fastener] at each corner.

          - Install reinforcing channels or zees in ribs to span between supports and [weld] [or] [mechanically fasten].

- Miscellaneous Roof-Deck Accessories: Install ridge and valley plates, finish strips, end closures, and reinforcing channels according to deck manufacturer's written instructions. [Weld] [or] [mechanically fasten] to substrate to provide a complete deck installation.

          - Weld cover plates at changes in direction of roof-deck panels unless otherwise indicated.

### *************************************************************************************************************
Retain Paragraph below if flexible closures are required or permitted. Usually delete if fire-resistance-rated partitions are required.
*************************************************************************************************************

- Flexible Closure Strips: Install flexible closure strips over partitions, walls, and where indicated. Install with adhesive according to manufacturer's written instructions to ensure complete closure.

### *************************************************************************************************************
Retain Paragraph below if installation of sound-absorbing insulation is specified in applicable low-slope roofing Section. Coordinate with roofing installation to prevent exposure to weather.

*************************************************************************************************************

- Sound-Absorbing Insulation: Installation into topside ribs of deck as specified in Section [Insert Section number] "[Insert title of applicable roofing Section]."

  - FLOOR-DECK INSTALLATION

### *************************************************************************************************************
This article includes installation requirements for classes of floor deck and form deck used in floor applications. Revise first paragraph below and insert requirements if mechanical fastening to supports is permitted.

*************************************************************************************************************

        - Fasten floor-deck panels to steel supporting members by arc spot (puddle) welds of the surface diameter indicated and as follows:

### *************************************************************************************************************
Retain one weld diameter from "Weld Diameter" Subparagraph below or revise to suit Project.

*************************************************************************************************************

Retain one weld diameter from "Weld Diameter" Subparagraph below or revise to suit Project.

Weld Diameter: [5/8 inch] [3/4 inch], nominal.

### *************************************************************************************************************
Retain one of two "Weld Spacing" subparagraphs below. First subparagraph is based on SDI specifications. Retain second subparagraph if showing requirements on Drawings.

*************************************************************************************************************

Retain one weld spacing from options in "Weld Spacing" Subparagraph below. First option is based on SDI specifications for roof deck; second, on FMG Loss Prevention Data Sheet 1-29 recommendations for roof deck securement. Retain third if showing requirements on Drawings. Revise if diaphragm requirements or FM Global approval requires closer weld spacings.

Weld Spacing: Weld edge ribs of panels at each support. Space additional welds an average of 12 inches apart, but not more than 18 inches apart.

Weld Spacing: Space and locate welds as indicated.

### *************************************************************************************************************
Retain "Weld Washers" Subparagraph below if deck thickness is less than 0.028 inch.

*************************************************************************************************************

Retain "Weld Washers" Subparagraph below if minimum uncoated steel thickness is less than 0.028 inch (0.71 mm). See installation considerations in the Evaluations.

Weld Washers: Install weld washers at each weld location.

### *************************************************************************************************************
SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches.  Revise fastener spacing in Paragraph below if required.

*************************************************************************************************************

SDI requires side-lap and perimeter edge fastening if deck spans exceed 60 inches (1524 mm). Revise fastener spacing in "Side-Lap and Perimeter Edge Fastening" Paragraph below if required.

Side-Lap and Perimeter Edge Fastening: Fasten side laps and perimeter edges of panels between supports, at intervals not exceeding the lesser of 1/2 of the span or [36 inches], and as follows:

*************************************************************************************************************
Select acceptable fastening method(s) from three subparagraphs below. Welding may be mandatory for diaphragm deck. Revise fastening requirements as required.

*************************************************************************************************************

Select acceptable fastening method(s) from three subparagraphs below. Coordinate with choice of side lap.

Mechanically fasten with self-drilling, No. 10 diameter or larger, carbon-steel screws.

Mechanically clinch or button punch.

FM Global accepts welding of side laps to deck that is a minimum of 0.0474 inch (1.20 mm) thick.

Fasten with a minimum of 1-1/2-inch-long welds.

End Bearing: Install deck ends over supporting frame with a minimum end bearing of [1-1/2 inches] [Insert dimension], with end joints as follows:

### *************************************************************************************************************
Retain one of three options in Subparagraph below or indicate locations of each choice on Drawings.  SDI requires butted end joints for composite floor deck and allows lapped or butted ends for noncomposite floor deck.

*************************************************************************************************************

Retain one of three options in "End Joints" Subparagraph below. SDI allows lapped or butted ends for roof deck. FM Global recommends that ends lap a minimum of 2 inches (51 mm).

End Joints: [Lapped] [Butted] [Lapped or butted at Construction Subcontractor's option].

Pour Stops and Girder Fillers: Weld steel sheet pour stops and girder fillers to supporting structure according to SDI recommendations unless otherwise indicated.

### *************************************************************************************************************
Revise "Floor-Deck Closures" Paragraph below to suit Project.  Sealing cellular deck openings, butt joints, and junctions with trench headers with tape is not included in this Section.

*************************************************************************************************************

Floor-Deck Closures: Weld steel sheet column closures, cell closures, and Z-closures to deck, according to SDI recommendations, to provide tight-fitting closures at open ends of ribs and sides of deck.

Weld stud shear connectors through steel deck to structural members below.

### *************************************************************************************************************
Revise spacing of hanger tabs in paragraph below to suit Project.

*************************************************************************************************************

Retain "Sound-Absorbing Insulation" Paragraph below if installation of sound-absorbing insulation is specified in applicable low-slope roofing Section. Coordinate with roofing installation to prevent exposure to weather.

Install piercing hanger tabs at [14 inches] [Insert spacing] apart in both directions, within 9 inches of walls at ends, and not more than 12 inches from walls at sides unless otherwise indicated.

- FIELD QUALITY CONTROL

        - Special Inspections: LANL will engage a qualified special inspector to perform the special inspections stipulated by EOR in the Project’s Test and Inspection Plan.

### *************************************************************************************************************
Retain "Testing Agency" Paragraph below to identify who shall perform tests and inspections. If retaining second option in "Testing Agency" Paragraph, retain "Field quality-control reports" Paragraph in "Informational Submittals" Article.

*************************************************************************************************************

        - Testing Agency: [LANL will engage] [Engage] a qualified testing agency to perform tests and inspections.

        - Field welds will be subject to inspection.

        - Testing agency will report inspection results promptly and in writing to Construction Subcontractor and Engineer of Record.

        - Remove and replace work that does not comply with specified requirements.

        - Additional inspecting, at Construction Subcontractor's expense, will be performed to determine compliance of corrected work with specified requirements.

- PROTECTION

### *************************************************************************************************************
Retain one or more of the three repairs paragraphs below if repairs to galvanized or painted surfaces are required. If limiting repairs to roof deck, revise below accordingly.

**********************************************************************************************************

        - Galvanizing Repairs: Prepare and repair damaged galvanized coatings on both surfaces of deck with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

### *************************************************************************************************************
Retain one of two "Repair Painting" paragraphs below if prime-painted deck is required. Usually retain first "Repair Painting" Paragraph for prime-painted deck and retain surface(s) requiring repair painting. Because shop primer protects for a limited time, repair painting is best applied during or immediately after deck installation.

*************************************************************************************************************

Retain one of two "Repair Painting" paragraphs below if prime-painted deck is required. Usually retain first "Repair Painting" Paragraph for prime-painted deck and retain surface(s) requiring repair painting. Because shop primer protects for a limited time, repair painting is best applied during or immediately after deck installation.

Repair Painting: Wire brush and clean rust spots, welds, and abraded areas on [both surfaces] [top surface] of prime-painted deck immediately after installation, and apply repair paint.

### *************************************************************************************************************
Retain one of two subparagraphs below if appearance is important. Retain first subparagraph if retaining first option in "Repair Painting" Paragraph above. Retain second subparagraph if preparation and repair painting of bottom surface are specified in Section 09 9100 Painting.

*************************************************************************************************************

Retain one of two subparagraphs below if appearance is important. Retain first subparagraph if retaining first option in "Repair Painting" Paragraph above. Retain second subparagraph if preparation and repair painting of bottom surface are specified in Section 099113 "Exterior Painting" and Section 099123 "Interior Painting."

Apply repair paint, of same color as adjacent shop-primed deck, to bottom surfaces of deck exposed to view.

Wire brushing, cleaning, and repair painting are included in section 09 9100 Painting.

*************************************************************************************************************
Retain "Repair Painting" Paragraph below if repair-painting requirements are included in Section 09 9100 Painting. Coordinate field-painting requirements with Section 09 9100 Painting.

*************************************************************************************************************

Retain "Repair Painting" Paragraph below if repair-painting requirements are included in Section 099113 "Exterior Painting" and Section 099123 "Interior Painting." Coordinate field-painting requirements with Section 099113 "Exterior Painting" and Section 099123 "Interior Painting."

Repair Painting: Wire brushing, cleaning, and repair painting of rust spots, welds, and abraded areas of both deck surfaces are included in Section 09 9100 Painting.

Provide final protection and maintain conditions to ensure that steel deck is without damage or deterioration at time of Substantial Completion.

END OF SECTION

********************************************************

### Do not delete the following reference information:

********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 05 3000 Rev. 2, dated February 11, 2013.