SECTION 05 5313

BAR GRATINGS

***************************************************************************************************************

LANL MASTER SPECIFICATION

Word file at http://engstandards.lanl.gov

This section includes metal bar gratings and metal frames and supports for gratings.

Manufacturers listed in this section were identified as representative and not as an endorsement for meeting this specification.

This section doesn’t include plank, expanded metal, or fiberglass-reinforced gratings; however, generic sections for these, to include their respective frames and supports, do exist in MasterSpec & SpecText.

This section is for use with LANL ESM Chapter 5, Sections I and II in particular; therefore, it is primarily applicable to ML-4 (routine) projects.  For ML-1, ML-2, and some ML-3, additional requirements and independent reviews may be required; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Structural Specs POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

***************************************************************************************************************

GENERAL

SUMMARY

Section Includes metal bar gratings [and metal frames and supports for gratings].

Related Requirements:

****************************************************************************************************************

Retain subparagraphs below to cross-reference requirements Construction Subcontractor might expect to find in this Section but are specified in other Sections.

Regarding 05 3100 and field-installed shear connectors, all that is provided is an ‘installation’ sentence saying shear stud connectors are to be welded through steel deck to structural members below.  Everything else required to specify shear studs is contained herein (i.e., in 05 1000).

****************************************************************************************************************

Section 05 0520 - Post-installed Concrete and Grouted-Masonry Anchors – Normal Confidence.

Section 05 1000 - Structural Metal Framing for structural steel framing system components.

Section 05 5213 - Pipe and Tube Railing for metal pipe and tube handrails and railings.

Section 09 9100 - Painting for shop primers and touchup painting.

REFERENCES

*************************************************************************************************************

List reference standards included within text of this section.  Edit for Project conditions.

*************************************************************************************************************

American Architectural Manufacturers Association (AAMA):

AAMA 611 - Voluntary Specification for Anodized Architectural Aluminum

American Society of Civil Engineers (ASCE)

ASCE 7 - Minimum Design Loads for Buildings and Other Structures

ASTM International

ASTM A36 - Carbon Structural Steel.

ASTM A123 - Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

ASTM A153 - Zinc Coating (Hot-Dip) on Iron and Steel Hardware

ASTM A240 - Chromium and Chromium-Nickel Stainless Steel Plate,

Sheet, and Strip for Pressure Vessels and for General

Applications

ASTM A276 - Stainless Steel Bars and Shapes

ASTM A307 - Carbon Steel Bolts and Studs, 60,000 PSI Tensile Strength

ASTM A510 - General Requirements for Wire Rods and Coarse Round Wire, Carbon Steel

ASTM A563 - Carbon and Alloy Steel Nuts

ASTM A653 - Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

ASTM A666 - Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

ASTM A780 - Practice for Repair of Damaged and Uncoated Areas of Hot-Dip Galvanized Coatings

ASTM A1011- Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength

ASTM A1018 - Steel, Sheet and Strip, Heavy-Thickness Coils, Hot-Rolled, Carbon, Commercial, Drawing, Structural, High-Strength Low-Alloy, High-Strength Low-Alloy with Improved Formability, and Ultra-High Strength

ASTM B221 - Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

ASTM B633 - Electrodeposited Coatings of Zinc on Iron and Steel

ASTM D1187 - Asphalt-Base Emulsions for Use as Protective Coatings for Metal

ASTM F593 - Stainless Steel Bolts, Hex Cap Screws, and Studs

ASTM F594 - Stainless Steel Nuts

ASTM F1554 - Anchor Bolts, Steel, 36, 55, and 105-ksi Yield Strength

ASTM F1941 - Electrodeposited Coatings on Threaded Fasteners [Unified Inch Screw Threads (UN/UNR)]

American Welding Society (AWS)

International Code Council

IBC - International Building Code

Master Painters Institute (MPI)

- MPI#20 - Primer, Zinc Rich, Epoxy

- MPI#79 - Primer, Alkyd, Anti-Corrosive for Metal

National Association of Architectural Metal Manufacturers (NAAMM)

- NAAMM MBG 531 - Metal Bar Grating Manual

- NAAMM MBG 532 - Heavy-Duty Metal Bar Grating Manual

The Society for Protective Coatings (SSPC) and National Association of Corrosion Engineers International (NACE)

SSPC-PA 1 - Shop, Field, and Maintenance Painting of Steel

SSPC Paint 20 - Zinc-Rich Coating, Type I - Inorganic and Type II – Organic

SSPC-SP 6/ NACE No. 3 - Commercial Blast Cleaning

SSPC-SP 7/ NACE No. 4 - Brush-off Blast Cleaning

COORDINATION

Coordinate selection of shop primers with topcoats to be applied over them. Comply with paint and coating manufacturers' written instructions to ensure that shop primers and topcoats are compatible with one another.

Coordinate installation of anchorages for gratings, grating frames, and supports. Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry. Deliver such items to Project site in time for installation.

ACTION SUBMITTALS

Product Data: for the following:

****************************************************************************************************************

Revise list below to add specific products requiring Product Data.

****************************************************************************************************************

Clips and anchorage devices for gratings.

Paint products.

Shop Drawings:  Include plans, sections, details, and attachments to other work.

**************************************************************************************************************

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Subcontractor.  Professional engineer is defined in Section 01 4000 Quality Requirements.

**************************************************************************************************************

Delegated-Design Submittal:  For gratings, including analysis data signed and sealed by the professional engineer, registered in the State of New Mexico, responsible for their preparation.

Per the requirements of 01 4444 Offsite Welding and Joining Requirements and/or 01 4455 Onsite Welding and Joining Requirements, submit:

****************************************************************************************************

When offsite only, delete submittals below regarding onsite welding. For high risk applications such as ML-1 or ML-2, add submittals for “Weld Filler Material Control Procedures” and “Filler Material Certified Material Test Reports (CMTRs)” when required.  Add “Post-Weld Heat Treatment Procedures” when required.

****************************************************************************************************

  - Welding Procedure Specification (WPS) and supporting Procedure Qualification Record (PQR).  [Note:  For Onsite welding use of LANL WPS/PQR is the default; coordinate usage with the LANL CWI; no submittal required]

  - Welder Performance Qualification Records (WPQR) including continuity [Note: For Onsite, welders are tested by LANL who will produce WPQR and track continuity; this includes brazing, bonding and fusing; no submittal required]

  - Inspector qualification records

  - Inspection procedures

  - Shop drawings with weld details/symbols

INFORMATIONAL SUBMITTALS

*************************************************************************************************************

Retain Para. below if increased corrosion resistance of Type 316 stainless steel is required..

*************************************************************************************************************

    - Mill Certificates:  Signed by manufacturers of stainless-steel sheet certifying that products furnished comply with requirements.

**************************************************************************************************************

Consider retaining Para. below if primers are fully specified in this Section rather than in painting Section(s).

**************************************************************************************************************

Paint compatibility Certificates:  From manufacturers of topcoats applied over shop primers certifying that shop primers are compatible with topcoats.

SUSTAINABLE DESIGN SUBMITTALS

Product Data:  Indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content.  Include statement indicating costs for each product having recycled content.

Manufacturer’s Certificate:  Certify products meet or exceed specified sustainable design requirements.

****************************************************************************************************************

Edit material certifications list to suit products specified in this section and Project sustainable design requirements.  Specific certificate submittal and supporting data requirements may be specified in ESM Ch. 14 and 01 8113.13, Sustainable Design.

****************************************************************************************************************

Materials Resources Certificates:

Certify source and origin for [salvaged] [and] [reused] products.

Certify recycled material content for recycled content products.

Certify source for local and regional materials and distance from Project site.

Indoor Air Quality Certificates:

Certify volatile organic compound content for each interior paint and coating.

QUALITY ASSURANCE

****************************************************************************************************************

Retain appropriate subpara(s). under Para. below if shop &/or field welding is required. If retaining, also retain "WPQR" Para. in "Action Submittals" Article.

****************************************************************************************************************

Welding Qualifications:

Shop.

Prior to shop welding, submit WPQR certification for each welder stating the type of welding and positions qualified for, the code and procedure qualified under, date qualified, and the firm and individual certifying the qualification tests. Refer to Section 01 4444 Offsite Welding and Joining Requirements.

Field.

Refer to Section 01 4455 Onsite Welding and Joining Requirements.

FIELD CONDITIONS

****************************************************************************************************************

If possible, design gratings so that they do not have to fit other construction and delete this Article.

****************************************************************************************************************

Field Measurements:  Verify actual locations of walls and other construction contiguous with gratings by field measurements before fabrication.

PRODUCTS

****************************************************************************************************************

For limitations, requirements, etc. pertaining to Subcontractor's product selection, see Section 01 6000 Product Requirements.

Retain "Manufacturers" Article & list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.
****************************************************************************************************************

MANUFACTURERS

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Alabama Metal Industries Company; a Gibraltar Industries Company.

All American Grating.

BarnettBates Corporation.

Borden Metal Products (Canada) Limited.

Fisher & Ludlow; a NUCOR Company.

Grating Pacific, Inc.

Grupo Metelmex, S.A. de C.V.

Harsco Industrial IKG; a division of Harsco Corporation.

MLP Steel Company: Laurel Steel Products Division.

Ohio Gratings, Inc.

Seidelhuber Metal Products; Brodhead Steel.

[nsert manufacturer’s name].

DESCRIPTION

Sustainability Characteristics

Recycled Content of Steel Products:  Provide products with average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] <insert number> percent.

PERFORMANCE REQUIREMENTS

****************************************************************************************************************

Retain Para. below if design services have been delegated to Subcontractor.

****************************************************************************************************************

Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 Quality Requirements, to design gratings.

Structural Performance:  Gratings shall withstand the effects of gravity loads and the following loads and stresses within limits and under conditions indicated.

****************************************************************************************************************

Loads in subparas below are examples based on the IBC Table 1607.1, & the footnotes in the table that apply in several instances aren’t included.

EOR is responsible for ensuring that subpara(s). selected, or inserted, meets Project requirements & complies w/ Sect. 1607 (to include footnotes on many of the loads in Table 1607.1).

The 2 "Floors" subparas. immediately below are for light & heavy manufacturing, respectively.

****************************************************************************************************************

Floors:  Uniform load of 125 lbf/sq.ft. or concentrated load of 2000 lbf, whichever produces the greater load effects.

Floors: Uniform load of 250 lbf/sq. ft. or concentrated load of 3000 lbf, whichever produces the greater load effects.

Walkways and elevated platforms (other than exitways):  Uniform load of 60 lbf/sq. ft.

Stairs and exits:  Uniform load of 100 lbf/sq. ft. or concentrated load of 300 lbf, whichever produces the greater load effects.

Sidewalks, vehicular driveways and yards, subject to trucking: Uniform load of 250 lbf/sq. ft or concentrated load of 8000 lbf, whichever produces the greater load effects.

****************************************************************************************************************

Edit subpara. below as necessary/ required.  IBC Table 1604.3 limits deflection of floor members to 1/360 of the span.  NAAMM recommends limiting deflection to a maximum of ¼” for gratings subject to pedestrian traffic because this value is consistent with pedestrian comfort.

****************************************************************************************************************

Limit deflection to [L/360] [Insert deflection ratio] or ¼ inch, whichever is less.

****************************************************************************************************************

Delete “Seismic” Para. below if bar gratings aren’t part of a seismic force-resisting system, part of a nonstructural component that must withstand earthquake effects, etc..

If gratings are required to resist / transmit seismic loads then they must be designed for such IAW with LANL ESM Chapter 5, IBC Chapters 16 & 22 (as applicable), & ASCE 7 Chapters. 12, 13 & 15 (as applicable).  It is unacceptable to merely refer to ESM Ch. 5 in this Paragraph.

Many of the ESM requirements are indicated below.  The EOR is responsible for editing these as necessary, to include adding any/ all applicable requirements depending on the intended use of the grating (i.e., building diaphragm, nonstructural component, nonbuilding-structure diaphragm).  For example, the importance factor for grating in a building could be 1.0; however, 1.5 is required for the “same grating” used in egress stairways (that aren’t part of a bldg. structure) per ASCE 7 Ch. 13, etc.

****************************************************************************************************************

Seismic Performance:  Gratings shall withstand the effects of earthquake motions based on the following parameters/ data:

      - IBC Risk Category:  [I] [II] [III] [IV].

      - [IBC Mapped Acceleration Parameters:  SS = ____g, S1 = ____g.]

      - IBC Site Class:  D

      - IBC Design Spectral Response Acceleration Parameters:  SDS =  ____g, SD1 = ____g, T0 = 0.1 sec.

      - IBC Seismic Design Category: D

      - ASCE 7 Importance Factor [Ie] [Ip]: __.

      - [Insert parameter, data, input, etc.]

METAL BAR GRATINGS

****************************************************************************************************************

Delete "Standards" Para. below if bar gratings are not used. 1st option applies to gratings with maximum bearing bar depth of 2-1/2 inches and maximum thickness of 3/16 inch for steel and stainless steel or 1/4 inch for aluminum. 2nd option applies to steel and stainless-steel bar gratings with maximum bearing bar depth of 5 inches and thicknesses from 1/4 to 3/8 inch.

****************************************************************************************************************

Metal Bar Grating Standards: Comply with [NAAMM MBG 531][" and] [NAAMM MBG 532]."

****************************************************************************************************************

Descriptions and marks included with each grating type in remaining Paras. below are examples only. Copy Paras. & re-edit for each type required or indicate grating marks on Drawings or in schedules.

For details on the various descriptions & marks, the AIA MasterSpec Evaluations doc (i.e., 055313_sd.pdf) is highly recommended.  It also has good information on the various types of bar gratings covered herein, & painting & surface-prep. Requirements.

Insert drawing designation (e.g., MBG-1, MBG-2, MBG-3, etc.) for each product required. Use these designations on Drawings to identify each product.  For example, if a Project included 2 different welded-steel-grating products (& none of the other types of gratings herein), then the Para. immediately below would say, MBG-1, and MBG-2, etc.

****************************************************************************************************************

Welded Steel Grating [MBG-[#]]:

****************************************************************************************************************

ADA-ABA Accessibility Guidelines and ICC A117.1 limit floor or ground openings in areas required to be accessible to people with disabilities to 1/2 inch in width; this can be accomplished with a bearing bar spacing of 11/16 inch and a bearing bar thickness of 3/16 inch. This spacing is not close enough to support some high-heeled shoes.

****************************************************************************************************************

Bearing Bar Spacing: [7/16 or 1/2 inch] [11/16 inch] [15/16 inch] [1-3/16 inches] [1-3/8 inches] [1-7/8 inches] [2-3/8 inches] [Insert dimension(s)] o.c.

Bearing Bar Depth: [3/4 inch)] [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [3 inches] [3-1/2 inches] [4 inches] [4-1/2 inches] [5 inches] [As required to comply with structural performance requirements].

Bearing Bar Thickness: [1/8 inch] [3/16 inch] [1/4 inch] [3/8 inch] [As required to comply with structural performance requirements].

Crossbar Spacing: [2 inches] [4 inches] o.c.

****************************************************************************************************************

Retain 4 subparagraphs above or 1 of 1st 7 subparagraphs below.

****************************************************************************************************************

Grating Mark W-11-4 (1 x 3/16) STEEL: 1-by-3/16-inch bearing bars at 11/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark W-15-4 (1 x 1/8) STEEL: 1-by-1/8-inch bearing bars at 15/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark W-19-4 (1-1/4 x 3/16) STEEL: 1-1/4-by-3/16-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark W-19-4 (1-1/2 x 3/16) STEEL: 1-1/2-by-3/16-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark W-19-4 (2 x 1/4) STEEL: 2-by-1/4-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark W-30-4 (5 x 3/8) STEEL: 5-by-3/8-inch bearing bars at 1-7/8 inches o.c., and crossbars at 4 inches o.c.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Serrated] [Knurled] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

****************************************************************************************************************

Shop primer in "Steel Finish" subpara. below protects gratings during transit only. Revise if special pretreatment and finish are required.

****************************************************************************************************************

Steel Finish: [Shop primed] [Hot-dip galvanized with a coating weight of not less than 1.8 oz./sq. ft. of coated surface].

Pressure-Locked Steel Grating [MBG-[#]]: Fabricated by [pressing rectangular flush-top crossbars into slotted bearing bars] [or] [swaging crossbars between bearing bars].

****************************************************************************************************************

ADA-ABA Accessibility Guidelines and ICC A117.1 limit floor or ground openings in areas required to be accessible to people with disabilities to 1/2 inch in width; this can be accomplished with a bearing bar spacing of 11/16 inch and a bearing bar thickness of 3/16 inch. This spacing is not close enough to support some high-heeled shoes.

****************************************************************************************************************

Bearing Bar Spacing: [7/16 or 1/2 inch] [11/16 inch] [15/16 inch] [1-3/16 inches] [Insert dimension(s)] o.c.

Bearing Bar Depth: [3/4 inch] [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [As required to comply with structural performance requirements] [Insert depth].

Bearing Bar Thickness: [1/8 inch] [3/16 inch] [As required to comply with structural performance requirements] [Insert thickness].

Crossbar Spacing: [2 inches] [4 inches] o.c.

****************************************************************************************************************

Retain 4 subparas. above or 1 of 1st 4 subparas. below.

****************************************************************************************************************

Grating Mark P-11-4 (1 x 3/16) STEEL: 1-by-3/16-inch bearing bars at 11/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-15-4 (1-1/4 x 1/8) STEEL: 1-1/4-by-1/8-inch bearing bars at 15/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-19-4 (1-1/2 x 3/16) STEEL: 1-1/2-by-3/16-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Serrated] [Knurled] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

****************************************************************************************************************

Shop primer in "Steel Finish" subpara. below protects gratings during transit only. Revise if special pretreatment and finish are required.

****************************************************************************************************************

Steel Finish: [Shop primed] [Hot-dip galvanized with a coating weight of not less than 1.8 oz./sq. ft. of coated surface].

Riveted Steel Grating [MBG-[#]]:

****************************************************************************************************************

Riveted gratings provide good surface for wheeled vehicles, but none of the available bearing bar spacings comply with the ADA-ABA Accessibility Guidelines and ICC A117.1 requirements for openings in floor or ground surfaces in areas required to be accessible to people with disabilities.

****************************************************************************************************************

Bearing Bar Spacing: [3/4 inch] [1-1/8 inches] [2-5/16 inches] [Insert dimension], clear.

Bearing Bar Depth: [3/4 inch] [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [3 inches] [3-1/2 inches] [4 inches] [4-1/2 inches] [5 inches] [As required to comply with structural performance requirements].

Bearing Bar Thickness: [1/8 inch] [3/16 inch] [1/4 inch] [3/8 inch] [As required to comply with structural performance requirements].

Rivet Spacing: [3-1/2 inches] [5 inches] [7 inches] o.c. along bearing bar.

****************************************************************************************************************

Retain 4 subparas. above or 1 of 1st 5 subparas. below.

****************************************************************************************************************

Grating Mark R-12-3-1/2 (1 x 1/8) STEEL: 1-by-1/8-inch bearing bars with 3/4-inch clear space between bearing bars, and rivets at 3-1/2 inches o.c. along bearing bar.

Grating Mark R-18-7 (1-1/2 x 3/16) STEEL: 1-1/2-by-3/16-inch bearing bars with 1-1/8-inch clear space between bearing bars, and rivets at 7 inches o.c. along bearing bar.

Grating Mark R-37-5 (4 x 1/4) STEEL: 4-by-1/4-inch bearing bars with 2-5/16-inch clear space between bearing bars, and rivets at 5 inches o.c. along bearing bar.

Grating Mark R-37-5 (5 x 3/8) STEEL: 5-by-3/8-inch bearing bars with 2-5/16-inch clear space between bearing bars, and rivets at 5 inches o.c. along bearing bar.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Serrated] [Knurled] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

****************************************************************************************************************

Shop primer in "Steel Finish" subpara. below protects gratings during transit only. Revise if special pretreatment and finish are required.

****************************************************************************************************************

Steel Finish: [Shop primed] [Hot-dip galvanized with a coating weight of not less than 1.8 oz./sq. ft. of coated surface].

Pressure-Locked, Stainless-Steel Grating [MBG-[#]]: Fabricated by [pressing rectangular flush-top crossbars into slotted bearing bars] [or] [swaging crossbars between bearing bars].

****************************************************************************************************************

ADA-ABA Accessibility Guidelines and ICC A117.1 limit floor or ground openings in areas required to be accessible to people with disabilities to 1/2 inch in width; this can be accomplished with a bearing bar spacing of 11/16 inch and a bearing bar thickness of 3/16 inch. This spacing is not close enough to support some high-heeled shoes.

****************************************************************************************************************

Bearing Bar Spacing: [7/16 or 1/2 inch] [11/16 inch] [15/16 inch] [1-3/16 inches] [1-3/8 inches] [1-7/8 inches] [2-3/8 inches] [Insert dimension(s)] o.c.

Bearing Bar Depth: [3/4 inch] [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [3 inches] [3-1/2 inches] [4 inches] [4-1/2 inches] [5 inches] [As required to comply with structural performance requirements].

Bearing Bar Thickness: [1/8 inch] [3/16 inch] [1/4 inch] [3/8 inch] [As required to comply with structural performance requirements].

Crossbar Spacing: [2 inches] [4 inches] o.c.

****************************************************************************************************************

Retain 4 subparas. above or 1 of 1st 5 subparas. below.

****************************************************************************************************************

Grating Mark P-11-4 (1 x 3/16) STAINLESS STEEL: 1-by-3/16-inch bearing bars at 11/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-15-2 (1 x 1/8) STAINLESS STEEL: 1-by-1/8-inch bearing bars at 15/16 inch o.c., and crossbars at 2 inches o.c.

Grating Mark P-19-4 (1-1/2 x 3/16) STAINLESS STEEL: 1-1/2-by-3/16-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark P-30-4 (3 x 3/8) STAINLESS STEEL: 3-by-3/8-inch bearing bars at 1-7/8 inches o.c., and crossbars at 4 inches o.c.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Serrated] [Knurled] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

Finish: [Mill finish] [Abrasive blasted] [Electropolished].

Pressure-Locked, Rectangular-Bar Aluminum Grating [MBG-[#]]: Fabricated by [pressing rectangular flush-top crossbars into slotted bearing bars] [or] [swaging crossbars between bearing bars].

****************************************************************************************************************

ADA-ABA Accessibility Guidelines and ICC A117.1 limit floor or ground openings in areas required to be accessible to people with disabilities to 1/2 inch in width; this can be accomplished with a bearing bar spacing of 11/16 inch and a bearing bar thickness of 3/16 inch. This spacing is not close enough to support some high-heeled shoes.

****************************************************************************************************************

Bearing Bar Spacing: [7/16 or 1/2 inch] [11/16 inch] [15/16 inch] [1-3/16 inches] [Insert dimension(s)] o.c.

Bearing Bar Depth: [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [As required to comply with structural performance requirements].

Bearing Bar Thickness: [1/8 inch] [3/16 inch] [1/4 inch] [As required to comply with structural performance requirements].

Crossbar Spacing: [2 inches] [4 inches] o.c.

****************************************************************************************************************

Retain 4 subparas. above or 1 of 1st 5 subparas. below.

****************************************************************************************************************

Grating Mark P-7-4 (1 x 1/8) ALUMINUM: 1-by-1/8-inch bearing bars at 7/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-11-4 (1 x 3/16) ALUMINUM: 1-by-3/16-inch bearing bars at 11/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-15-4 (1-1/2 x 3/16) ALUMINUM: 1-1/2-by-3/16-inch bearing bars at 15/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-19-4 (2 x 3/16) ALUMINUM: 2-by-3/16-inch bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

****************************************************************************************************************

Usually retain 1st option in "Aluminum Finish" subpara. below. Mill finish is standard.

****************************************************************************************************************

Aluminum Finish: [Mill finish] [Class I, clear, anodized finish].

Pressure-Locked, Aluminum I-Bar Grating [MBG-[#]]: Fabricated by swaging crossbars between bearing bars.

****************************************************************************************************************

ADA-ABA Accessibility Guidelines and ICC A117.1 limit floor or ground openings in areas required to be accessible to people with disabilities to 1/2 inch in width; this can be accomplished with a bearing bar spacing of 11/16 inch and a bearing bar thickness of 3/16 inch. This spacing is not close enough to support some high-heeled shoes.  Pressure-locked aluminum gratings are also available with T-shaped bearing bars to reduce opening width and increase traction surface. T-bar gratings are not covered by NAAMM MBG 531, but last Para. above and subparas. below could be revised to specify them.

****************************************************************************************************************

Bearing Bar Spacing: [7/16 or 1/2 inch] [11/16 inch] [15/16 inch] [1-3/16 inches] [Insert dimension(s)] o.c.

Bearing Bar Depth: [1 inch] [1-1/4 inches] [1-1/2 inches] [1-3/4 inches] [2 inches] [2-1/4 inches] [2-1/2 inches] [As required to comply with structural performance requirements].

Bearing Bar Flange Width: 1/4 inch.

Crossbar Spacing: [2 inches] [4 inches] o.c.

****************************************************************************************************************

Retain 4 subparas. above or 1 of 1st 4 subparas. below.

****************************************************************************************************************

Grating Mark P-11-4 (1 I-Bar) ALUMINUM: 1-inch I-bar bearing bars at 11/16 inch o.c., and crossbars at 4 inches o.c.

Grating Mark P-15-2 (1 I-Bar) ALUMINUM: 1-inch I-bar bearing bars at 15/16 inch o.c., and crossbars at 2 inches o.c.

Grating Mark P-19-4 (1-1/2 I-Bar) ALUMINUM: 1-1/2-inch I-bar bearing bars at 1-3/16 inches o.c., and crossbars at 4 inches o.c.

Grating Mark: As indicated.

Traffic Surface: [Plain] [Grooved] [Applied abrasive finish consisting of aluminum-oxide aggregate in an epoxy-resin adhesive] [As indicated].

****************************************************************************************************************

Usually retain 1st option in "Aluminum Finish" subpara. below. Mill finish is standard.

****************************************************************************************************************

Aluminum Finish: [Mill finish] [Class I, clear, anodized finish].

Ferrous Metals

Steel Plates, Shapes, and Bars:  ASTM A 36

Steel Bars for Bar Gratings:  ASTM A 36 or steel strip, ASTM A 1011 or ASTM A 1018.

Wire Rod for Bar Grating Crossbars:  ASTM A 510

Uncoated Steel Sheet:  ASTM A 1011, structural steel, Grade 30.

Galvanized-Steel Sheet:  ASTM A 653, structural quality, Grade 33, with G90 coating.

****************************************************************************************************************

Type 316L stainless steel is more corrosion resistant and more expensive than Type 304.

****************************************************************************************************************

Stainless-Steel Sheet, Strip, Plate, and Flat Bars:  ASTM A 240, [Type 304] [Type 316L].

Stainless-Steel Bars and Shapes:  ASTM A 276, [Type 304] [Type 316L].

Aluminum

Aluminum, General:  Provide alloy and temper recommended by aluminum producer for type of use indicated, and with not less than the strength and durability properties of alloy and temper designated below for each aluminum form required.

Extruded Bars and Shapes:  ASTM B 221, alloys as follows:

6061-T6 or 6063-T6, for bearing bars of gratings and shapes.

6061-T1, for grating crossbars.

Fasteners

****************************************************************************************************************

Usually retain Type 304 in Para. below; retain Type 316 if required for corrosive environments.

****************************************************************************************************************

General: Unless otherwise indicated, provide [Type 304] [Type 316] stainless-steel fasteners for exterior use and zinc-plated fasteners with coating complying with ASTM B 633 or ASTM F 1941, Class Fe/Zn 5, at exterior walls.  Select fasteners for type, grade, and class required.

Provide stainless-steel fasteners for fastening aluminum.

Provide stainless-steel steel fasteners for fastening stainless steel.

****************************************************************************************************************

Delete remaining Paras. below if no detailed fastening requirements; retain for complex work.

****************************************************************************************************************

Steel bolts and Nuts:  Regular hexagon-head bolts, ASTM A 307, Grade A with hex nuts, ASTM A 563; and where indicated, flat washers.

****************************************************************************************************************

Retain Alloy Group 1 fasteners in Para. below for use with Type 304; retain Alloy Group 2  fasteners for use with Type 316.

****************************************************************************************************************

Stainless-Steel Bolts and Nuts: Regular hexagon-head annealed stainless-steel bolts, nuts and where indicated, flat washers; ASTM F 593 for bolts and ASTM F 594 for nuts, Alloy [Group 1] [Group 2].

Anchor Rods: ASTM F 1554, Grade 36, of dimensions indicated; with nuts, ASTM A 563; and, where indicated, flat washers.

Hot-dip galvanize or provide mechanically deposited, zinc coating where item being fastened is indicated to be galvanized.

****************************************************************************************************************

If Project requires the use of post-installed (P-I) anchors then the EOR is required to perform a design calc(s), specify the associated product(s) in 05 0520, & provide detail(s) on Project drawings.  Ensure all of the above consider use in exterior vs. interior locations in accordance w/ the applicable ICC-ES ESR (or similar).

Delete paragraph if P-I anchors are N/A.

****************************************************************************************************************

Post-Installed Anchors:  Provide anchors indicated and specified in Section 05 0520 Post-Installed Concrete and Grouted-Masonry Anchors -Normal Confidence.

MISCELLANEOUS MATERIALS

****************************************************************************************************************

Retain one or more of 1st 3 Paras. below.

- 1st Para contains an option for the use of a high-performance-coating section, which, if applicable, will have to be created “outside” of the LANL Master Spec (since no such sect. exists therein).

- 2nd Para. specifies a typical primer for painted finishes that provides minimum protection to steel.

- 3rd Para. specifies a typical primer for high-performance coatings.

If retaining 2nd & 3rd Paras., indicate on Drawings or in a schedule where each is required.

****************************************************************************************************************

Shop Primers: Provide primers that comply with [Section 09 9100 Painting] [Section ________ High-Performance Coatings.]

Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79 and compatible with topcoat.

Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

Epoxy Zinc-Rich Primer: Complying with MPI#20 and compatible with topcoat.

Galvanizing Repair Paint: High-zinc-dust-content paint complying with SSPC-Paint 20 and compatible with paints specified to be used over it.

Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187

FABRICATION

- Shop Assembly:  Fabricate grating sections in shop to greatest extent possible to minimize field splicing and assembly.  Disassemble units only as necessary for shipping and handling limitations.  Use connections that maintain structural value of joined pieces.  Clearly mark units for reassembly and coordinated installation.

- Cut, drill and punch material cleanly and accurately.  Remove burrs and ease edges to a radius of approximately 1/32 inch unless otherwise indicated.  Remove sharp or rough areas on exposed surfaces.

- Form from materials of size, thickness, and shapes indicated, but not less than that needed to support indicated loads.

- Fit exposed connections accurately together to form hairline joints.

****************************************************************************************************************

Delete Para. below if no gratings or grating frames are fabricated by welding.
****************************************************************************************************************

- Welding: Comply with AWS recommendations and the following:

#### Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

#### Obtain fusion without undercut or overlap.

#### Remove welding flux immediately.

### Provide for anchorage of type indicated; coordinate with supporting structure.  Fabricate and space the anchoring devices to secure gratings, frames, and supports rigidly in place and to support indicated loads.

****************************************************************************************************************

Retain 1 of 1st 2 subparas. below if toeplates are required.
****************************************************************************************************************

      - Fabricate toeplates to fit grating units and weld to units in shop unless otherwise indicated.

      - Fabricate toeplates for attaching in the field.

      - Toeplate Height:  4 inches unless otherwise indicated.

- Removable Grating Sections: Fabricate with banding bars attached by welding to entire perimeter of each section. Include anchors and fasteners of type indicated or, if not indicated, as recommended by manufacturer for attaching to supports.

****************************************************************************************************************

Retain 1st subpara. below for heavy-duty gratings. Weld lugs are small squares of metal that are welded between 2 bearing bars and have a hole for inserting a fastener.
****************************************************************************************************************

Provide no fewer than four weld lugs for each heavy-duty grating section, with each lug shop welded to two bearing bars.

****************************************************************************************************************

Usually retain 1st subpara. below for non-heavy-duty gratings with rectangular crossbars spaced 15/16 inch or more o.c. Saddle clips hook over the tops of two adjacent bearing bars and have a hole for inserting a fastener.
****************************************************************************************************************

#### 2.	Provide no fewer than four saddle clips for each grating section containing rectangular bearing bars 3/16 inch or less in thickness and spaced 15/16 inch or more o.c., with each clip designed and fabricated to fit over two bearing bars.

****************************************************************************************************************

Retain 1st subpara. below for non-heavy-duty gratings with rectangular crossbars spaced less than 15/16 inch o.c. Weld lugs are small squares of metal that are welded between two bearing bars and have a hole for inserting a fastener.
****************************************************************************************************************

#### 3.	Provide no fewer than four weld lugs for each grating section containing rectangular bearing bars 3/16 inch or less in thickness and spaced less than 15/16 inch o.c., with each lug shop welded to three or more bearing bars. Interrupt intermediate bearing bars as necessary for fasteners securing grating to supports.

****************************************************************************************************************

Last 2 subparas. above are suitable for attaching gratings with rectangular crossbars. 1st subpara. below is for aluminum I-bars. Flange blocks are small squares of metal that fit between webs of adjacent I-bars but over flanges of I-bars and have a hole for inserting a fastener.
****************************************************************************************************************

#### 4.	Provide no fewer than four flange blocks for each section of aluminum I-bar grating, with block designed to fit over lower flange of I-shaped bearing bars.

****************************************************************************************************************

Retain 1 or more of 3 subparas. below with any anchoring method above, or delete all 3 and substitute welded studs or other type of fastener to suit Project.
****************************************************************************************************************

#### 5.	Furnish threaded bolts with nuts and washers for securing grating to supports.

#### 6.	Furnish self-drilling fasteners with washers for securing grating to supports.

****************************************************************************************************************

Subpara. below describes removable fasteners installed from above grating.
****************************************************************************************************************

#### 7.	Furnish galvanized malleable-iron flange clamp with galvanized bolt for securing grating to supports. Furnish as a system designed to be installed from above grating by one person.

##### Kee Safety, Ltd.

##### LNA Safety Solutions, a Kee Safety Company.

- Fabricate cutouts in grating sections for penetrations indicated.  Arrange cutouts to permit grating removal without disturbing items penetrating gratings.

#### Edge-band openings in grating that interrupt four or more bearing bars with bars of same size and material as bearing bars.

- Do not notch bearing bars at supports to maintain elevation.

GRATING FRAMES AND SUPPORTS

****************************************************************************************************************

Delete this Article if grating is supported by structural steel* & additional framing is not required

*Elements of the structural frame indicated on Drawings and as described in AISC 303, "Code of Standard Practice for Steel Buildings and Bridges,” Section 2.1.
****************************************************************************************************************

- Fabricate from metal shapes, plates, and bars of welded construction to sizes, shapes, and profiles indicated and as necessary to receive gratings.  Miter and weld connections for perimeter angle frames.  Cut, drill, and tap units to receive hardware and similar items.

#### Unless otherwise indicated, fabricate from same basic metal as gratings.

#### Equip units indicated to be cast into concrete or built into masonry with integrally welded anchors. Unless otherwise indicated, space anchors 24 inches o.c. and provide minimum anchor units in the form of steel straps 1-1/4 inches wide by ¼ inch thick by 8 inches long.

- Galvanize steel frames and supports in the following locations:

#### Exterior.

#### Interior[, where indicated].

Aluminum Finishes

****************************************************************************************************************

Retain Para. below for heavy-anodized finish. Verify availability with manufacturers.
****************************************************************************************************************

Clear Anodic Finish: AAMA 611, AA-M12C22A41 Class I.

Steel Finishes

Finish gratings, frames, and supports after assembly.

Galvanizing:  Hot-dip galvanize items as indicated to comply with ASTM A 153 for steel and iron hardware and with ASTM A 123 for other steel and iron products.

****************************************************************************************************************

Retain subpara. below if galvanized items are painted.
****************************************************************************************************************

Do not quench or apply post galvanizing treatments that might interfere with paint adhesion.

Shop prime gratings, frames and supports [not indicated to be galvanized] unless otherwise indicated.

****************************************************************************************************************

Delete subpara. below if only 1 shop primer is specified.

An option is included for the use of a high-performance-coating section:  If applicable, the Sect. will have to be created “outside” of the LANL Master Spec (since no such sect. exists therein).
****************************************************************************************************************

Shop prime with [universal shop primer] [primers specified in Section 09 9100 Painting] unless [zinc-rich primer is] [primers specified in Section ______ High-Performance Coatings are] indicated.

Preparation for Shop Priming:  Prepare surfaces to comply with [SSPC-SP 6/ NACE No. 3.”] [SSPC-SP 7/NACE No. 4.”] [requirements indicated below:]

****************************************************************************************************************

Retain or revise any of 4 subparas. below to suit Project service conditions of installed work. Insert other exposures and preparation requirements where applicable. Refer to SSPC's painting manual.

Note that 3rd subpara. pertains to the use of a high-performance-coating section, which, if applicable, will have to be created “outside” of the LANL Master Spec (since no such sect. exists therein).
****************************************************************************************************************

Exterior Items:  SSPC-SP/NACE No.3.

Items Indicated to Receive Zinc-Rich Primer:  SSPC-SP 6/NACE No. 3.

Items Indicated to Receive Primers Specified in Division 09 Section “High-Performance Coatings”: SSPC-SP 6/NACE No. 3.

Other Items:  SSPC-SP 7/NACE No. 4.

Shop Priming:  Apply shop primer to comply with SSPC-PA 1 for shop painting.

EXECUTION

INSTALLATION, GENERAL

Fastening to In-Place Construction:  Provide anchorage devices and fasteners where necessary for securing gratings to in-place construction.  Include threaded fasteners for concrete and masonry inserts, through-bolts, lag bolts, and other connectors.

Cutting, Fitting, and Placement:  Perform cutting, drilling, and fitting required for installing gratings.  Set units accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

Provide temporary bracing or anchors in formwork for items that are to be built into concrete or masonry.

Fit exposed connections accurately together to form hairline joints.

****************************************************************************************************************

Delete subpara. below if no gratings are installed by welding & no grating frames require field welding.

****************************************************************************************************************

Weld connections that are not to be left as exposed joints but cannot be shop welded because of shipping size limitations.  Do not weld, cut or abrade the surfaces of exterior units that have been hot-dip galvanized after fabrication and are for bolted or screwed field connections.

****************************************************************************************************************

Delete 1st Para. below if no toeplates or if they are attached in shop.

****************************************************************************************************************

Attach toeplates to gratings by welding at locations indicated.

Field Welding:  Comply with AWS recommendations and the following:

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove welding flux immediately.

****************************************************************************************************************

Delete Para. below if no aluminum.

****************************************************************************************************************

Corrosion Protection:  Coat concealed surfaces of aluminum that will come into contact with grout, concrete, masonry, wood, or dissimilar metals, with a heavy coat of bituminous paint.

INSTALLING METAL BAR GRATINGS

General:  Install gratings to comply with recommendations of referenced metal bar grating standards that apply to grating types and bar sizes indicated, including installation clearances and standard anchoring details.

Attach removable units to supporting members with type and size of clips and fasteners indicated or, if not indicated, as recommended by grating manufacturer for type of installation conditions shown.

Attach nonremovable units in supporting member by welding where both materials are same; otherwise, fasten by bolting as indicated above.

ADJUSTING AND CLEANING

****************************************************************************************************************

Retain 1st "Touchup Painting" Para. below if touchup painting is in this Section. Retain 2nd "Touchup Painting" Para. if it is in Section 09 9100 Painting. Revise reference if using another Section, such as one on high-performance coatings. Delete both Paras. if no painted steel gratings.

****************************************************************************************************************

Touchup Painting:  Immediately after erection, clean field welds, bolted connections and abraded areas of shop paint, and paint exposed areas with same material as used for shop painting to comply with SSPC-PA 1 requirements for touching up shop-painted surfaces.

Apply by brush or spray to provide a minimum 2.0-mil dry film thickness.

Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in Section 09 9100 Painting.

Galvanized Surfaces:  Clean field welds, bolted connections, and abraded area and repair galvanizing to comply with ASTM A 780.

END OF SECTION

************************************************************

Do not delete the following reference information: ************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification 05 5313 Rev. 1, dated September 3, 2020.