SECTION 06 1000

ROUGH CARPENTRY

*************************************************************************************************************

LANL GUIDE SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Ch 1 Section Z10 Specifications and Quality Sections.

*************************************************************************************************************

PART 1 	GENERAL

  - SECTION INCLUDES

- Structural floor, wall, and roof framing

- Built-up structural [beams] [and] [columns].

- Diaphragm trusses fabricated on site.

- Shear Panels

- Floor, wall, and roof sheathing.

- Sill [gaskets] [and] [flashings].

- Preservative treatment and fire retardant treatment of wood.

- Miscellaneous framing and sheathing.

- Telephone and electrical panel back boards.

- Concealed wood blocking for support of [toilet and bath accessories] [wall cabinets] [wood trim] [and] [________].

- Framing with dimension lumber.

- Fasteners and metal framing anchors.

  - REFERENCE STANDARDS

    - American Institute of Timber Construction (AITC)

    - American National Standards Institute:

      - ANSI A135.4 - Basic Hardboard.

      - ANSI A208.1 - Mat-Formed Wood Particleboard.

    - American Wood-Preservers’ Association:

      - AWPA M4 - Standard for the Care of Preservative-Treated Wood Products.

      - AWPA U1 - Use Category System: User Specification for Treated Wood.

    - ASTM International:

      - ASTM A153/A153M - Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware.

      - ASTM B695 - Standard Specification for Coatings of Zinc Mechanically Deposited on Iron and Steel

      - ASTM C1177/C1177M - Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing.

      - ASTM C1280 - Standard Specification for Application of Gypsum Sheathing.

      - ASTM C1396/C1396M - Standard Specification for Gypsum Board.

      - ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

      - ASTM E119 - Standard Test Methods for Fire Tests of Building Construction and Materials.

      - ASTM F1667 - Standard Specification for Driven Fasteners: Nails, Spikes, and Staples.

    - The Engineered Wood Association

    - Forest Stewardship Council: FSC Guidelines - Forest Stewardship Council Guidelines.

    - Green Seal: GS-36 - Aerosol Adhesives.

    - National Lumber Grades Authority: NLGA - Standard Grading Rules for Canadian Lumber.

    - Northeastern Lumber Manufacturers Association: NELMA - Standard Grading Rules for Northeastern Lumber.

    - The Redwood Inspection Service: RIS - Standard Specifications for Grades of California Redwood Lumber.

    - South Coast Air Quality Management District: SCAQMD Rule 1168 - Adhesive and Sealant Applications.

    - Southern Pine Inspection Bureau: SPIB - Standard Grading Rules for Southern Pine Lumber.

    - U.S. Department of Commerce National Institute of Standards and Technology:

      - DOC PS 1 - Construction and Industrial Plywood.

      - DOC PS 2 - Performance Standard for Wood-Based Structural-Use Panels.

      - DOC PS 20 - American Softwood Lumber Standard.

    - West Coast Lumber Inspection Bureau: WCLIB - Standard Grading Rules for West Coast Lumber.

    - Western Wood Products Association: WWPA G-5 - Western Lumber Grading Rules.

  - ACTION SUBMITTALS

        - Product Data:  For each type of process and factory-fabricated product.  Indicate component materials and dimensions and include construction and application details.

          - Include data for wood-preservative treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Indicate type of preservative used and net amount of preservative retained.

          - Include data for fire-retardant treatment from chemical treatment manufacturer and certification by treating plant that treated materials comply with requirements.  Include physical properties of treated materials based on testing by a qualified independent testing agency.

          - For fire-retardant treatments, include physical properties of treated lumber both before and after exposure to elevated temperatures, based on testing by a qualified independent testing agency according to ASTM D 5664.

          - For products receiving a waterborne treatment, include statement that moisture content of treated materials was reduced to levels specified before shipment to Project site.

          - Include copies of warranties from chemical treatment manufacturers for each type of treatment.

        - Fastener Patterns:  Full-size templates for fasteners in exposed framing.

  - INFORMATIONAL SUBMITTALS

        - Material Certificates:  For dimension lumber specified to comply with minimum allowable unit stresses.  Indicate species and grade selected for each use and design values approved by the ALSC Board of Review.

        - Evaluation Reports:  For the following, from ICC-ES:

          - Wood-preservative-treated wood.

          - Fire-retardant-treated wood.

          - Engineered wood products.

          - Shear panels.

          - Power-driven fasteners.

          - Powder-actuated fasteners.

          - Expansion anchors.

          - Metal framing anchors.

  - SUSTAINABLE DESIGN SUBMITTALS

    - Chain-of-custody certificates indicating that products specified to be made from certified wood comply with forest certification requirements.  Include documentation that manufacturer is certified for chain of custody by an FSC-accredited certification body.  Include statement indicating cost for each certified wood product.

    - Product Data for adhesives, documentation including printed statement of VOC content.

    - Product Data for composite wood products, documentation indicating that product contains no urea formaldehyde.

    - Laboratory Test Reports for [adhesives] [and] [composite-wood products], documentation indicating that products comply with the testing and product requirements of the California Department of Health Services' "Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers."

  - CLOSEOUT SUBMITTALS

- Warranty Documentation:  Chemical treatment manufacturer’s standard warranty.

  - QUALITY ASSURANCE

    - Perform Work in accordance with the following:

      - Lumber Grading Agency: Certified by [DOC PS 20.] [____________________.]

      - Wood Structural Panel Grading Agency: Certified by [EWA - The Engineered Wood Association.] [____________________.]

      - Lumber: DOC PS 20.

      - Wood Structural Panels: DOC PS 1 or DOC PS 2.

************************************************************************************************************

When specifying exposed to view wood framing, grade stamping may be avoided for aesthetic reasons. Utilize the following paragraph in this instance.

*************************************************************************************************************

    - In lieu of grade stamping exposed to view lumber and wood structural panels, submit manufacturer's certificate certifying [Products] [________] meet or exceed [specified requirements.] [____________________.]

    - Fire Rated [Wall] [Floor] [Roof] Construction: [Rating as indicated on Drawings] [[________] hour rating].

      - Tested Rating: Determined in accordance with ASTM E119.

*************************************************************************************************************

Refer to IBC for tables of fire resistance ratings for various material and assemblies. Tables use item numbers to identify each assembly.

*************************************************************************************************************

      - Prescriptive Rating: [Item Number [________];] determined in accordance with [applicable] [________] code.

    - Surface Burning Characteristics of Fire Retardant Treated Materials: Maximum 25/450 flame spread/smoke developed index when tested in accordance with ASTM E84.

    - Single-Source Responsibility for Fire-Retardant-Treated Wood: Obtain each type of fire-retardant-treated wood product from one source and by single producer.

    - Sustainable Design Requirements:

      - Recovered Content Materials: Furnish materials with recovered content for:

  - Structural Fiberboard:	80 – 100%

  - [____________________.]

      - [Regional Materials: Furnish materials extracted, processed, and manufactured within 500 miles of Project site.

        - ____________________.

        - ____________________.]

      - [Certified Wood Materials: Furnish wood materials certified in accordance with FSC Guidelines.

- ____________________.

- ____________________.]

  - DELIVERY, STORAGE, AND HANDLING

- Deliver wood products bundled or crated to proved adequate protection during transit and job storage, with required grade marks clearly identifiable.  Inspect wood products for damage upon delivery.  Remove and replace damaged materials.

- Keep materials under cover and dry.  Protect from weather and contact with damp or wet surfaces.  Stack lumber, plywood, and other panels.  Provide for air circulation within and around stacks, and under temporary coverings. For lumber and plywood pressure-treated with waterborne chemicals, place spacers between each bundle to provide air circulation.

- Protect sheet materials during handling to prevent breaking of corners and damage to surfaces.

PART 2 – PRODUCTS

  - LUMBER MATERIALS

*************************************************************************************************************

Specify lumber by Stress Group or by generic lumber species. Verify method used, addresses stress requirements.

Group - Species (Commercial Design)

A - Douglas Fir, Larch

B - Hem-Fir

C - Eastern Hemlock, Tamarack, Jack Pine, Pacific Coast Yellow Cedar

D - Pacific Coast Sitka Spruce, Ponderosa Pine, Spruce, Pine, Fir

E - Eastern White Pine, Red Pine, Western Cedars, Western White Pine

When more than one appearance grade is required for Project, identify location of different grades in schedule or on Drawings.

When specifying by generic species indicate grade and size classifications. Refer to grading agency published data to aid in selection.

*************************************************************************************************************

    - Lumber Grading Rules: [AF&PA] [NELMA] [NLGA] [RIS] [SPIB] [WCLIB] [WWPA] [NELMA] [________].

    - Beam Framing: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content.

    - Joist Framing: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content.

    - Rafter Framing: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content.

    - Non-structural Light Framing: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content.

    - Studding: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content.

    - Below Grade Wood Foundation Framing: [Stress Group [________],] [[________] species, [________] grade, [________] size classification,] [19] [________] percent maximum moisture content, pressure preservative treated.

    - Miscellaneous Framing: [Stress Group [D] [________],] [[________] species,] [19] [________] percent maximum moisture content [, pressure preservative treat].

  - SHEATHING MATERIALS

      - Wood Structural Panel Roof Sheathing: EWA [Rated Sheathing]; [Structural [I]], [Plywood] [Oriented Strand Board] [COM-PLY] [________] Span Rating [________]; Exposure Durability [1] [exterior]; [sanded.] [unsanded.]

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

      - [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Particleboard Roof Sheathing: [ANSI A208.1] [Waferboard] [Structural Particleboard]; wood [chips] [shavings] [flakes] set with waterproof resin binder; [________] grade; [sanded] [unsanded] faces.

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Gypsum Roof Sheathing: [Moisture resistant] [Fire Resistant] [1/2] [5/8] inch thick, [24 x 96] [____x____] inch sized sheets, [square] [tongue and groove] edges, water repellant paper faces.

- Wood Structural Panel Wall Sheathing: EWA [Rated Sheathing] [Single Floor], [Structural [I]], [Plywood] [Oriented Strand Board] [COM-PLY] Span Rating [________]; Exposure Durability [1] [Exterior]; [sanded.] [unsanded.]

****************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

****************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Particleboard Wall Sheathing: [ANSI A208.1] [EWA [Waferboard] [Structural Particleboard]]; wood [chips] [shavings] [flakes] set with waterproof resin binder; [________] grade; [sanded] [unsanded] faces.

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Insulating Wall Sheathing: [________] insulation type, [foil] [________] faced, R-Value of [________]; [________] manufactured by [____________________].

****** [OR] ******

- Gypsum Wall Sheathing: ASTM C1396/C1396M; [Type X fire resistant,] [1/2] [5/8] inch thick, [24 x 96] [____x____] inch sized sheets, [square] [tongue and groove] edges, water repellant paper faces.

****** [OR] ******

- Gypsum Board Wall Sheathing:  ASTM C1177; [Type X fire resistant,] [5/8 inch thick] [1/2 inch thick].

- Wood Structural Panel Floor Sheathing: EWA [Rated Sheathing] [Single Floor], [Structural [I]], [Plywood] [Oriented Strand Board] [COM-PLY] Span Rating [________]; Exposure Durability [1] [Exterior]; [sanded.] [unsanded.]

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Particleboard Floor Sheathing: [ANSI A208.1] [EWA [Waferboard] [Oriented Strand Board] [Structural Particleboard]]; wood [chips] [shavings] [flakes] set with waterproof resin binder; [________] grade; [sanded] [unsanded] faces.

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

- Telephone and Electrical Panel Boards: [Plywood.] [Oriented Strand Board.] [____________________.]

  - UNDERLAYMENT MATERIALS

          - Plywood Underlayment: EWA [Underlayment] [Structural [I]], Span Rating [________]; Exposure Durability [1] [Exterior]; [sanded.]

***********************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

***********************************************************************************************************

          - [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Particleboard Underlayment: [ANSI A208.1, Type PBU] [Waferboard] [Structural Particleboard]; wood [chips] [shavings] [flakes] set with waterproof resin binder; [________] grade; [sanded] [unsanded] faces.

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

- [Interior] Composite Wood [and Agrifiber] Products: Contain no added urea-formaldehyde resins.

****** [OR] ******

- Hardboard Underlayment: [ANSI A135.4, Class [1 - Tempered] [2 - Standard] [3 - Service Tempered] [4 - Service] [5 - Industrialite], [S1S] [S2S] smooth side;] pressed lignocellulosic fiber with resin binder.

  - SHEATHING AND UNDERLAYMENT LOCATIONS

*************************************************************************************************************

Tongue and groove edges of sheathing reduce the effective width and length to 47-1/2 x 95-1/2 inches which is inconsistent with standard framing spacing.

*************************************************************************************************************

    - Sloped Roof Sheathing: [5/16] [3/8] [1/2] [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets, [square] [________] edges [, preservative treated].

    - Flat Roof Sheathing: [1/2] [5/8] [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets, [square] [tongue and groove] [________] edges [, preservative treated].

****** [OR] ******

    - Insulating [Sloped] [Flat] Roof Sheathing: [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets.

    - Above Grade Wall Sheathing: [1/2] [5/8] [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets, [square] [tongue and groove] [________] edges [, preservative treated].

****** [OR] ******

    - Insulating Above Grade Wall Sheathing: [________] inch thick, Span Rating [________] [48 x 96] [____x____] inch sized sheets.

    - Below Grade Wall Sheathing: [3/4] [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets, [square] [tongue and groove] [________] edges, pressure preservative treated.

    - Floor Sheathing: [5/8] [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets, [square] [tongue and groove] [________] edges [, preservative treated].

    - Floor Underlayment: [________] inch thick, Span Rating [________], [48 x 96] [____x____] inch sized sheets.

  - FIREBLOCKING AND DRAFTSTOPPING

*************************************************************************************************************

Include fireblocking and firestopping for wood framed combustible construction.

*************************************************************************************************************

    - Fireblocking: Solid lumber, structural wood panel, or particleboard.

*************************************************************************************************************

Gypsum board, cement board, mineral wool batts or glass fiber batts may be permitted as fireblocking for some applications. Coordinate permitted materials with applicable code.

*************************************************************************************************************

      - Solid lumber nominal 2 inches thick.

      - Two layers of solid lumber nominal 1 inch thick with broken lapped joints.

      - Structural wood panel 23/32 inch thick with joints backed by structural wood panel.

      - Particleboard 3/4 inch thick with joints backed by particleboard.

    - Draftstopping: Gypsum board, wood structural panel or particleboard.

      - Gypsum board, 1/2 inch thick.

      - Wood structural panel, 3/8 inch thick.

      - Particleboard, 3/8 inch thick.

  - ACCESSORIES

*************************************************************************************************************

Treated wood requires galvanized fasteners. Fasteners other than nails, screws, and lag screws for treated wood are permitted to be mechanically galvanized. Drywall screws are not available zinc coated.

*************************************************************************************************************

    - Fasteners and Anchors:

      - Fasteners: [ASTM A153/A153M, hot dipped galvanized] [ASTM B695, Class 55 mechanically galvanized] steel for high humidity and treated wood locations, unfinished steel elsewhere.

      - Nails and Staples: ASTM F1667.

****** [OR] ******

      - Drywall Screws: Bugle head, hardened steel, power driven type, [length [three] [________] times thickness of sheathing.] [length to achieve full penetration of sheathing substrate.]

      - Anchors: [Toggle bolt type for anchorage to hollow masonry.] [Expansion shield and lag bolt type for anchorage to solid masonry or concrete.] [Bolt or ballistic fastener for anchorages to steel.]

    - Die Stamped Connectors: [________] inch thick, hot dipped galvanized steel.

    - [Structural Framing Connectors:] [Joist Hangers:] Hot dipped galvanized steel, sized to suit framing conditions, [________] manufactured by [____________________].

    - Sill Gasket on Top of Foundation Wall: [1/4] [________] inch thick, [plate width] [[________] inch wide], [closed cell [polyethylene] [________] foam from continuous rolls] [glass fiber strip] [________]; [________] manufactured by [____________________].

    - Sill Flashing (Under Sill Gasket): [6] [________] mil thick, [[clear] [________] polyethylene sheet.] [galvanized steel.] [____________________.]

    - Subfloor Glue: [EWA AFG-01,] waterproof of [water] [solvent] base, air cure type, cartridge dispensed; [________] manufactured by [____________________].

*************************************************************************************************************

Sustainable design requirements normally specify maximum VOC content for products that affect indoor air quality. Delete option to extend requirement to exterior applications.

*************************************************************************************************************

      - [Interior] Adhesives: Maximum volatile organic compound content in accordance with SCAQMD Rule 1168.

      - [Interior] Aerosol Adhesives: Maximum volatile organic compound content in accordance with GS-36.

    - Building Paper: ASTM D226; [Type I, No. 15] [Type II, No. 30] unperforated asphalt felt.

****** [OR] ******

    - Building Paper: [Plain untreated cellulose building paper.] [Spun bonded polyethylene.] [____________________.]

    - Termite Shield: [Galvanized sheet steel, [________] inch thick.] [Plastic, [________] inch thick.] [____________________.]

  - FACTORY WOOD TREATMENT

*************************************************************************************************************

The AWPA U1 standard designates what preservative systems and retentions have been determined to be effective in protecting wood products under specified exposure conditions, referred to as Use Categories. There are numerous preservatives available but the most commonly used are ACQ and SBX, both water-borne. When other types are required, consult preservative manufacturer for correct application of selected preservative and edit to suit project.

Do not use oil based preservatives under roofing felts. These preservatives tend to dissolve bitumen in felts.

*************************************************************************************************************

    - Wood Preservative (Pressure Treatment): [AWPA U1, Commodity Specification A-Sawn Products or F-Wood Composites] using [water-borne] [ACQ] [SBX] [____________________] preservative.

    - Wood Preservative (Surface Application): [Clear] [colored], [____________________] type, manufactured by [____________________].

    - Fire Retardant Treatment: Chemically treated and pressure impregnated, having flame spread of 25 or less when tested in accordance with ASTM E 84 and showing no evidence of significant progressive combustion when test is continued for an additional 20 minute period, Interior Type.

    - Moisture Content after Treatment: [Redried] [Kiln dried (KDAT)].

      - Lumber: Maximum 19 percent.

      - Structural Panels: Maximum 15 percent.

PART 3 – EXECUTION

  - FRAMING

Set structural members level and plumb, in correct position.

Fasten framing in accordance with [________] [applicable] code.

Make provisions for erection loads, and for sufficient temporary bracing to maintain structure safe, plumb, and in alignment until completion of erection and installation of permanent bracing.

Place horizontal members, crown side up.

Construct [load bearing] framing [and curb] members full length without splices.

Double members at openings over [________] inches wide. Space short studs over and under opening to stud spacing.

Construct double joist headers at floor and ceiling openings and under wall stud partitions parallel to floor joists. Frame rigidly into joists.

Bridge [joists] [framing] in excess of [8] [________] feet span [as detailed.] [at mid-span.] Fit solid [blocking] [bridging] at ends of members.

Place full width continuous sill flashings under framed walls on [cementitious foundations.] [____________________.] Lap flashing joint [4] [________] inches.

Place sill gasket directly on [sill flashing.] [cementitious foundation.] Puncture gasket clean and fit tight to protruding foundation anchor bolts.

Coordinate installation of [wood decking,] [wood chord metal joists,] [glue laminated structural units,] [prefabricated wood trusses,] [and] [wood “I” joists].

Curb roof openings [except where prefabricated curbs are provided]. Form corners by alternating lapping side members.

Coordinate curb installation with installation of [decking and support of deck openings,] [roofing vapor retardant,] [parapet construction,] [and] [________].

  - SHEATHING

    - Install gypsum sheathing in accordance with ASTM C1280.

    - Fasten sheathing in accordance with [________] [applicable] code.

    - Secure roof sheathing with longer edge (strength axis) perpendicular to framing members and with ends staggered and sheet ends over bearing.

    - [Use sheathing clips between sheets between roof framing members.] [Install solid edge blocking between sheets.] [Fully engage tongue and groove edges.]

    - Secure wall sheathing with long dimension [parallel] [perpendicular] to wall studs, with ends over firm bearing [and staggered].

*************************************************************************************************************

Include the following paragraph when wall finish siding section does not include building paper.

*************************************************************************************************************

    - Place building paper horizontally over wall sheathing; weather lap edges and ends.

    - Secure subfloor sheathing with longer edge perpendicular to floor framing and with end joints staggered and sheet ends over bearing. Attach with [subfloor glue] [and] [drywall screws] [________].

    - Install plywood [to simple span.] [to two span continuous.] [cantilevered with pieces intermixed.] [in combination single and two span continuous.] [random with [________] inches minimum length.]

*************************************************************************************************************

Consider including the following paragraph where inter-sheathing squeaking noises are to be minimized.

*************************************************************************************************************

    - Place building paper between floor underlayment and subflooring.

    - Install flooring underlayment after dust and dirt generating activities have ceased and prior to application of finished flooring. Apply perpendicular to subflooring, stagger joints of underlayment. Secure with [deformed shank] [________] type fasteners.

    - Install telephone and electrical panel back boards with [wood structural panel] [________] sheathing material where required. Size back boards [12] [________] inches beyond size of electrical panel.

  - FIREBLOCKING AND DRAFTSTOPPING

*************************************************************************************************************

Include fireblocking and draftstopping for wood framed combustible construction.

*************************************************************************************************************

    - Install fireblocking to cut off concealed draft openings.

      - Concealed Framed Wall and Furred Spaces: Install fireblocking vertically at floor and ceiling levels and horizontally at maximum 10 feet on center.

      - Connections Between Horizontal and Vertical Spaces: Install fireblocking between vertical walls and partitions and the following:

        - Horizontal floor and roof framing.

        - Soffits, dropped ceilings, cove ceilings and other horizontal concealed spaces.

      - Stairs: Install fireblocking between stair stringers at top and bottom of each run.

      - Exterior Combustible Architectural Trim: Install fireblocking at maximum 20 feet on center.

    - Install draftstopping in floors and attics [at locations indicated on Drawings.]

      - Floors: In locations to limit each area to 1000 sf.

      - Attics: In locations to limit each area to 3000 sf.

  - SITE APPLIED WOOD TREATMENT

*************************************************************************************************************

Use this article only for site applied treatment of materials or when site cutting of treated materials requires re-treatment.

*************************************************************************************************************

    - Brush-apply [one] [two] coats of preservative treatment on wood in contact with [cementitious materials] [roofing and related metal flashings] [and] [________].

    - Treat site-sawn cuts. Apply preservative to site-sawn cuts in accordance with [AWPA M4] [________].

    - Allow preservative to dry prior to erecting members.

  - TOLERANCES

    - Framing Members: [1/4] [________] inch from indicated position, maximum.

    - Surface Flatness of Floor: [1/4] [________] inch in 10 feet maximum, and [1/2] [________] inch in [30] [________] feet maximum.

  - SCHEDULES

*************************************************************************************************************

Include schedule when several species or stress grades of lumber are to be used; different thicknesses, type, and locations of sheathing require identification; or when wood treatment needs clarification as to type, location of member, and other factors.

Consider the following examples when developing Project schedule.

*************************************************************************************************************

    - [Above Grade Joist, Rafter, and Stud Framing: S/P/F species, 19 percent maximum moisture content.

    - Sloped Roof Sheathing: Plywood, 3/8 inch thick, 24 x 48 inch sized sheets, square edges; appearance grade facing inward.

    - Below Grade Joist and Stud Framing: Stress Group B, pressure preservative treatment.

    - Below Grade Wall Sheathing: Plywood, 3/4 inch thick, 24 x 48 inch sized sheets, tongue and groove edges, pressure preservative treated.

    - Blocking and Cants: S/P/F species, pressure preservative treatment.]

END OF SECTION

*****************************************************************

Do not delete the following reference information:

*****************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 06 1000, Rev. 2, dated November 28, 2012.