SECTION 07 0155

ROOF PATCHING

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

PART 1 GENERAL

1.1	SECTION INCLUDES

A.	[Reworking existing roofing at area of penetration installation.]

1.2	SUBMITTALS

A.	Submit the following in accordance with the requirements of Section 01 3000, Submittal Procedures:

1.	Installation instructions for proposed materials.

1.3	QUALITY ASSURANCE

Use a roofing installer that has successfully performed at least 5 projects of similar type and scope.

1.4	ENVIRONMENTAL REQUIREMENTS

A.	Do not remove existing roofing membrane when weather conditions threaten damage to the building, its contents, or the intended continued occupancy of the building.

B.	Maintain weather protection of roof and enclosed spaces below during removal and patching operations.

PART 2 PRODUCTS

2.1	MATERIALS

A.	Single-ply roofing membrane flashing:  Hypalon, 40 mil. thick.

B.	Elastomer mastic:  Tremco "Polyroof".

C.	Reinforcing mesh:  Tremco "BURmesh".

D.	Cant strip:  4in. fiber cant.

E.	Metal Flashing:  26 gauge galvanized sheet metal.

F.	Resaturant:  Tremco "Ecolastic".

PART 3 EXECUTION

3.1	MATERIALS REMOVAL

A.	Remove existing roofing materials within area of [penetration].

B.	[Remove loose aggregate within 10 feet of roof penetration.]

3.2	RE-ROOF OPERATIONS

A.	For curb installations, set cant strip around curb perimeter in bed of mastic.

B.	For curb installations, install upper edge of roofing membrane under sheet metal flashing at top of curb and extending out onto existing roofing.

C.	Seal joint between patch roofing membrane and existing roofing with 5 courses of mastic and mesh.

D.	[Apply resaturant to existing roofing where loose gravel is removed.]

E.	[Rebroadcast gravel over resaturated area.]

end of section

*************************************************************************

Do not delete the following reference information:

*************************************************************************

for lanl use only

This project specification is based on LANL Master Specification 07 0155 Rev. 1, dated May 5, 2008.