SECTION 07 1113

BITUMINOUS DAMPPROOFING

***********************************************************************************************************
LANL MASTER SPECIFICATION

This template must be edited for each project. In doing so, specifier must add job-specific requirements. Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

PART 1 GENERAL

- SUMMARY

  - Section Includes:

    - Hot-applied asphalt dampproofing

    - Cold-applied, cut-back asphalt dampproofing

    - Cold-applied, emulsified-asphalt dampproofing

  - Related Sections:

    - Section 07 2113, Board Insulation

    - Section 07 1326, Self-Adhering Sheet Waterproofing

    - Section 31 2000, Earth Moving

- REFERENCES

************************************************************************************************************List reference standards included within text of this section. Edit the following for Project conditions.
*************************************************************************************************************

  - ASTM International:

    - ASTM D41 – Standard Specification for Asphalt Primer used in Roofing, Dampproofing and Waterproofing.

    - ASTM D43 – Standard Specification for Coal Tar Primer used in Roofing, Dampproofing, and Waterproofing.

    - ASTM D449 – Standard Specification for Asphalt Used in Dampproofing and Waterproofing.

    - ASTM D450 – Standard Specification for Coal-Tar Pitch Used in Roofing, Dampproofing, and Waterproofing.

    - ASTM D1227 – Standard Specification for Emulsified Asphalt Used as a Protective Coating and Roofing.

    - ASTM D3747 – Standard Specification for Emulsified Asphalt Adhesive for Adhering Roof Insulation.

    - ASTM D4586 – Standard Specification for Asphalt Roof Cement, Asbestos-Free.

    - ASTM D5643 – Standard Specification for Coal Tar Roof Cement, Asbestos-Free.

  - National Roofing Contractors Association:

    - NRCA – The NRCA Waterproofing and Dampproofing Manaul.

- SUBMITTALS

  - Action / Informational Submittals

    - Product Data: For each type of product indicated. Include recommendations for method of application, primer, number of coats, coverage or thickness, and protection course.

    - Material Certificates: For each product, signed by manufacturers.

    - Manufacturer’s Installation Instructions: Submit special procedures and perimeter conditions requiring special attention.

  - Sustainable Design Submittals

    - Product Data: For dampproofing, including printed statement of VOC content.

- QUALITY ASSURANCE

  - Source Limitations: Obtain primary dampproofing materials and primers through one source from a single manufacturer. Provide secondary materials recommended by manufacturer of primary materials.

  - Perform work in accordance with National Roofing Contractors Association (NRCA) Waterproofing and Dampproofing Manual.

  - Manufacturer’s Qualifications: Company with minimum 15 years experience in manufacturing specified products.

  - Applicator Qualifications: Company with minimum of 5 years experience in application of specified products on projects of similar size and scope, and is acceptable to product manufacturer.

- FIELD CONDITIONS

  - Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit dampproofing to be performed according to manufacturer’s written instructions.

  - Ventilation: Provide adequate ventilation during application of dampproofing in enclosed spaces. Maintain ventilation until dampproofing has cured.

PART 2 – PRODUCTS

- HOT-APPLIED ASPHALT DAMPPROOFING

  - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

    - Owens Corning: Trumbull Division.

    - <Insert manufacturer’s name.>

  - Hot-Applied Asphalt Dampproofing: ASTM D 449, Type [I] [II] [III].

  - VOC Content: [250 g/L] [(300 g/L) (500 g/L)] or less.

- COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

  - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

    - ChemMasters Corp.

    - Degussa Building Systems; Sonneborn Brand Products.

    - Henry Company.

    - Karnak Corporation.

    - Koppers Inc.

    - Meadows, W.R., Inc.

    - Tamms Industries, Inc.

    - <Insert manufacturer’s name.>

  - Trowel Coats: ASTM D 4586, Type I, Class 1, fibered.

  - Brush and Spry Coats: ASTM D 4479, Type I, fibered [or nonfibered].

  - VOC Content: [250 g/L] [(300 g/L) (500 g/L)] or less.

- COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

  - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

    - ChemMasters Corp.

    - Degussa Building Systems; Sonneborn Brand Products.

    - Henry Company.

    - Karnak Corporation.

    - Koppers Inc.

    - Meadows, W.R., Inc.

    - Tamms Industries, Inc.

    - <Insert manufacturer’s name.>

  - Trowel Coats: ASTM D 1227, Type II, Class 1.

  - Fibered Brush and Spray Coats: ASTM D 1227, Type II, Class 1.

  - Brush and Spray Coats: ASTM D 1227, Type III, Class 1.

  - VOC Content: [Zero] [(30 g/L) or less].

- PROTECTION COURSE

******** SELECT ONE OF THE FOLLOWING ********

[A.	Protection Course, Asphalt-Board Type: ASTM D 6506, premolded, 1/8-inch thick, multi-ply, semi-rigid board consisting of a mineral-stabilized asphalt core sandwiched between layers of asphalt-saturated felt, and faced on 1 side with polyethylene film.]

*** [OR] ***

[A.	Protection Course: Fan folded, with a core of extruded-polystyrene board insulation faced on [one] [or] [both] side(s) with plastic film, nominal thickness ¼ inch with compressive strength of not less than 8 psi per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.]

*** [OR] ***

[A.	Protection Course: Unfaced, fan-folded, extruded-polystyrene board insulation, nominal thickness ¼ inch with compressive strength of not less than 8 psi per ASTM D 1621.]

*** [OR] ***

[A.	Protection Course, Roll-Roofing Type: Smooth-surfaced roll roofing complying with ASTM D 6380, Class S, Type III.]

- MISCELLANEOUS MATERIALS

  - Cut-Back Asphalt Primer: ASTM D 41.

  - Emulsified-Asphalt Primer: ASTM D 1227, Type III, Class 1, except diluted with water as recommended by manufacturer.

  - Asphalt-coated Glass Fabric: ASTM D 1668, Type I.

  - Patching Compound: [Epoxy or latex-modified repair mortar] [Manufacturer’s fibered mastic] of type recommended by dampproofing manufacturer.

PART 3 – EXECUTION

- EXAMINATION

  - Examine substrates, with Installer present, for compliance with requirements for surface smoothness and other conditions affecting performance of work.

    - Proceed with dampproofing application only after substrate construction and penetrating work have been completed and unsatisfactory conditions have been corrected.

    - Test for surface moisture according to ASTM D 4263.

- PREPARATION

  - Protection of Other Work: Mask or otherwise protect adjoining exposed surfaces from being stained, spotted, or coated with dampproofing.  Prevent dampproofing materials from entering and clogging weep holes and drains.

  - Clean substrates of projections and substances detrimental to work; fill voids, seal joints, and apply bond breakers if any, as recommended by prime material manufacturer.

  - Apply patching compound for filling and patching tie holes, honeycombs, reveals, and other imperfections; [cover with asphalt-coated glass fabric].

- APPLICATION, GENERAL

  - Comply with manufacturer’s written recommendations unless more stringent requirements are indicated or required by Project conditions to ensure satisfactory performance of dampproofing.

    - Apply additional coats if recommended by manufacturer or if required to achieve coverages indicated.

    - Allow each coat of dampproofing to cure [six] [12] [24] hours before applying subsequent coats.

    - Allow [24] [36] [48] hours drying time prior to backfilling.

  - Apply dampproofing to footings and foundation walls where opposite side of walls faces [building interior] [occupied space].

    - Apply from finished-grade line to top of footing, extend over top of footing, and down a minimum of 6 inches over outside face of footing.

    - Extend 12 inches onto intersecting walls and footings, but do not extend onto surfaces exposed to view when Project is completed.

    - Install flashings and corner protection stripping at internal and external corners, changes in plane, construction joints, cracks, and where shown as “reinforced” by embedded an 8-inch- wide strip of asphalt-coated glass fabric in a heavy coat of dampproofing. Dampproofing coat for embedding fabric is in addition to other coats required.

  - Apply dampproofing to provide continuous plane of protection on exterior face of inner wythe of exterior masonry cavity walls.

    - Lap dampproofing at least ¼ inch onto flashing, masonry reinforcement, veneer ties, and other items that penetrate inner wythe.

    - Extend dampproofing over outer face of structural members and concrete slabs that interrupt inner wythe, and lap dampproofing at least ¼ inch onto shelf angles supporting veneer.

  - Apply dampproofing to provide continuous plane of protection on interior face of above-grade, exterior [concrete] [and] [masonry] [single-wythe masonry] walls unless walls are indicated to receive direct application of paint.

    - Continue dampproofing through intersecting walls by keeping vertical mortar joints at intersection temporarily open or by delaying construction of intersecting walls until dampproofing is applied.

- HOT-APPLIED ASPHALT DAMPPROOFING

  - Do not apply hot asphalt when substrate condition causes foaming.

  - Kettle Temperature: Comply with dampproofing material manufacturer’s written recommendations, and keep at least 25 deg. F below the flash point.

  - Prime masonry and other porous substrates.

  - Apply a uniform coat of hot asphalt b mopping or spraying at not less than 20 lb. or 2.5 gal./100 sq.ft.

  - Apply a second coat [to below-grade foundation walls] as specified above. Apply double thickness of second coat where first application has failed to produce a smooth, shiny, impervious coat.

- COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

  - On Concrete Foundations [and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.25 gal./100 sq.ft for first coat and 1 gal./100 sq.ft for second coat, or one trowel coat at not less than 4 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.25 gal./100 sq.ft for first coat and 1 gal./100 sq.ft. for second coat, or primer and one trowel coat at not less than 4 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and one trowel coat at no less than 4 gal./100 sq.ft.

  - On Unexpected Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25

  - On Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal./ 100 sq.ft.

  - On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

- COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

  - On concrete Foundations [and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.5 gal./100 sq. ft. for first coat and 1 gal./100 sq.ft. for second coat, one fibered brush or spray coat at not less than 3 gal./100 sq.ft. or 1 trowel coat at not less than 4 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.5 gal./100 sq.ft. for first coat and 1 gal./100 sq.ft. for second coat, primer and one fibered brush or spray coat at not less than 3 gal./100 sq.ft. or primer and one trowel coat at not less than 5 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and one trowel coat at not less than 5 gal./100 sq.ft.

  - On unexposed Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25 gal./100 sq.ft.

  - On Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1.25 gal./100 sq.ft.

  - On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Interior Face of Exterior Concrete Walls: Where above grade and indicated to be furred and finished, apply one brush or spray coat at not less than 1 gal./100 sq.ft.

  - On Interior Face of [Single- Wythe] Exterior Masonry Walls: Where above grade and indicated to be furred and finished, apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

- INSTALLATION OF PROTECTION COURSE

  - Where indicated, install protection course over completed-and-cured dampproofing. Comply with dampproofing material manufacturer’s written recommendations for attaching protection course.

    - Support protection course with spot application of adhesive of type recommended by protection board manufacturer over cured coating.

    - Install protection course [on same day] [within 24 hours] of installation of dampproofing (while coating is tacky) to ensure adhesion.

- BACKFILLING

  - Backfilling: Place backfill not sooner than 24 hours, nor later than seven days, after application of asphalt dampproofing and protection board materials. Do not rupture or damage the film or displace the coating, membranes, or protection board.

- CLEANUP

  - Remove dampproofing materials from surfaces not intended to receive dampproofing.

  - Solvent-Based: Tools and other equipment shall be thoroughly cleaned with paint thinner or mineral spirits, taking necessary precautions when handling combustible materials.

  - Water-Based: Fresh coating can be removed with soap and water. Remove dried dampproofing material using paint thinner or mineral spirits: Clean hands with waterless hand cleaners.

END OF SECTION

***********************************************************
Do not delete the following reference information:
***********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 07 1113 Rev. 2, dated July 18, 2012.