# SECTION 07 2100

# THERMAL INSULATION

************************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project — and specifiers’ notes such as these.  Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Ch 1 Section Z10 Specifications and Quality Sections.

************************************************************************************************************************

***********************************************************************************************************

Note that above deck, rigid board roof insulation is covered in the specification sections for the specific roof systems and the insulation products for that purpose should be retained there.

***********************************************************************************************************

- GENERAL

  - SUMMARY

- Section Includes:

- Foam-plastic board insulation.

- Glass-fiber board insulation.

- Mineral-wool board insulation.

- Glass-fiber blanket insulation.

- Mineral-wool blanket insulation.

- Loose-fill insulation.

- Sound Attenuation Blanket insulation.

- Spray polyurethane foam insulation

- Radiant barriers.

- Vapor retarders.

  - REFERENCES

Definitions

- Thermal Resistivity (r-value): Temperature difference in degrees F between the two (2) surfaces of a material exactly one (1) inch thick, required to make one (1) BTU of energy flow through one (1) square foot of the material in one (1) hour.

Reference Standards

*************************************************************************************************************

Edit the references to include only those that apply to the edited specification section.

*************************************************************************************************************

American Society of Testing and Materials (ASTM)

ASTM C 423	Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

ASTM C 549 	Specification for Perlite Loose Fill Insulation

ASTM C 578 	Specification for Rigid, Cellular Polystyrene Thermal Insulation

ASTM C 612	Standard Specification for Mineral Fiber Block and Board Thermal Insulation

ASTM C 665	Specification for Mineral Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing

ASTM C 991	Specification for Flexible Glass Fiber Insulation for Pre-Engineered Metal Buildings

ASTM C 1029	Standard Specification for Spray-Applied Rigid Cellular Polyurethane Thermal Insulation

ASTM C 1744 	Installation and Use of Radiant Barrier Systems (RBS) in Commercial/Industrial Building Construction

ASTM C 1289	Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

ASTM C 1313	Standard Specification for Sheet Radiant Barriers for Building Construction Applications

ASTM C 1320	Installation of Mineral Fiber Batt and Blanket Thermal Insulation for Light Frame Construction

ASTM C 1321	Installation and Use of Interior Radiation Control Coating Systems (IRCCS) in Building Construction

ASTM C 1371	Standard Test Method for Determination of Emittance of Materials Near Room Temperature Using Portable Emissometers

ASTM D 4397	Specification for Polyethylene Sheeting for Construction, Industrial, and Agricultural Applications

ASTM D 5359	Standard Specification for Glass Cullet Recovered from Waste for Use in Manufacture of Glass Fiber

ASTM E 84	Test Method for Surface Burning Characteristics of Building Materials

ASTM E 90	Standard Test Method for Laboratory measurement of Airborne Sound Transmission Loss of Building Partitions and Elements

ASTM E 119	Test Method for Fire Tests of Building Construction and Materials

ASTM E 136	Test Method for Behavior of Material in a Vertical Tube Furnace at 750 Degrees C.

Underwriters Laboratories, Inc. (UL)

Fire Resistance Directory

**************************************************************************************************************

Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

**************************************************************************************************************

  - ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS

    - Product Data: For each type of product indicated.

    - Manufacturer’s Certifications:  Submit manufacturer’s representative certification that the proposed products comply with specified requirements, and are compatible with each other and substrates for the intended applications.

    - Product test reports for each product, for tests performed by a qualified testing agency.

    - Research/evaluation reports for foam plastic insulation, from ICC-ES.

    - Material Safety Data Sheets (MSDS):  Submit MSDS for each adhesive product.

*************************************************************************************************************

Include only sustainable design submittals that are appropriate for the project’s sustainable design goals, if any.

*************************************************************************************************************

  - [SUSTAINABLE DESIGN SUBMITTALS

    - Product data indicating percentages by weight of postconsumer and pre-consumer recycled content for products having recycled content.

Include statement indicating costs for each product having recycled content.]

  - QUALITY ASSURANCE

- Single-Source Responsibility for Insulation Products:  Obtain each type of building insulation from a single source with resources to provide products complying with requirements without delaying progress of the work.

- Installer Qualifications:  Engage an experienced installer, with not less than two (2) years experience and certification by the manufacturer, as an approved installer who has completed building insulation applications similar in material, design and extent to that indicated for projects that have resulted in construction with a record of successful in-service performance.

  - DELIVERY, STORAGE, AND HANDLING

    - Protect insulation materials from physical damage and from deterioration due to moisture, soiling, and other sources. Store inside and in a dry location.   Comply with manufacturer’s written instructions for handling, storing, and protecting during installation.

    - Protect foam-plastic board insulation as follows:

                - Do not expose to sunlight except to necessary extent for period of installation and concealment.

                - Protect against ignition at all times.  Do not deliver foam-plastic board materials to project site before installation time.

                - Quickly complete installation and concealment of foam-plastic board insulation in each area of construction.

  - PROJECT CONDITIONS

- Environmental Conditions:  Do not proceed with installation of insulation under the following conditions:

  - When ambient and substrate temperature conditions are outside the limits permitted by insulation manufacturer.

  - When insulation is or is likely to become wet due to rain, frost, condensation or other causes.

PART 2	PRODUCTS

- PERFORMANCE / DESIGN CRITERIA

- Fire Test Response Characteristics: 	Provide insulation and related materials with fire-test-response characteristics indicated on Contract documents, or specified elsewhere in this Section; to be determined by testing identical products per test method indicated below by UL or another testing and inspecting agency acceptable to authorities having jurisdiction.  Identify materials with appropriate markings of applicable testing and inspecting agency.

  - Surface Burning Characteristics:  ASTM E84.

  - Fire-Resistance Ratings:  ASTM E119.

  - Combustion Characteristics:  ASTM E136.

- Assembly Sound Transmission Rating (ASTM E90): [Specify sound transmission class (STC).]

- Sound Absorption (ASTM C423): [Specify noise reduction coefficient].

**************************************************************************************************************Edit the following insulation types as applicable for the project. 
**************************************************************************************************************

- FOAM-PLASTIC BOARD INSULATION

- Extruded-Polystyrene Board Insulation:  ASTM C 578, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E 84.

- Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

  - Dow Chemical Company (The).

  - Owens Corning,

  - [Insert manufacturer’s name]

[2.	Type X, 15 psi.]

[3.	Type IV, 25 psi.]

[4.	Type VI, 40 psi.]

[5.	Type VII, 60 psi.]

[6.	Type V, 100 psi.]

- Geotextile-Faced Wall Insulation Drainage Panels:  Extruded-polystyrene board insulation complying with ASTM C578 [Type IX, 25-psi] [or] [Type VI, 40-psi] minimum compressive strength; fabricated with tongue-and-groove edges and with one side having grooved drainage channels faced with nonwoven geotextile filter fabric.

- Manufacturers:  Subject to compliance with requirements [provide products by one of the following]

  - Owens Corning.

  - <Insert manufacturer’s name>.

- Molded-Polystyrene Board Insulation:  ASTM C 578, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E 84.

  - Manufacturers:  Subject to compliance with requirements,  provide products by one of the following:

    - DiversiFoam Products.

    - Plymouth Foam, Inc.

    - <Insert manufacturer’s name>.

[2.	Type I, 10 psi.]

[3.	Type II, 15 psi.]

[4. 	Type IX, 25 psi.]

- POLYISOCYANURATE FOAM-PLASTIC BOARD

  - Manufacturers:   Subject to compliance with requirements. Provide products by one of the following:

    - Firestone.

    - Johns Manville.

    - Carlisle.

    - GAF.

  - Polyisocyanurate Board, Foil Faced: ASTM C 1289, foil faced, Type I, Class 1 or 2.

  - Polyisocyanurate Board, Glass-Fiber-Mat Faced: ASTM C 1289, glass-fiber-mat faced, Type II, Class 2.

- GLASS-FIBER BOARD INSULATION

- Manufacturers:   Subject to compliance with requirements. Provide products by one of the following:

- CertainTeed Corporation.

- Johns Manville.

- Knauf Insulation.

- Owens Corning

- <Insert manufacturer’s name>

- Glass-Fiber Board Insulation:  ASTM C 612, Type IA; [unfaced,] [foil faced,] with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84 [; passing ASTM E 136 for combustion characteristics].

[1.  	Nominal density of 2.25 lb/cu. ft., thermal resistivity of 4.3 deg F x h x sq ft./Btu x in. at 75 deg F.]

[2.  	Nominal density of 3 lb/cu. ft., thermal resistivity of 4.3 deg F x h x sq ft./Btu x in. at 75 deg F.]

[3.  	Nominal density of 4.25 lb/cu. ft., thermal resistivity of 4.3 deg F x h x sq ft./Btu x in. at 75 deg F.]

[4.  	Nominal density of 6 lb/cu. ft., thermal resistivity of 4.4 deg F x h x sq ft./Btu x in. at 75 deg F.]

- [Sustainability Requirements:  Provide glass-fiber board insulation as follows:

  - Free of Formaldehyde:  Insulation manufactured with 100 percent acrylic binders and no formaldehyde.

  - Recycled Content:  Minimum 25 percent.  Comply with ASTM D5359.]

- MINERAL-WOOL BOARD INSULATION

- Manufacturers:  Subject to compliance with requirements:

  - Fibrex Insulations, Inc.

  - Isolatek International.

  - Owens Corning.

  - Roxul Inc.

  - Thermafiber

  - <Insert manufacturer’s name>.

- Unfaced, Mineral-Wool Board Insulation:  ASTM C 612; with maximum flame-spread and smoke-developed indexes of 15 and zero, respectively per ASTM E 84; passing ASTM E 136 for combustion characteristics.

[1.	Nominal density of 4 lb/cu. ft., Types IA and IB, thermal resistivity of 4 deg F x h x sq. ft./Btu x in. at 75 deg F.]

[2.	Nominal density of 6 lb/cu. ft., Type II, thermal resistivity of 4.16 deg F x h x sq. ft./Btu x in. at 75 deg F.]

[3.	Nominal density of 8 lb/cu. ft., Type III, thermal resistivity of 4.35 deg F x h x sq. ft./Btu x in. at 75 deg F.]

- Foil-Faced, Mineral-Wool Board Insulation:  ASTM C 612; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder; with maximum flame-spread and smoke-developed indexes of 25 and 5, respectively, per ASTM E 84.

[1.	Nominal density of 4 lb/cu. ft., Types IA and IB, thermal resistivity of 4 deg F x h x sq. ft./Btu x in. at 75 deg F.]

[2.	Nominal density of 6 lb/cu. ft., Type II, thermal resistivity of 4.16 deg F x h x sq. ft./Btu x in. at 75 deg F.]

[3.	Nominal density of 8 lb/cu. ft., Type III, thermal resistivity of 4.35 deg F x h x sq. ft./Btu x in. at 75 deg F.]

- Recycled Content:  Minimum 75 percent. Pre-consumer (Post-Industrial) content.

- GLASS-FIBER BLANKET INSULATION

        - Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

- CertainTeed Corporation

- Guardian Building Products, Inc.

- Johns Manville

- Knauf Insulation

- Owens Corning

- <Insert manufacturer’s name>

        - Unfaced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type I; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

        - Polypropylene-Scrim-Kraft-Faced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type II (non-reflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier).

        - Kraft-Faced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type II (non-reflective faced), Class C (faced surface not rated for flame propagation); Category 1 (membrane is a vapor barrier).

        - Reinforced-Foil-Faced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type III (reflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier), faced with foil-scrim, foil-scrim kraft, or foil-scrim polyethylene.

        - Foil-Faced, Glass-Fiber Blanket Insulation:  ASTM C 665, Type III (reflective faced), Class B (faced surface with a flame-propagation resistance of 0.12 W/sq. cm); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

        - Sound Attenuation Batts: Provide unfaced glass-fiber blanket/batt insulation where shown on Contract documents, to comply with requirements of ASTM C 665, Type I, three (3) inches thick, unless indicated otherwise. Material shall be labeled as sound attenuation batts.

- Surface Burning Characteristics: Maximum flame spread and smoke developed values of 25 and 50, respectively.

        - Sustainability Requirements:  Provide glass-fiber blanket insulation as follows:

- Free of Formaldehyde:  Insulation manufactured with 100 percent acrylic binders and no formaldehyde.

- Recycled Content:  Minimum 25 percent.  Comply with ASTM D5359.

- MINERAL-WOOL BLANKET INSULATION

        - Manufacturers: Subject to compliance with requirements provide products by one of the following:

- Fibrex Insulations Inc.

- Owens Corning

- Roxul Inc.

- Thermafiber

- <Insert manufacturer’s name>

        - Unfaced, Mineral-Wool Blanket Insulation:  ASTM C 665, Type I (blankets without membrane facing); consisting of fibers; with maximum flame-spread and smoke-developed indexes of 25 and 50, respectively, per ASTM E 84; passing ASTM E 136 for combustion characteristics.

        - Reinforced-Foil-Faced, Mineral-Wool Blanket Insulation:  ASTM C 665, Type III (reflective-faced), Class A (faced surface with a flame-spread index of 25 or less per ASTM E 84); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

        - Recycled Content:  Minimum 75 percent pre-consumer (post-industrial) content.

- SPRAY POLYURETHANE FOAM INSULATION

- Closed-Cell Polyurethane Foam Insulation:  ASTM C 1029, Type II, with maximum flame spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E 84.

- Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

  - BASF Corporation.

  - BaySystems NorthAmerica, LLC.

  - Dow Chemical Company (The).

  - ERSystems, Inc.

  - Gaco Western Inc.

  - Henry Company.

  - NCFI; Division of Barnhardt Mfg. Co.

  - SWD Urethane Company.

  - Volatile Free, Inc.

  - <Insert manufacturer’s name>.

- Minimum density of 1.5 lb/cu. ft., thermal resistivity of 6.2 deg F x h x sq. ft./Btu x in. at 75 deg F.

- PRE-ENGINEERED BUILDING INSULATION

- Faced Glass Fiber Blanket/Batt Insulation:  Provide thermal insulation produced by combining glass fibers with thermosetting resins to comply with ASTM C991, Type II, (blankets with vinyl-faced vapor-retarder membrane on one face).

- Surface Burning Characteristics:  Maximum flame spread and smoke developed values of 25 and 50, respectively.

- Recycled Content:  Maximum 25 percent. Comply with ASTM D5359.

- CAVITY WALL AND MASONRY-CELL INSULATION

- Perlite Loose-Fill Insulation:  Provide expanded perlite to comply with ASTM C549, R-values of 3.3 – 2.8 for densities of 4.1 – 7.4 pcf at 75 degrees F (24 degrees C).

- RADIANT BARRIERS

- Sheet Radiant Barriers:  ASTM C 1313 and as follows:

          - Products:  Subject to compliance with requirements, provide one of the following:

              - Fi-Foil Company; Radiant Shield.

              - Innovative Energy, Inc.; R+Heatshield [Commercial Solid] [Perforated].

              - Innovative Insulation, Inc.; Super R [Premium] [Plus].

              - TVM Building Products; Reflective [House Wrap] [Vapor Barrier].

              - <Insert manufacturer's name; product name or designation>.

          - Sheet Construction:  [Foil on one side of substrate] [Foil on both sides of substrate] [Vacuum metallizing on substrate].

          - Surface-Burning Characteristics:  Maximum flame-spread and smoke-developed indexes of [5 and 10] <Insert numbers>, respectively.

          - Tear Resistance:  <Insert value>.

Retain first option in first subparagraph below if radiant barrier is to serve as vapor retarder; if not, retain second option.

          - Water-Vapor Transmission:  [1 perm, maximum] [5 perms or greater].

          - Sheet Width:  <Insert width>.

- Interior Radiation Control Coating System:  Silver-colored, not thickness-dependent, low-emissivity, [solvent] [water]-based coating; formulated for adherence to substrates indicated and with a surface emittance value of 0.25 or less as measured per ASTM C 1371.

- See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 01 Section "Product Requirements."

          - Products:  Subject to compliance with requirements, [provide the following] [provide one of the following]:

          - Products in first two subparagraphs below may exceed 0.25 surface emittance value when applied to porous materials such as brick and concrete masonry units.  Verify value with manufacturer.

  - [SOLEC Corporation; LO/MIT-I].

  - [SOLEC Corporation; LO/MIT-II].

  - <Insert manufacturer's name; product name or designation>

Product in subparagraph above is solvent based; product in first subparagraph below is water based.

- VAPOR RETARDERS

- Polyethlene Vapor Retarders:  ASTM D 4397, [6mils] [10 mils] thick with maximum permeance rating of 0.13 perm.

- Vapor Retarder Tape:  Pressure-sensitive tape of type recommended by vapor-retarder manufacture for sealing joints and penetrations in vapor retarder.

- INSULATION FASTENERS

  - Adhesively attached, Spindle-Type Anchors:  Plate welded to projecting spindle; capable of holding insulation of specified thickness securely in position indicated with self-locking washer in place.

    - Products:  Subject to compliance with requirements, provide one of the following:

      - AGM Industries, Inc.; Series T TACTOO Insul-Hangers.

      - Gemco; Spindle Type.

      - <Insert manufacturer’s name; product name or designation>.

    - Plate:  Perforated, galvanized carbon-steel sheet, 0.030 inch thick by 2 inches square.

    - Spindle:  Copper-coated, low-carbon steel; fully annealed; 0.105 inch in diameter; length to suit depth of insulation indicated.

  - Adhesively Attached, Angle-Shaped, Spindle-Type Anchors:  Angle welded to projecting spindle, capable of holding insulation of specified thickness securely in position indicated with self-locking washer in place.

    - Products:  Subject to compliance with requirements, available products that may be incorporated into the Work include, but are not limited to, the following:

- Gemco; 90-Degree Insulation Hangers.

- <Insert manufacturer’s name; product name or designation>.

    - Angle:  formed from 0.030-inch thick, perforated, galvanized carbon-steel sheet with each leg 2 inches square.

    - Spindle:  Copper-coated, low-carbon steel; fully annealed; 0.105 inch in diameter, length to suit depth of insulation indicated.

  - Insulation-Retaining Washers:  Self-Locking washers formed from 0.016-inch thick galvanized-steel sheet, with beveled edge for increased stiffness, sized as required to hold insulation securely in place, but not less than 1-1/2 inches square or in diameter.

    - Products:  Subject to compliance with requirements, available products that may be incorporated into the Work include, but are not limited to, the following:

      - AGM Industries, Inc.; (RC150] [SC150].

      - Gemco; [Dome-Cap] [R-150] [S-150].

      - <Insert manufacturer’s name; product name or designation>.

    - Product ends with capped self-locking washers incorporating a spring steel insert to ensure permanent retention of cap in the following locations.

      - Crawl spaces.

      - Ceiling plenums.

      - Attic Spaces.

      - Where indicated.

      - <Insert location>.

  - Insulation Standoff: Spacer fabricated from galvanized mild-steel sheet for fitting over spindle of insulation anchor to maintain air space of [1 inch] [ 2 inches] [3 inches] between face of insulation and substrate to which anchor is attached.

    - Products:  Subject to compliance with requirements, available products that may be incorporated into the Work include, but are not limited to, the following:

      - Gemco; Clutch Clip.

      - <Insert manufacturer’s name; product name or designation>.

  - Anchor Adhesive:  Product with demonstrated capability to bond insulation anchors securely to substrates indicated without damaging insulation, fasteners, and substrates.

    - Products:  Subject to compliance with requirements, available products that may be incorporated into the work include, but are not limited to, the following:

      - AGM Industries, Inc.; TACTOO Adhesive.

      - Gemco; Tuff Bond Hanger Adhesive

      - <Insert manufacturer’s name, product name or designation>.

- ADHESIVES

- Adhesive for Bonding Insulation:  Provide insulation manufacturer’s recommended low-volatile organic compound (VOC) adhesives capable of bonding insulation to substrates indicated without damaging or corroding either insulation or substrates.  Applicable VOC limits include but are not limited to:

- Contact Adhesive:  Not to exceed 80 grams per liter (less water).

- Special purpose contact Adhesive:  Not to exceed 250 gramps per liter (less water).

- Multipurpose Construction Adhesive:  Not to exceed 70 grams per liter (less water)

- Plastic Foam Adhesive:  Not to exceed 50 grams per liter (less water).

- For adhesive applications not listed above, VOC content of adhesives shall not exceed 250 grams per liter (less water).

PART 3   EXECUTION

- EXAMINATION

- Verify that conditions comply with requirements of Contract documents.

- Verify that related work to be performed before installation of insulation within indicated spaces has been completed.

- Verify that substrates are in satisfactory condition to receive insulation.

  - Masonry substrates:  Verify that masonry materials have dried sufficiently and have attained optimum moisture content.

- Do not proceed with installation of insulation until all unsatisfactory conditions have been corrected.

- PREPARATION

- Clean substrates of substances harmful to insulations or vapor retarders, including removal of projections that might puncture vapor retarders, or interfere with insulation attachment.

- Close off openings in cavities receiving poured-in-place insulation to prevent the escape of insulation.  Provide screens where openings must be maintained for drainage or ventilation.

- INSTALLATION OF BELOW-GRADE INSULATION

- On vertical footing and foundation wall surfaces, set insulation units using manufacturer’s recommended adhesive according to manufacturer’s written instructions.

- If not otherwise indicated, extend insulation a minimum of [24 inches] [36 inches] <Insert dimension> below exterior grade line.

- Protect below-grade insulation on vertical surfaces from damage during back-filling, by application of protection board.  Set in adhesive in accordance with recommendation of insulation manufacturer.

- Cut insulation neatly as required to fit tightly around obstructions.

- On horizontal surfaces under slabs, loosely lay insulation units according to manufacturer’s written instructions.  Stagger end joints and tightly abut insulation units.

- If not otherwise indicated, extend insulation a minimum of [24 inches] [36 inches] <Insert dimension> in from exterior walls.

- INSTALLATION OF CAVITY-WALL INSULATION

- Foam-Plastic Board Insulation:  Install pads of adhesive spaced approximately 24 inches o.c. both ways on inside face, and as recommended by manufacturer.  Fit courses of insulation between wall ties and other obstructions, with edges butted tightly in both directions.  Press units firmly against inside substrates.

- Supplement adhesive attachment of insulation by securing boards with two-piece wall ties designed for this purpose and specified in Section 04 2220, Reinforced Unit Masonry.

- Cellular-Glass Board Insulation:  Install with closely fitting joints using [adhesive pad] [serrated trowel] attachment method according to manufacturer’s written instructions.

- INSTALLATION OF MASONRY CELL INSULATION

- Seal holes and openings in cavities as necessary to prevent loss of insulation during construction.

- Install suitable screens inside cavities to maintain openings at drainage or ventilation openings.

- Remove any obstructions which might interfere with free flow of insulation to intended spaces during pouring.  Completely fill indicated cavities and spaces.  Leave no gaps or voids.

- During placement, do not allow insulation to fall a distance greater than one story, or 20 feet, whichever is less.

- Rod insulation frequently during installation to eliminate formation of air pockets.

- INSTALLATION OF INSULATION FOR FRAMED CONSTRUCTION

- Apply insulation units to substrates by method indicated, complying with manufacturer’s written instructions.  If no specific method is indicated, bond units to substrate with adhesive or use mechanical anchorage to provide permanent placement and support of units.

- Foam-Plastic Board Insulation:  Seal joints between units by applying adhesive, mastic, or sealant to edges of each unit to form a tight seal as units are shoved into place.  Fill voids in completed installation with adhesive mastic, or sealant as recommended by insulation manufacturer.

- Glass-Fiber or Mineral-Wool Blanket Insulation:  Install in cavities formed by framing members according to the following requirements:

- Use insulation widths and lengths that fill the cavities formed by framing members.  If more than one length is required to fill the cavities, provide lengths that will produce a snug fit between ends.

- Place insulation in cavities formed by framing members to produce a friction fit between edges of insulation and adjoining framing members.

- Maintain 3-inch clearance of insulation around recessed lighting fixtures not rated for or protected from contact with insulation.

- [Install eave ventilation troughs between roof framing members in insulated attic spaces at vented eaves.]

- For metal-framed wall cavities where cavity heights exceed 96 inches, support unfaced blankets mechanically and support faced blankets by taping flanges of insulation to flanges of metal studs.

- [For wood-framed construction, install blankets according to ASTM C 1320 and as follows:

  - With faced blankets having stapling flanges, secure insulation by inset, stapling flanges to sides of framing members.

  - With faced blankets having stapling flanges, lap blanket flange over flange of adjacent blanket to maintain continuity of vapor retarder once finish material is installed over it.]

- Vapor-Retarder-Faced Blankets:  Tape joints and ruptures in vapor-retarder facings, and seal each continuous area of insulation to ensure airtight installation.

  - Exterior Walls:  Set units with facing placed toward [exterior of construction] [interior of construction] [as indicated on Drawings].

  - Interior Walls:  Set units with facing placed [toward areas of high humidity] [as indicated on Drawings] <Insert location>.

- Loose-Fill Insulation:  Apply according to manufacturer’s written instructions.  Level horizontal applications to uniform thickness as indicated, lightly settle to uniform density, but do not compact excessively.

- Miscellaneous Voids:  Install insulation in miscellaneous voids and cavity spaces where required to prevent gaps in insulation using the following materials:

- Loose-Fill Insulation:  Compact to approximately 40 percent of normal maximum volume.

- Spray Polyurethane Insulation:  Apply according to manufacturer’s written instructions.

- ACOUSTICAL INSULATION INSTALLATION

- Installation of Insulation in Ceilings for Sound Attenuation

- Where glass-fiber blankets are indicated for sound attenuation above ceilings, install blanket insulation over entire ceiling area in thickness indicated.  Extend insulation 48 inches on either side of partitions.

- Acoustical insulation installation at sound rated assemblies.

- Install insulation where indicated in sound rated assemblies in accordance with manufacturer’s recommendations and ASTM E 90.  Maintain acoustical rating of assembly.

- INSTALLATION OF INSULATION FOR CONCRETE SUBSTRATES

- Install board insulation on concrete substrates by adhesively attached, spindle-type insulation anchors as follows:

- Fasten insulation anchors to concrete substrates with insulation anchor adhesive according to anchor manufacturer’s written instructions.  Space anchors according to insulation manufacturer’s written instructions for insulation type, thickness, and application indicated.

- Apply insulation standoffs to each spindle to create cavity width indicated between concrete substrate and insulation.

- After adhesive has dried, install board insulation by pressing insulation into position over spindles and securing it tightly in place with insulation-retaining washers, taking care not to compress insulation below indicated thickness.

- Where insulation will not be covered by other building materials, apply capped washers to tips of spindles.

- INSTALLATION OF CURTAIN-WALL INSULATION

- Install board insulation in curtain-wall construction where indicated on Drawings according to curtain-wall manufacturer’s written instructions.

- Hold insulation in place by securing metal clips and straps or integral pockets within window frames, spaced at intervals recommended in writing by insulation manufacturer to hold insulation securely in place without touching spandrel glass.  Maintain cavity width of dimension indicated between insulation and glass.

- Install insulation where it contacts perimeter fire-containment system to prevent insulation from bowing under pressure from perimeter fire-containment system.

- INSTALLATION OF RADIANT BARRIERS

- Install interior radiation control coating system according to ASTM C 1321.

- Install sheet radiant barriers according to ASTM C 1744.

- INSTALLATION OF VAPOR RETARDERS

- Place vapor retarders on side of construction indicated on Drawings.   Extend vapor retarders to extremities of areas to protect form vapor transmission.  Secure vapor retarders in place with adhesives or other anchorage system as indicated.   Extend vapor retarders to cover miscellaneous voids in insulated substrates, including those filled with loose-fiber insulation.

- Seal vertical joints in vapor retarders over framing by lapping no fewer than two studs.

- Fasten vapor retarders to wood framing at top, end, and bottom edges; at perimeter of wall openings; and at lap joints.  Space fasteners 16 inches o.c.

- Before installing vapor retarders, apply urethane sealant to flanges of metal framing including runner tracks, metal studs, and framing around door and window openings.  Seal overlapping joints in vapor retarders with vapor-retarder tape according to vapor-retarder manufacturer’s written instructions.  Seal butt joints with vapor-retarder tape.  Locate all joints over framing members or other solid substrates.

- Firmly attach vapor retarders to metal framing and solid substrates with vapor-retarder fasteners as recommended by vapor-retarder manufacturer.

- Seal joints caused by pipes, conduits, electrical boxes, and similar items penetrating vapor retarders with vapor-retarder tape to create an airtight seal between penetrating objects and vapor retarders.

- Repair tears or punctures in vapor retarders immediately before concealment by other work.  Cover with vapor-retarder tape or another layer of vapor retarders.

- CLEANING

- Remove all excess materials from the job site and leave the areas insulated ready for other trades.

- Prevent disposal of insulation scraps by reuse in ceiling and wall areas or other locations out of view.

- Remove all unusable excess materials from the job site and leave the areas insulated ready for other trades.

- PROTECTION

- Protect installed insulation and vapor retarders from damage due to harmful weather exposures, physical abuse, and other causes.  Provide temporary coverings or enclosures where insulation is subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

END OF SECTION

*****************************************************************

Do not delete the following reference information:

*****************************************************************

THE FOLLOWING REFERENCE IS FOR LANL USE ONLY

This project specification is based on LANL Master Specification 07 2100, Rev. 3, dated February 14, 2017.