SECTION 10 1100

VISUAL DISPLAY SURFACES

****************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM Architectural POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

****************************************************************************************************

PART 1  GENERAL

1.1	SECTION INCLUDES

A.	Metal surfaced markerboard and tackboard units.

1.2	REGULATORY REQUIREMENTS

A.	Provide vinyl tackboard material with flamespread/smoke developed rating of 25/50 or less in accordance with ASTM E84.

1.3	SUBMITTALS

A.	Submit the following in accordance with requirements of Section 01 3300.

1.	Catalog data on markerboard, tackboard surface covering, trim and accessories.

2.	Tackboard material color chart.

3.	Manufacturer’s installation instructions.

4.	Maintenance information on regular cleaning and stain removal.

PART 2  PRODUCTS

2.1	MANUFACTURERS

A.	Claridge Products and Equipment, Inc.

B.	Greensteel

C.	Weber Costello

2.2	MATERIALS

A.	Use steel sheet conforming to ASTM A424, Type l, commercial quality.

B.	Use aluminum extrusions conforming to ANSI/ASTM B221, 6061 alloy.

C.	Use particle board conforming to ANSI A208.1; wood chips set with waterproof resin binder, with sanded faces.

D.	Use tackboard covering of vinyl coated fabric, color selected from manufacturer’s standard colors.

E.	Use adhesive recommended by the manufacturer.

F.	Use formed aluminum for marker tray.

2.3	MARKERBOARD FABRICATION

A.	Fabricate outer face sheet of 24 gage steel with a white porcelain enamel writing surface.

B.	Fabricate core of 3/8 inch thick particle board.

C.	Fabricate backing surface of 0.005 inch thick aluminum foil.

2.4	TACKBOARD FABRICATION

A.	Fabricate outer facing of vinyl fabric.

B.	Fabricate core of 3/8 inch thick particle board.

C.	Fabricate backing surface of 0.005 inch thick aluminum foil.

2.5	FRAME AND TRIM FABRICATION

A.	Fabricate frame of aluminum with square corners, with concealed fasteners.

B.	Fabricate marker tray of extruded aluminum with square profile, one piece, full length of frame, molded end closures, and concealed fasteners.

2.6	CONFIGURATION

A.	Provide markerboard units 8 feet wide by 4 feet high.

B.	Provide tackboard units 4 feet wide by 4 feet high.

PART 3  EXECUTION

3.1	INSPECTION

A.	Verify that wall finishes and internal wall blocking are ready to receive the work.

B.	Beginning of installation indicates acceptance of substrate construction.

3.2	INSTALLATION

A.	Install units in accordance with manufacturer’s instructions.

B.	Install units with top of frame at 7 feet above the floor.

3.3	CLEANING

A.	Clean markerboard surfaces in accordance with manufacturer’s instructions.

B.	Protect markerboard surfaces with protective cover, taped to frame.

C.	Remove protective cover at final acceptance.

END OF SECTION

*****************************************************************

Do not delete the following reference information:

*****************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 10 1100 Rev. 0, dated January 6, 2006.