SECTION 10 5113

METAL LOCKERS

****************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM Architectural POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

****************************************************************************************************

PART 1  GENERAL

1.1	SECTION INCLUDES

A.	Locker units with hinged doors

B.	Metal bases, tops and filler panels

1.2	SUBMITTALS

A.	Submit the following in accordance with the requirements of Section 01 3300.

1.	Catalog data indicating locker types, sizes and accessories.

2.	Color chart indicating manufacturer’s standard colors.

3.	Manufacturer’s installation instructions.

4.	Shop drawing indicating locker plan layout.

PART 2  PRODUCTS

2.1	MANUFACTURERS

A.	DeBourgh Manufacturing, Varsity Series

B.	Interior/Medart, Fortress Series

C.	Lyon Metal Products, Inc., Industrial Series

2.2	MATERIALS

A.	Use mild, cold rolled and leveled unfinished sheet steel, with the following 			thicknesses:

1.	Body sides and bottoms:  16 gage

2.	Body back:  18 gage

3.	Door:  14 gage

4.	Door frame:  16 gage

5.	Sloping top:  14 gage

2.3	ACCESSORIES

A.	Provide for each locker:

1.	Two double prong coat hooks

2.	Hat shelf

3.	Rubber bumpers

4.	Combination lock

2.4	FABRICATION

A.	Locker units

1.	Width:  [ 12   15   18 ] inches

2.	Depth:  [ 12   15   18 ] inches

3.	Height:  72 inches

4.	Mounting:  [Surface mounted   Freestanding }

5.	Base:  4 inch high metal

6.	Top:  sloping metal with closures

7.	Ventilation method:  louvers at top and bottom of doors

B.	Locker body:  Formed and flanged, with steel stiffener ribs, electric spot welded

C.	Frames:  Formed channel or angle shapes, welded and ground flush, welded to body.

D.	Doors:  Formed steel panel, channel reinforced frame, grind and finish edges

E.	Hinges:  Three butt hinges per door, welded to door and body

F.	Latch:  Recessed, with combination lock

2.5	FINISHES

A.	Clean, degrease and neutralize metal, prime and apply 2 coats of baked enamel.

B.	Paint bodies and doors in contrasting colors.

C.	Door colors to be as selected from manufacturer’s standard colors.

PART 3  EXECUTION

3.1	INSPECTION

A.	Verify that project is ready to receive work of this Section.

B.	[Verify that bases are correctly sized and configured.]

3.2	INSTALLATION

A.	Install according to manufacturer’s installation instructions.

B.	Install lockers plumb and square.

C.	Secure lockers with fasteners appropriate for substrate.

D.	Bolt adjoining locker units together to provide a rigid installation.

E.	Install end panels, filler panels and sloping tops.

F.	Install accessories.

3.3	CLEANING

A.	Clean locker interior and exterior surfaces.

END OF SECTION

*****************************************************************

Do not delete the following reference information:

*****************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 10 5113 Rev. 0, dated January 6, 2006.