Form must be signed and approved by a Certified DCPSO in order to procure (per ASM Form 410).

(data for example only, delete when using form)

| PSS # | TA | Bldg | Valve | Regulator / RFO | Max Flow | Relief Device | Set Press. | System MAWP | Relief Flow | Relief Inlet | Sys. Conn. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Tag # |  |  | Valve tag # off of P&ID | Model # of Regulator or RFO | SCFM of air Or BTUH/GPM | Make & Model # |  |  | Flow in SCFM, BTUH, or GPM | Pipe Size | Pipe Size |
| 5933 | 53 | 4 | PCV1 | Norgren R72G-3AK-NCG | 0.76 | 0542-A01-KM0035 | 35 psig | 35 psig | 53.2 | 1/4" | ½” |
|  |  |  | RFO 0.030" | Swagelok SS-4-A-08179-SC11 | Approx. 21 SCFM @ 2265 psig |  |  |  |  |  |  |
| 5940 | 53 | 4 | PCV1 | Norgren R72G-3AK-NCG | 0.76 | 0542-A01-KM0035 | 35 psig | 35 psig | 53.2 | 1/4" | 1/4" |
|  |  |  | RFO 0.030" | Swagelok SS-4-A-08179-SC11 | Approx. 21 SCFM @ 2265 psig |  |  |  |  |  |  |
| 2201 | 53 | 4 | None | None | Compressor 2 stage 250 psig; 150 scfm | Kunkle (part number omitted in this example) | 250 psig | 250 psig | 175 | 1/2” | 3/4” |
| 2011 | 53 | 1 | None | None | Boiler rating 230,000 BTU/Hr | Kunkle (part number omitted in this example) | 250 psig | 250 psig | 300,000 | 1/2” | 1/2” |

DCPSO:						Z #: 		 	Signature: 						Date: