SECTION 01 2500

SUBSTITUTION PROCEDURES

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

*************************************************************************************************************

PART 1 GENERAL

1.1	RELATED SECTIONS

A.  01 3300   Submittal Procedures

1.2	SUBSTITUTIONS

“Or approved equal” is always implied after a brand name, patented process or catalog number.  The Subcontractor may substitute any brand or process approved as an equal by the specifying Architect/Engineer through the submittal process.  The only exception is where “no substitution” is specified.  See General Provision “Material and Workmanship”.

- Non-Structural Systems and Components, and Non-Building Structures

1.	If the Subcontractor  wants to substitute an “equal” architectural, mechanical or electrical system or component, or non-building structure, the component/structure should also be reviewed by the design structural engineer for anchorage and support.

a.	If and when approved, the design structural engineer shall make any necessary anchorage and support revisions to the construction specifications and drawings associated with the equal component/structure.

PART 2 PRODUCTS

Not Used

PART 3 EXECUTION

Not Used

END OF SECTION

*********************************************************

Do not delete the following reference information:

*********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 2500 Rev. 1, dated April 14, 2008.