SECTION 01 6000

PRODUCT REQUIREMENTS

*************************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM General POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

*************************************************************************************************************

PART 1  GENERAL

1.1	SECTION INCLUDES

A.	Products.

B.	Transportation and handling.

C.	Storage and protection.

1.2	PRODUCTS

*************************************************************************************************************

The following paragraph is intended for alteration or remodeling work.

*************************************************************************************************************

A.	Do not use materials and equipment removed from existing premises, except as specifically permitted by the Contract Documents.

B.	Provide interchangeable components of the same manufacture for components being replaced.

1.3	TRANSPORTATION AND HANDLING

A.	Transport and handle Products in accordance with manufacturer's instructions.

B.	Promptly inspect shipments to ensure that Products comply with requirements, quantities are correct, and Products are undamaged.

C.	Provide equipment and personnel to handle Products by methods to prevent soiling, disfigurement, or damage.

1.4	STORAGE AND PROTECTION

A.	Store and protect Products in accordance with manufacturers' instructions.

B.	Store with seals and labels intact and legible.

C.	Store sensitive Products in weather tight, climate controlled, enclosures in accordance with the manufacturer’s requirements.

D.	For exterior storage of fabricated Products, place on sloped supports above ground.

E.	Provide off-site storage and protection when site does not permit on-site storage or protection.

F.	Cover Products subject to deterioration with impervious sheet covering.  Provide ventilation to prevent condensation and degradation of Products.

G.	Store loose granular materials on solid flat surfaces in a well-drained area.  Prevent mixing with foreign matter.

H.	Provide equipment and personnel to store Products by methods to prevent soiling, disfigurement, or damage.

I.	Arrange storage of Products to permit access for inspection. Periodically inspect to verify Products are undamaged and are maintained in acceptable condition.

J.	Manually rotate shafts of rotating equipment (fans, pumps, cooling towers, etc.) weekly from time of arrival to start-up.

PART 2  PRODUCTS

Not Used.

PART 3  EXECUTION

Not Used.

END OF SECTION

********************************************************

Do not delete the following reference information:

********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 6000 Rev. 0, dated January 6, 2006.