SECTION 07 1113

BITUMINOUS DAMPPROOFING

*************************************************************************************************************
LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact the POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

PART 1 GENERAL

- SUMMARY

  - Section Includes:

************************************************************************************************************************

Edit list below to suit project requirements.

************************************************************************************************************************

    - [Cold-applied, cut-back asphalt dampproofing.]

    - [Cold-applied, emulsified-asphalt dampproofing.]

  - Related Sections:

**************************************************************************************************************

Edit list below to suit project requirements.

***************************************************************************************************************

    - [Section 07 2100, Thermal Insulation.]

    - [Section 07 1326, Self-Adhering Sheet Waterproofing.]

    - [Section 31 2000, Earth Moving.]

- REFERENCES

************************************************************************************************************* Edit the references to include only those that apply to the edited specification section.
*************************************************************************************************************

  - ASTM International:

    - [ASTM C 272 – Standard Test Method for Water Absorption of Core Materials for Sandwich Constructions]

    - [ASTM D 41 – Standard Specification for Asphalt Primer used in Roofing, Dampproofing and Waterproofing.]

    - [ASTM D 1227 – Standard Specification for Emulsified Asphalt Used as a Protective Coating For Roofing.]

    - [ASTM D 1621 – Standard Test Method for Compressive Properties of Rigid Cellular Plastics.]

    - [ASTM D 1668 – Standard Specification for Glass Fabrics (Woven and Treated) for Roofing and Waterproofing.]

    - [ASTM D 4263 – Standard Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method.]

    - [ASTM D 4479 – Standard Specification for Asphalt Roof Coatings - Asbestos-Free.]

    - [ASTM D 4586 – Standard Specification for Asphalt Roof Cement, Asbestos-Free.]

    - [ASTM D 6380 – Standard Specification for Asphalt Roll Roofing (Organic Felt).]

    - [ASTM D 6506 – Standard Specification for Asphalt Based Protection for Below-Grade Waterproofing.]

  - [National Roofing Contractors Association:

    - NRCA – The NRCA Waterproofing and Dampproofing Manual.]

- SUBMITTALS

************************************************************************************************************

Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

************************************************************************************************************

  - Action Submittals

    - [Product Data: For each type of product indicated. Include recommendations for method of application, primer, number of coats, coverage or thickness, and protection course.]

    - [Material Certificates: For each product, signed by manufacturers.]

  - [Informational Submittals

    - Manufacturer’s Installation Instructions: Submit special procedures and perimeter conditions requiring special attention.]

*************************************************************************************************************

Include only the sustainable design submittals necessary to support the Project’s sustainable design goals, if any.

*************************************************************************************************************

  - [Sustainable Design Submittals

    - Product Data: For dampproofing, including printed statement of VOC content.]

- QUALITY ASSURANCE

  - Source Limitations: Obtain primary dampproofing materials and primers through one source from a single manufacturer. Provide secondary materials recommended by manufacturer of primary materials.

  - Perform work in accordance with National Roofing Contractors Association (NRCA) Waterproofing and Dampproofing Manual.

  - Manufacturer’s Qualifications: Company with minimum 15 years experience in manufacturing specified products.

  - Applicator Qualifications: Company with minimum of 5 years experience in application of specified products on projects of similar size and scope, and is acceptable to product manufacturer.

- FIELD CONDITIONS

  - Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit dampproofing to be performed according to manufacturer’s written instructions.

  - Ventilation: Provide adequate ventilation during application of dampproofing in enclosed spaces. Maintain ventilation until dampproofing has cured.

PART 2  PRODUCTS

- COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

  - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

    - ChemMasters Corp.

    - Degussa Building Systems; Sonneborn Brand Products.

    - Henry Company.

    - Karnak Corporation.

    - Meadows, W.R., Inc.

    - <Insert manufacturer’s name.>

  - Trowel Coats: ASTM D 4586, Type I, Class 1, fibered.

  - Brush and Spry Coats: ASTM D 4479, Type I, fibered [or nonfibered].

  - VOC Content: 500 g/L or less.

- COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

  - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

    - ChemMasters Corp.

    - Degussa Building Systems; Sonneborn Brand Products.

    - Henry Company.

    - Karnak Corporation.

    - Meadows, W.R., Inc.

    - Tamms Industries, Inc.

    - <Insert manufacturer’s name.>

  - Trowel Coats: ASTM D 1227, Type II, Class 1.

  - Fibered Brush and Spray Coats: ASTM D 1227, Type II, Class 1.

  - Brush and Spray Coats: ASTM D 1227, Type III, Class 1.

  - VOC Content: 30 g/L or less.

- PROTECTION COURSE

******** SELECT ONE OF THE FOLLOWING ********

[A.	Protection Course, Asphalt-Board Type: ASTM D 6506, pre-molded, 1/8-inch thick, multi-ply, semi-rigid board consisting of a mineral-stabilized asphalt core sandwiched between layers of asphalt-saturated felt, and faced on 1 side with polyethylene film.]

*** [OR] ***

[A.	Protection Course: Fan folded, with a core of extruded-polystyrene board insulation faced on [one] [or] [both] side(s) with plastic film, nominal thickness 1/4 inch with compressive strength of not less than 8 psi per ASTM D 1621, and maximum water absorption by volume of 0.6 percent per ASTM C 272.]

*** [OR] ***

[A.	Protection Course: Un-faced, fan-folded, extruded-polystyrene board insulation, nominal thickness 1/4 inch with compressive strength of not less than 8 psi per ASTM D 1621.]

*** [OR] ***

[A.	Protection Course, Roll-Roofing Type: Smooth-surfaced roll roofing complying with ASTM D 6380, Class S, Type III.]

- MISCELLANEOUS MATERIALS

  - Cut-Back Asphalt Primer: ASTM D 41.

  - Emulsified-Asphalt Primer: ASTM D 1227, Type III, Class 1, except diluted with water as recommended by manufacturer.

  - Asphalt-coated Glass Fabric: ASTM D 1668, Type I.

  - Patching Compound: of type recommended by dampproofing manufacturer.

PART 3  EXECUTION

- EXAMINATION

  - Examine substrates, with Installer present, for compliance with requirements for surface smoothness and other conditions affecting performance of work.

    - Proceed with dampproofing application only after substrate construction and penetrating work have been completed and unsatisfactory conditions have been corrected.

    - Test for surface moisture according to ASTM D 4263.

- PREPARATION

  - Protection of Other Work: Mask or otherwise protect adjoining exposed surfaces from being stained, spotted, or coated with dampproofing.  Prevent dampproofing materials from entering and clogging weep holes and drains.

  - Clean substrates of projections and substances detrimental to work; fill voids, seal joints, and apply bond breakers if any, as recommended by prime material manufacturer.

  - Apply patching compound for filling and patching tie holes, honeycombs, reveals, and other imperfections; [cover with asphalt-coated glass fabric].

- APPLICATION, GENERAL

  - Comply with manufacturer’s written recommendations unless more stringent requirements are indicated or required by Project conditions to ensure satisfactory performance of dampproofing.

    - Apply additional coats if recommended by manufacturer or if required to achieve coverages indicated.

    - Allow each coat of damp proofing to cure manufacturer’s recommended time before applying subsequent coats.

    - Allow manufacturer’s recommended drying time prior to backfilling.

  - Apply dampproofing to footings and foundation walls where opposite side of walls faces building interior.

    - Apply from finished-grade line to top of footing, extend over top of footing, and down a minimum of 6 inches over outside face of footing.

    - Extend 12 inches onto intersecting walls and footings, but do not extend onto surfaces exposed to view when Project is completed.

    - Install flashings and corner protection stripping at internal and external corners, changes in plane, construction joints, cracks, and where shown as “reinforced” by embedding an 8-inch- wide strip of asphalt-coated glass fabric in a heavy coat of dampproofing. Dampproofing coat for embedding fabric is in addition to other coats required.

  - Apply dampproofing to provide continuous plane of protection on exterior face of inner wythe of exterior masonry cavity walls.

    - Lap dampproofing at least 1/4 inch onto flashing, masonry reinforcement, veneer ties, and other items that penetrate inner wythe.

    - Extend dampproofing over outer face of structural members and concrete slabs that interrupt inner wythe, and lap dampproofing at least 1/4 inch onto shelf angles supporting veneer.

  - Apply dampproofing to provide continuous plane of protection on interior face of above-grade, exterior [concrete] [and] [masonry] [single-wythe masonry] walls unless walls are indicated to receive direct application of paint.

    - Continue dampproofing through intersecting walls by keeping vertical mortar joints at intersection temporarily open or by delaying construction of intersecting walls until dampproofing is applied.

- COLD-APPLIED, CUT-BACK ASPHALT DAMPPROOFING

  - On Concrete Foundations [and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.25 gal./100 sq.ft for first coat and 1 gal./100 sq.ft for second coat, or one trowel coat at not less than 4 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.25 gal./100 sq.ft for first coat and 1 gal./100 sq.ft. for second coat, or primer and one trowel coat at not less than 4 gal./100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and one trowel coat at no less than 4 gal/100 sq.ft.

  - On Unexpected Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25 gal/100 sq.ft.

  - On Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal./100 sq.ft.

- COLD-APPLIED, EMULSIFIED-ASPHALT DAMPPROOFING

  - On concrete Foundations [and Parged Masonry Foundation Walls]: Apply two brush or spray coats at not less than 1.5 gal/100 sq. ft. for first coat and 1 gal/100 sq.ft. for second coat, one fibered brush or spray coat at not less than 3 gal/100 sq.ft. or 1 trowel coat at not less than 4 gal/100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and two brush or spray coats at not less than 1.5 gal/100 sq.ft. for first coat and 1 gal/100 sq.ft. for second coat, primer and one fibered brush or spray coat at not less than 3 gal/100 sq.ft. or primer and one trowel coat at not less than 5 gal/100 sq.ft.

  - On Unparged Masonry Foundation Walls: Apply primer and one trowel coat at not less than 5 gal/100 sq.ft.

  - On unexposed Face of Concrete Retaining Walls: Apply one brush or spray coat at not less than 1.25 gal/100 sq.ft.

  - On Unexposed Face of Masonry Retaining Walls: Apply primer and one brush or spray coat at not less than 1.25 gal/100 sq.ft.

  - On Concrete Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Masonry Backup for [Stone Veneer Assemblies] [and] [Dimension Stone Cladding]: Apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Exterior Face of Inner Wythe of Cavity Walls: Apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Interior Face of Exterior Concrete Walls: Where above grade and indicated to be furred and finished, apply one brush or spray coat at not less than 1 gal/100 sq.ft.

  - On Interior Face of [Single- Wythe] Exterior Masonry Walls: Where above grade and indicated to be furred and finished, apply primer and one brush or spray coat at not less than 1 gal/100 sq.ft.

- INSTALLATION OF PROTECTION COURSE

  - Where indicated, install protection course over completed-and-cured dampproofing. Comply with dampproofing material manufacturer’s written recommendations for attaching protection course.

    - Support protection course with spot application of adhesive of type recommended by protection board manufacturer over cured coating.

    - Install protection course within while coating is tacky to ensure adhesion.

- BACKFILLING

  - Backfilling: Place backfill not sooner than 24 hours, nor later than seven days, after application of asphalt dampproofing and protection board materials. Do not rupture or damage the film or displace the coating, membranes, or protection board.

- CLEANUP

  - Remove dampproofing materials from surfaces not intended to receive dampproofing.

  - Solvent-Based: Tools and other equipment shall be thoroughly cleaned with paint thinner or mineral spirits, taking necessary precautions when handling combustible materials.

  - Water-Based: Fresh coating can be removed with soap and water. Remove dried dampproofing material using paint thinner or mineral spirits: Clean hands with waterless hand cleaners.

END OF SECTION

***********************************************************
Do not delete the following reference information:
***********************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification is based on LANL Master Specification 07 1113 Rev. 3, dated January 22, 2018.