SECTION 07 5316

Chlorosulfonate-Polythylene Roofing

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

Chlorosulfonate-polythylene roofing (CSPE) is limited to repair and replacement of existing CSPE roofing.  Replacement of CSPE roofing is limited to 33% or less of the total square footage of the existing roof on a building.
*************************************************************************************************************

GENERAL

SUMMARY

Section includes

Adhered chlorosulfonate-polythylene (CSPE) membrane roofing system.

Substrate boards.

Roof Insulation.

Vapor retarder.

Cover board.

[Section includes the installation of insulation strips in ribs of acoustical roof deck. Insulation strips are furnished under Section 05 3000 Metal Decking.]

Related Sections

Section 06 1000, Rough Carpentry for wood, nailers, curbs and blocking.

[Section 07 0750.19, Preparation for Re-roofing.]

Section 07 6200, Sheet Metal Flashing and Trim

Section 07 7100, Roof  Specialties

Section 07 9200, Joint Sealants for joint sealants, joint fillers and joint preparation.

Section 22 1413, Facility Storm Drainage Piping for Roof Drains.

REFERENCES

Definitions

Roofing Terminology: Refer to ASTM D1079 and the glossary of the National Roofing Contractors Association (NRCA) Roofing and Waterproofing Manual for definitions of roofing terms related to this section.

References

***************************************************************************************************
LEED requires compliance with specific editions of referenced standards. Section requires compliance with the latest edition, except when a specific date is required by code. Consider including publication dates for referenced standard in this section to ensure the correct standard is used for LEED compliance.
***************************************************************************************************

AAMA-American Architectural Manufacturer’s Association.

AAMA 2605- Voluntary Specification, performance requirements and test procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

American Society of Civil Engineers (ASCE).

ASCE 7 – Minimum Design Loads for Buildings and Other Structures.

ASTM International

A653 Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvanized) by the Hot-Dip Process.

C67 Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile

C140 Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units

C208 Standard Specification for Cellulosic Fiber Insulating Board.

C552 Standard Specification for Cellular Glass Thermal Insulation.

C578 Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation.

C728 Standard Specification for Perlite Thermal Insulation Board.

C1177 / C1177M Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing

C1278 / C1278M Standard Specification for Fiber-Reinforced Gypsum Panel

C1289 Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board

C1396 / C1396M Standard Specification for Gypsum Board

D41 Standard Specification for Asphalt Primer Used in Roofing, Dampproofing, and Waterproofing

D312 Standard Specification for Asphalt Used in Roofing

D1970 Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection

D2178 Standard Specification for Asphalt Glass Felt Used in Roofing and Waterproofing

D3746 Standard Test Method for Impact Resistance of Bituminous Roofing Systems

D4263 Standard Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method

D4272 Standard Test Method for Total Energy Impact of Plastic Films by Dart Drop

D4397 Standard Test Method for Indicating Moisture in Concrete by the Plastic Sheet Method

D5019 Standard Specification for Reinforced Non-Vulcanized Polymeric Sheet Used in Roofing Membrane.

D5957 Standard Guide for Flood Testing Horizontal Waterproofing Installations

E84 Standard Test Method for Surface Burning Characteristics of Building Materials

E96 / E96M Standard Test Methods for Water Vapor Transmission of Materials

E108 Standard Test Methods for Fire Tests of Roof Coverings

E119 Standard Test Methods for Fire Tests of Building Construction and Materials

E408 [-1971 (1996)e1] Standard Test Methods for Total Normal Emmittance of Surfaces Using Inspection- Meter Techniques

E903 [-1996] Standard Test Method for Solar Absorptance, Reflectance, and Transmittance of Materials Using Integrating Spheres

E1918 [-1997] Standard Test Method for Measuring Solar Reflectance of Horizontal and Low-Sloped Surfaces in the Field

E1980 [-2001] Standard Practice for Calculating Solar Reflectance Index of Horizontal and Low-Sloped Opaque Surfaces.

G152 Standard Practice for Operating Open Flame Carbon Arc Light Apparatus for Exposure of Nonmetallic Materials

G154 Standard Practice for Operating Fluorescent Light Apparatus for UV Exposure of Nonmetallic Materials

G155 Standard Practice for Operating Xenon Arc Light Apparatus for Exposure of Non-Metallic Materials

FM Global:

FM DS 1-28 – Wind Loads to Roof Systems and Roof Deck Securement.

FM 4450 – Approval Standard for Class 1 Insulated Steel Deck Roofs.

Intertek Testing Services (Warnock Hersey Listed):

WH – Certification Listings

National Roofing Contractors Association:

NRCA – The NRCA Roofing and Waterproofing Manual.

Singly Ply Roofing Institute:

SPRI ES-1 Wind Design Standard and Edge Systems Used with Low Slope Roofing Systems.

Underwriters Laboratories Inc.:

UL – Fire Resistance Directory.

UL 790 – Tests for Fire Resistance of Roof Covering Materials.

UL 1256 – Fire Test of Roof Deck Construction.

UL 1897 – Uplift Tests of Roof Covering Systems.

U.S. Environmental Protection Agency:

ENERGY STAR – ENERGY STAR Voluntary Labeling Program.

Factory Mutual (FM Global) – Factory Mutual Standard 4470 – Approval Standard for Class 1 Roof Covers.

Federal Specification #HH-I-1972: Faced polyisocyanurate roof insulation board.

Green Seal: GS-36- Environmental Standard for Commercial Adhesives.

Sheet Metal and Air Conditioning Contractors National Association, Inc, (SMACNA) – Architectural Sheet Metal Manual.

Underwriters Laboratories (UL) – Roofing Systems and Materials Guide (TGFU).

ADMINISTRATIVE REQUIREMENTS

Pre-installation Roofing Conference: conduct conference at [Project site] <insert location >.

Meet with LANL Architect of Record, LANL’s insurer if applicable, testing and inspecting agency representative, roofing installer, roofing system manufacturer’s representative, deck installer, and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

Review methods and procedures related to roofing installation, including manufacturer’s written instructions.

Review and finalize construction schedule and verify availability of materials, installer’s personnel, equipment, and facilities needed to make progress and avoid delays.

Examine deck substrate conditions and finishes for compliance with requirements, including flatness and fastening.

Review structural loading limitations of roof deck during and after roofing.

Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

Review governing regulations and requirements for insurance and certificates if applicable.

Review temporary protection requirements for roofing system during and after installation.

Review roof observation and repair procedures after roofing installation.

ACTION SUBMITTALS / INFORMATIONAL SUBMITTALS

Product Data: Manufacturer’s data sheets on each product to be used including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Roof insulation.

Manufacturer’s published specifications, base flashing details, for the specified system.

Submit Material Safety Data Sheets on all roofing materials to be used.

Shop Drawings: Provide plan section, elevation and perspective drawings as necessary to depict all flashing and project conditions on the project, including but not limited to the following:

Roof system and base flashing configuration.

Penetration details.

Termination details.

Fastening patterns.

Tapered insulation design.

Selection Samples: For each product specified, two samples representing manufacturer’s full range of available colors and types.

Verification Samples: For each finish product specified, two samples representing actual product, color and finish.

Manufacturer’s Certificates: Signed by roofing manufacturer certifying that roofing system complies with requirements specified in “Performance Requirements” Article.

Submit evidence of complying with performance requirements.

Product Test Reports: Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for components of membrane roofing system.

Research/Evaluation Reports: For components of membrane roofing system, from [the ICC-ES] <Insert applicable model code organization>.

Manufacturer’s Instructions:

Manufacturer’s published installation instructions and methods.

Qualification Data: For qualified [Installer] [manufacturer] [and] [testing agency].

SUSTAINABLE DESIGN SUBMITTALS

*************************************************************************************************
If Project is to meet LEED certification, add Fundamental Commissioning (EA Prerequisite 1) and Enhanced Commissioning (EA credit 3) submittal requirements as necessary.
*************************************************************************************************

Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements.

Materials Resources Certificates:

Certify recycled material content for recycled content products.

Certify source for regional materials and distance from Project site.

Product Test Reports for roof materials, indicating that roof materials comply with Solar Reflectance Index requirement.

Submit manufacturer’s documentation of Energy Star labeled roofing materials.

Product data for adhesives and sealants, including printed statement of VOC content.

CLOSE-OUT SUBMITTALS

Maintenance data: for roofing system to include in maintenance manuals.

Warranties:

Submit a copy of the membrane manufacturer’s warranty covering materials.

Submit copy of the Roofing Subcontractor’s warranty covering workmanship.

QUALITY ASSURANCE

Apply roofing system by an approved subcontractor authorized prior to bid by the roof membrane manufacturer. Prior to bid, the Roofing Subcontractor must have completed a minimum of 500 roofing squares of CSPE membrane in the Southwest.  To qualify for this requirement, the completed membrane must have met all conditions to obtain material and labor warranty and must be performing successfully.

Membrane manufacturer to provide a list of projects, completed in the Southwest, where the specified membrane has been in place and performing successfully for a period of not less than five (5) years. A minimum of 500 roofing squares must have been installed to meet this requirement.

Do not deviate from this specification or the approved shop drawings without prior written approval by the manufacturer and the LANL Subcontract Technical Representative (STR).

Code Requirements: Meet the requirements of the following recognized code approval or testing agencies. These requirements are minimum standards and no roofing work will commence without written documentation of the system’s compliance.

Fire rated Roof Construction: [Rating as indicated on Drawings] [<______> hour rating].

Tested Rating: Determined in accordance with ASTM E119.

***********************************************************************************
Refer to IBC for tables of fire resistance ratings for various material and assemblies. Tables use item numbers to identify each assembly.
***********************************************************************************

Prescriptive Rating: [Item Number <______>;] determined in accordance with [applicable] <______> code.

Conform to [UL] [FM] [WH] Assembly Design No. <_______>.

************************************************************************************
Select minimum fire classification based on type of construction and applicable code. Class A provides greatest resistance to exterior fire exposure. LANL’s insurer may require greater fire classification than required by code.
************************************************************************************

Roof Assembly Fire Classification: Minimum [Class A] [Class B] [Class C] when tested in accordance with ASTM E108 or UL 790.

Roof Assembly with Foam Insulation: Passes FM 4450 or UL 1256.

Surface Burning Characteristics:

Foam Insulation: Maximum 75/450 flame spread/smoke developed index when tested in accordance with ASTM E84.

Factory Mutual (FM) 1-90 uplift rating, as indicated on Contract Documents per FM Approval Standard No. 4470.

Energy Star Roof Compliance: Proposed roofing system will be Energy Star Roof-compliant and roofing materials will be Energy Star labeled.

For new installations, ponding will not occur in accordance with NRCA Roofing and Waterproofing Manual good roof design practice, which dictates that there will be no ponding water present 48-hours after rainfall.

There will be no more than 20 patches per 10, 000 SF on new construction.

DELIVERY, STORAGE, AND HANDLING

Store products in manufacturer’s unopened packaging until ready for installation.

Deliver roofing materials to the site in original containers, with factory seals intact.

Store pail goods in their original undamaged containers in a clean, dry location within their specified temperature range.

Store roll goods on end on pallets in a clean, dry, protected area. Do not double stack modified bitumen products.

Protect roof insulation materials from physical damage and from deterioration by sunlight, moisture, soiling, and other sources. Store in a dry location. Comply with insulation manufacturer’s written instructions for handling, storing, and protecting during installation.

Store and dispose of hazardous materials, and materials contaminated by hazardous materials, in accordance with requirements of local authorities having jurisdiction.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer’s absolute limits.

Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit roofing system to be installed according to manufacturer’s written instructions and warranty requirements.

WARRANTY

Special Warranty: Manufacturer’s standard form, without monetary limitation, in which manufacturer agrees to repair or replace components of membrane roofing system that fail in materials or workmanship within specified warranty period.

Special warranty includes membrane roofing, base flashings, [roofing insulation], [fasteners], [cover boards], [substrate board] [roofing accessories] [roof pavers] and other components of membrane roofing system.

Warranty Period: [10] [15] <Insert number> years from date of Substantial completion.

Special Project Warranty: Submit roofing installer’s warranty, signed by Installer, covering the work of this section, including all components of membrane roofing system such as membrane roofing, base flashing, roof insulation, fasteners, cover boards, substrate boards, vapor retarder, and walkway products, for the following warranty period:

Warranty period: [Two] < insert number> years from date of Substantial Completion.

PRODUCTS

  - MANUFACTURERS

    - Manufacturers: Subject to compliance with requirements, provide products by one of the following. No substitutions for these manufacturers permitted.

      - Burkeline Roofing Systems

      - Conklin Company Inc.

      - Tremco Incorporated.

      - <Insert manufacturer’s name>

  - PERFORMANCE / DESIGN CRITERIA

    - General Performance: Installed membrane roofing and base flashings shall withstand specified uplift pressures, thermally induced movement, and exposure to weather without failure due to defective manufacture, fabrication, installation, or other defects in construction. Membrane roofing and base flashings shall remain watertight.

      - Accelerated Weathering: Roofing system shall withstand 2000 hours of exposure when tested according to ASTM G 152, ASTM G 154, or ASTM G 155.

      - Impact Resistance: Roofing system shall resist impact damage when tested according to ASTM D 3746 or ASTM D 4272.

    - Material Compatibility: Provide roofing materials that are compatible with one another under conditions of service and application required, as demonstrated by membrane roofing manufacturer based on testing and field experience.

    - FM Global Listing: Roofing, base flashings, and component materials shall comply with requirements in FM Global 4450 or FM Global 4470 as part of a roofing system, and shall be listed in FM Global’s “RoofNav” for Class 1 or noncombustible construction, as applicable. Identify materials with FM Global markings.

      - Fire/Windstorm Classification: Class 1A-90.

      - Hail-Resistance Rating: MH.

    - Solar Reflectance Index: Provide roofing system with initial Solar Reflectance Index not less than 78 when calculated according to ASTM E 1980 based on testing identical products by a qualified testing agency.

    - Energy Star Listing: Provide roofing system that is listed on DOE’s ENERGY STAR “Roof Products Qualified Product List” for low-slope roof products.

    - Energy Performance: Provide roofing system with initial Solar Reflectance not less than 0.70 and Thermal Emittance not less than 0.75 when tested according to Cool Roof Rating Council’s CRRC-1.

    - Exterior Fire-Test Exposure: ASTM E 108 or UL 790, Class A for application and roof slopes indicated; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

    - Fire-Resistance Ratings: Comply with fire-resistance-rated assembly designs indicated. Identify products with appropriate markings of applicable testing agency.

    - Manufacturer’s Requirements

      - Except as modified and supplemented herein, follow the Roofing Manufacturer’s and other materials manufacturer’s catalogs, general and special requirements, and specific application recommendations.

      - With respect to methods of installation, industry practices apply only when these specifications do not address the matter.

    - Slopes and Underlying Materials

      - Use materials which are proper for the slopes and for the underlying material to which the other materials are attached.

  - MATERIALS

    - CSPE ROOFING

      - CSPE: ASTM D 5019, Type 1, Grade 2, 45-mil thick, reinforced, flexible uncured sheet formed from CSPE, and as follows:

        - Exposed Face Color: [White] [Tan] <Insert color>.

      - Extruded- Polystyrene Board Insulation: ASTM C 578 [Type II, 1.35-lb/cu.ft.] [Type VIII, 1.15-lb/cu.ft] [Type IX, 1.8-lb/cu.ft.] minimum density.

      - Molded-Polystyrene Board Insulation: ASTM C 578 [Type II, 1.35-lb/cu.ft.] [Type VIII, 1.15-lb/cu.ft.] [Type IX, 1.8-lb/cu.ft] minimum density.

      - Composite Molded-Polystyrene Board Insulation: ASTM C 578, [Type II, 1.35-lb/cu.ft.] [Type VIII, 1.15-lb/cu.ft.] [Type IX, 1.8-lb/cu.ft] minimum density, with factory-applied facings as follows:

        - Facer: ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, asphalt coated, ½ inch thick.

        - Facer: DOC PS 2, Exposure 1, OSB, 7/16 inch thick.

      - Polyisocyanurate Board Insulation: ASTM C 1289, [Type II, Class 1, Grade 2] [Type II, Class I, Grade 3], felt of glass-fiber mat facer on both major surfaces.

      - Composite Polyisocyanurate Board Insulation: ASTM C 1289, with factory-applied facing board, as indicated below by type, on one major surface and felt or glass-fiber mat facer on the other surface.

        - Type IV, cellulosic-fiber-insulating-board facer, Grade 2, ½ inch thick.

        - Type V, OSB facer, 7/16 inch thick.

        - Type VII, glass-mat-faced gypsum board facer, ¼ inch thick.

      - Perlite Board Insulation: ASTM C 728, rigid, mineral-aggregate thermal insulation board composed of expanded perlite, cellulosic fibers, binders, and waterproofing agents with top surface seal coated.

      - Cellulosic-Fiber Board Insulation: ASTM C 208, Type II, Grade 2, fibrous-felted, rigid insulation boards of wood fiber or other cellulosic-fiber and water-resistant binders, asphalt impregnated, chemically treated for deterioration.

      - Cellular-Glass Board Insulation: ASTM C 552, Type IV, rigid, cellular-glass thermal board insulation faced with manufacturer’s standard kraft-paper sheets.

      - Tapered Insulation: Provide factory-tapered insulation boards fabricated to slope of [1/4 inch per 12 inches (1:48)] <Insert slope> unless otherwise indicated.

      - Provide preformed saddles, crickets, tapered edge strips, and other insulation shapes where indicated for sloping to drain. Fabricate to slopes indicated.

    - Roof Insulation

***************************************************************************************************Select substrate boards from the following as required for compatibility with SBS roofing system and applicable roof design requirements.
***************************************************************************************************

      - General: Preformed roof insulation boards manufactured [or approved] by roofing manufacturer, selected from manufacturer’s standards sizes and suitable for application, of thicknesses indicated [and that produces FM Approvals-approved roof insulation].

    - Substrate Boards

      - Substrate Board: ASTM C 1396/C 1396M, Type X gypsum board, 5/8 inch thick.

      - Substrate Board: ASTM C 1177/C 1177M, glass-mat, water-resistant gypsum substrate, [1/4 inch] [1/2 inch] [Type X, 5/8 inch] thick, [factory primed].

        - Products: Subject to compliance with requirements, provide the following:

          - Georgia-Pacific Corporation: [Dens Deck] [Dens Deck Prime] [Dens Deck DuraGuard].

          - <Insert manufacturer’s name; product name or designation>.

Substrate Board: ASTM C 1278/C 1278M, cellulosic-fiber-reinforced, water-resistant gypsum substrate, [1/4 inch] [3/8 inch] [1/2 inch] [5/8 inch] thick.

Products: Subject to compliance with requirements, provide the following:

          - USG Corporation; Securock.

          - <Insert manufacturer’s name; product name or designation>.

Substrate Board: ASTM C 728, perlite board, [3/4 inch] [1 inch] thick, seal coated.

Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Approvals 4470, designated for fastening substrate board to roof deck.

Vapor Retarder

********************************************************************************************Select vapor retarder from the following as required for compatibility with SBS roofing system and applicable roof design requirements.
********************************************************************************************

Polyethylene Film: ASTM D 4397, 6 mils thick, minimum, with maximum permeance rating of 0.13 perm.

Tape: Pressure-sensitive tape of type recommended by vapor-retarder manufacturer for sealing joints and penetrations in vapor retarder.

Adhesive: Manufacturer’s standard lap adhesive, FM Approvals approved for vapor-retarder application.

Laminated Sheet: Polyethylene laminate, two layers, reinforced with cord grid, with maximum permeance rating of 0.06 perm.

Self-Adhering Sheet Vapor Retarder: ASTM D 1970, minimum of 40-mil-thick, polyethylene film laminated to layer of rubberized asphalt adhesive; maximum permeance rating of 0.1 perm; cold applied, with slip-resisting surface and release paper backing. Provide primer when recommended by vapor-retarder manufacturer.

Self-Adhering Sheet Vapor Retarder: 30 to 40-mil-thick, polyethylene film laminated to layer of butyl rubber adhesive; maximum permeance rating of 0.1 perm; cold applied, with slip-resisting surface and release paper backing. Provide primer when recommended by vapor-retarder manufacturer.

Glass-Fiber Felt: ASTM D 2178, Type IV, asphalt impregnated.

Cover Board

********************************************************************************************Select cover board from the following as required for compatibility with SBS roofing system and applicable roof design requirements. 
********************************************************************************************

Cover Board: ASTM C 208, Type II, Grade 2, cellulosic-fiber insulation board, ½ inch thick.

Cover Board: DOC PS 2, Exposure 1, OSB, 7/16 inch thick.

Cover Board: ASTM C 1177/C 1177M, glass-mat water-resistant gypsum substrate, [1/4 inch] [1/2 inch] [5/8 inch] thick [factory primed].

Products: Subject to compliance with requirements, provide the following:

          - Georgia-Pacific Corporation; [Dens Deck] [Dens Deck Prime] [Dens Deck DuraGuard].

          - <Insert manufacturer’s name; product name or designation>.

Cover Board: ASTM C 1278/C 1278M, cellulosic-fiber-reinforced, water-resistant gypsum substrate, [1/4 inch] [3/8 inch] [1/2 inch] [5/8 inch] thick.

Products: Subject to compliance with requirements, provide the following:

          - USG Corporation; Seculock.

          - <Insert manufacturer’s name; product name or designation>.

Insulation Accessories

General: Furnish roof insulation accessories recommended by insulation manufacturer for intended use and compatibility with membrane roofing.

Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Approvals 4470, designed for fastening roof insulation [and cover boards] to substrate, and acceptable to roofing system manufacturer.

Insulation Adhesive: Insulation manufacturer’s recommended adhesive formulated to attach roof insulation to substrate or to another insulation layer as follows:

Modified asphaltic, asbestos-free, cold-applied adhesive.

Bead-applied, low-rise, one-component, or multicomponent urethane adhesive.

Full-spread spray-applied, low-rise, two-component urethane adhesive.

Insulation Cant strips: ASTM C 728, perlite insulation board.

Insulation Cant strips: ASTM C 208, Type II, Grade 1, cellulosic-fiber insulation board.

Wood Nailer Strips: Comply with requirements in Section 06 6100, Rough Carpentry.

Tapered Edge Strips: ASTM C 728, perlite insulation board.

Tapered Edge Strips: ASTM C 208, Type II, Grade 1, cellulosic-fiber insulation board.

Substrate Joint Tape: 6- or 8- inch wide, coated, glass-fiber joint tape.

Auxiliary Roofing Membrane Materials

General: Auxiliary materials recommended by roofing manufacturer for intended use and compatible with roofing membrane.

Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

Adhesives and sealants that are not on the exterior side of weather barrier shall comply with the following limits for VOC content when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

          - Plastic Foam Adhesives: 50 g/L.

          - Gypsum Board and Panel Adhesives: 50 g/L.

          - Multipurpose Construction Adhesives: 70 g/L.

          - Fiberglass Adhesives: 80 g/L.

          - Single-Ply Roof Membrane Adhesives: 250 g/L.

          - Single-Ply Roof Membrane Sealants: 450 g/L.

          - Nonmembrane Roof Sealants: 300 g/L.

          - Sealant Primers for Nonporous Substrates: 250 g/L.

          - Sealant Primers for Porous Substrates: 775 g/L.

          - Other Adhesives and Sealants: 250 g/L.

Asphalt Primer: ASTM D 41/D 41M.

Roofing Asphalt: ASTM D 312, Type III or IV as recommended by roofing manufacturer for application.

Sheet Flashing: 45-mil thick, reinforced or 55-mil thick, non-reinforced CSPE, as recommended by roofing system manufacturer for intended use.

Bonding Adhesive: Manufacturer’s standard [, water based].

Slip Sheet: Manufacturer’s standard, of thickness required for application.

Metal Termination Bars: Manufacturer’s standard, predrilled stainless-steel or aluminum bars, approximately 1 by 1/8 inch thick, with anchors.

Metal Battens: Manufacturer’s standard, aluminum-zinc-alloy-coated or zinc-coated steel sheet, approximately 1 inch wide by 0.05 inch thick, prepunched.

Fasteners: Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in FM Global 4470, designed for fastening membrane to substrate, and acceptable to roofing system manufacturer.

Protection Mat: Woven or nonwoven polypropylene, polyolefin, or polyester fabric, water permeable and resistant to UV degradation, type and weight as recommended by roofing system manufacturer for application.

Miscellaneous Accessories: Provide pourable sealers, preformed cone and vent sheet flashings, preformed inside and outside corner sheet flashings, T-joint covers, lap sealants, termination reglets, and other accessories.

Walkways

Flexible Walkways: Factory-formed, nonporous, heavy-duty, slip-resisting, surface-textured walkway [pads] [or] [rolls], approximately 3/16 inch thick and acceptable to roofing system manufacturer.

Walkway Roof Pavers: Heavyweight, hydraulically pressed concrete units, [square edged] [with top edges beveled 3/16 inch, factory cast for use as roof pavers; absorption not greater than 5 percent, ASTM C 140; no breakage and maximum 1 percent mass loss when tested for freeze-thaw resistance, ASTM C 67; and as follows:

Size: [24 by 24 inches] <Insert dimensions>. Manufacture pavers to dimensional tolerances of plus or minus 1/16 inch in length, height, and thickness.

Weight: [18 lb/sq.ft.] [22 lb/sq.ft.] <insert value>.

Compressive Strength: [7500 psi] [6500 psi] <insert value>, minimum.

Colors and Textures: [As selected by Architect from manufacturer’s full range of colors and textures].

EXECUTION

  - EXAMINATION

    - Examine substrates, areas, and conditions, with installer present, for compliance with the following requirements and other conditions affecting performance of insulation and roofing systems:

      - Verify that roof openings and penetrations are in place and curbs are set and braced and that roof drain bodies are securely clamped in place.

      - Verify that wood cants, blocking, curbs, and nailers are securely anchored to roof deck at penetrations and terminations and that nailers match thickness of insulation.

      - Verify that surface plane flatness and fastening of steel roof deck complies with requirements in Section 05 3000 Metal Decking.

      - Verify that minimum concrete drying period recommended by roofing system manufacturer has passed.

      - Verify that concrete substrate is visibly dry and free of moisture. Test for capillary moisture by plastic sheet method according to ASTM D 4263.

        - Test for moisture by pouring 1 pint of hot roofing asphalt on deck at start of each day’s work and at start of each roof area or plane. Do no proceed with roofing work if test sample foams or can be easily and cleanly stripped after cooling.

      - Verify that concrete-curing compounds that will impair adhesion of roofing components to roof deck have been removed.

      - Verify that deck is securely fastened with no projecting fasteners and with no adjacent units in excess of 1/16 inch out of plane relative to adjoining deck.

    - Proceed with installation only after unsatisfactory conditions have been corrected.

  - PREPARATION

- Clean substrate of dust, debris, moisture, and other substances detrimental to insulation and roofing installation according to roofing system manufacturer’s written instructions. Remove sharp projections.

- Prevent materials from entering and clogging roof drains and conductors and from spilling or migrating onto surfaces of other construction. Remove roof-drain plugs when no work is taking place or when rain is forecast.

- Prime surface of concrete deck with asphalt primer as recommended by roofing manufacturer and allow primer to dry.

- Install insulation strips according

ROOFING INSTALLATION, GENERAL

Install roofing system according to roofing system manufacturer’s written instructions.

Complete terminations and base flashings and provide temporary seals to prevent water from entering completed sections of roofing system at the end of the workday or when rain is forecast.  Remove and discard temporary seals before beginning work on adjoining roofing.

Install roofing and auxiliary materials to tie in to existing roofing to maintain weathertightness of transition [and to not void warranty for existing roofing system].

SUBSTRATE BOARD INSTALLATION

Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows. Tightly butt substrate boards together.

Fasten substrate board to top flanges of steel deck according to recommendations in FM Approval Guide for specified Windstorm Resistance Classification.

Fasten substrate board to top flanges of steel deck to resist uplift pressure at corners, perimeter, and field of roof according to membrane roofing system manufacturer’s written instructions.

VAPOR-RETARDER INSTALLATION

*************************************************************************************************************Select vapor-retarder installation method as required for selected vapor-retarder.
*************************************************************************************************************

Polyethylene Film: Loosely lay polyethylene-film vapor retarder in a single layer over area to receive vapor retarder, side and end lapping each sheet a minimum of 2 inches and 6 inches, respectively.

Continuously seal side and end laps with [tape] [adhesive].

Laminate sheet: Install laminate-sheet vapor retarder in a single layer over area to receive vapor retarder, side and end lapping each sheet a minimum of 2 inches and 6 inches, respectively. Bond vapor retarder to substrate as follows:

Apply adhesive at rate recommended by vapor-retarder manufacturer. Seal laps with adhesive.

Apply ribbons of hot roofing asphalt at spacing, temperature, and rate recommended by vapor-retarder manufacturer. Seal laps with hot roofing asphalt.

Self-Adhering Sheet Vapor Retarder: Prime substrate if required by manufacturer. Install self-adhering sheet vapor retarder over area to receive vapor retarder, side and end lapping each sheet a minimum of 3-1/2 inches and 6 inches, respectively. Seal laps by rolling.

Built-up Vapor Retarder: Install two-glass-fiber felt plies lapping each felt 19 inches over preceding felt. Embed each felt in a solid mopping of hot roofing asphalt. Glaze-coat completed surface with hot roofing asphalt. Apply hot roofing asphalt within plus or minus 25 deg F of equiviscous temperature.

Completely seal vapor retarder at terminations, obstructions, and penetrations to prevent air movement into membrane roofing system.

INSULATION INSTALLATION

*************************************************************************************************** Select insulation installation method as required for selected insulation.
***************************************************************************************************

Comply with roofing system manufacturer’s written instructions for installing roof insulation.

Install one lapped base-sheet course and mechanically fasten to substrate according to roofing system manufacturer’s written instructions.

Nailer Strips: Mechanically fasten 4-inch nominal width wood nailer strips of same thickness as insulation perpendicular to sloped roof deck at the following spacing:

[16 feet] <Insert spacing> apart for roof slopes steeper than 1 inch per 12 inches (1:12) but less than 3 inches per 12 inches (3:12).

[48 inches] <Insert spacing> apart for roof slopes steeper than 3 inches per 12 inches (3:12).

Insulation Cant Strips: Install and secure preformed 45-degree insulation cant strips at junctures of roofing membrane system with vertical surfaces or angle changes more than 45 degrees.

Install tapered insulation under area of roofing to conform to slopes indicated.

Install insulation with long joints of insulation in a continuous straight line with end joints staggered between rows, abutting edges and ends between boards. Fill gaps exceeding ¼ inch with insulation.

Cut and fit insulation within ¼ inch of nailers, projections, and penetrations.

Install insulation under area of roofing to achieve required thickness. Where overall insulation thickness is 2.7 inches or more, install two or more layer with joints of each succeeding layer staggered from joints to previous layer a minimum of 6 inches in each direction.

Where installing composite and non-composite insulation in two or more layers, install non-composite board insulation for bottom layer and intermediate layers, if applicable, and install composite board insulation for top layer.

Trim surface of insulation where necessary at roof drains so completed surface is flush and does not restrict flow of water.

Install tapered edge strips at perimeter edges of roof that do not terminate at vertical surfaces.

Adhered Insulation: Install each layer of insulation and adhere to substrate as follows:

Prime surface of concrete deck with asphalt primer at rate of ¾ gal./100 sq.ft. and allow primer to dry.

Set each layer of insulation in a solid mopping of hot roofing asphalt applied within plus or minus 25 deg F of equiviscous temperature.

Set each layer of insulation in ribbons of bead-applied insulation adhesive, firmly pressing and maintaining insulation in place.

Set each layer if insulation in a uniform coverage of full-spread insulation adhesive, firmly pressing and maintaining insulation in place.

Mechanically Fastened Insulation: Install each layer of insulation and secure to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

Mechanically fasten insulation to substrate with fasteners/plates and pattern complying with FM 1-90 requirements and approved by membrane manufacturer.

Fasten insulation to resist uplift pressure of corners, perimeter, and field of roof.

Mechanically Fastened and Adhered Insulation: Install first layer of insulation to deck using mechanical fasteners specifically designed and sized for fastening specified board-type roof insulation to deck type.

Mechanically fasten insulation to substrate with fasteners/plates and pattern complying with FM 1-90 requirements and approved by membrane manufacturer.

Fasten first layer of insulation to resist uplift pressure at corners, perimeter, and field of roof.

Set each subsequent layer of insulation in a solid mopping of hot roofing asphalt applied within plus or minus 25 deg. F of equivoscous temperature.

Set each subsequent layer of insulation in ribbons of bead-applied insulation adhesive, firmly pressing and maintaining insulation in place.

Set each subsequent layer of insulation in a uniform coverage of full-spread insulation adhesive, firmly pressing and maintaining insulation in place.

COVER BOARD INSTALLATION

Install cover boards over insulation with long joints in continuous straight lines with end joints staggered between rows. Offset joints a minimum of 6 inches in each direction from joints of insulation below. Loosely butt cover board together [and fasten to roof deck]. Tape joints if required by roofing system manufacturer.

Fasten cover boards according to requirements in FM Approvals’ “RoofNav” for specified Windstorm Resistance Classification.

Fasten cover boards to resist uplift pressure at corners, perimeter, and field of roof.

Apply hot roofing asphalt to underside, and immediately bond cover board to substrate.

ADHERED MEMBRANE ROOFING INSTALLATION

Adhere roofing over area to receive roofing, and install according to roofing system manufacturer’s written instructions.

Start installation of roofing in presence of roofing system manufacturer’s technical personnel.

Accurately align roofing, and maintain uniform side and end laps of minimum dimensions required by manufacturer. Stagger end laps.

Bonding Adhesive: Apply to substrate and underside of roofing at rate required by manufacturer, and allow to partially dry before installing roofing. Do not apply to splice area of roofing.

In addition to adhering, mechanically fasten roofing securely at terminations, penetrations, and perimeter of roofing.

Apply roofing with side laps shingled with slope of roof deck where possible.

Seams: clean seam areas, overlap roofing, and weld side and end laps of roofing and sheet flashings according to manufacturer’s written instructions to ensure a watertight seam installation. Complete welding of seams within 24 hours of exposing CSPE sheet or before curing of CSPE sheet has begun. Weld seams as follows:

Weld Method: [Hot air] [Solvent] [Hot air or solvent, as standard with membrane roofing system manufacturer].

Test lap edges with probe to verify seam weld continuity. Apply lap sealant to seal cut edges of roofing sheet.

Verify field strength of seams a minimum of twice daily, and repair seam sample areas.

Repair tears, voids, and lapped seams in roofing that do not comply with requirements.

Spread sealant bed over deck-drain flange at roof drains, and securely seal roofing in place with clamping ring.

BASE FLASHING INSTALLATION

Install sheet flashings and preformed flashing accessories, and adhere to substrates according to roofing system manufacturer’s written instructions.

Apply bonding adhesive to substrate and underside of sheet flashing at required rate, and allow to partially dry.  Do not apply to seam area of flashing.

Flash penetrations and field-formed inside and outside corners with cured or uncured sheet flashing.

Clean seam areas, overlap, and firmly roll sheet flashings into the adhesive. Weld side and end laps to ensure a watertight seam installation. Complete welding of seams within 24 hours of exposing CSPE sheet or before curing of CSPE sheet has begun.

Terminate and seal top of sheet flashings [and mechanically anchor to substrate through termination bars].

WALKWAY INSTALLATION

Flexible Walkways: Install walkway products in locations indicated. Heat weld to substrate or adhere walkway products to substrate with compatible adhesive according to roofing system manufacturer’s written instructions.

Roof-Paver Walkways: Install walkway roof pavers according to manufacturer’s written instructions in locations indicated, to form walkways. Leave 3 inches of space between adjacent roof pavers.

FIELD QUALITY CONTROL

Testing Agency: [LANL will engage] a qualified testing agency to inspect substrate conditions, surface preparation, membrane application, flashings, protection, and drainage components, and to furnish reports to LANL STR.

Electric Field Vector Mapping (EFVM): Testing agency shall survey entire roof area for potential leaks using electric field vector mapping (EFVM).

Flood Testing: Flood test each roofing area for leaks, according to recommendations in ASTM D 5957, after completing roofing and flashing but before overlying construction is placed.  Install temporary containment assemblies, plug or dam drains, and flood with potable water.

Flood to an average depth of 2-1/2 inches with a minimum depth of 1 inch and not exceeding a depth of 4 inches. Maintain 2 inches of clearance from top of base flashing.

Flood each area for [24] [48] [72] hours.

After flood testing, repair leaks, repeat flood tests, and make further repairs until roofing and flashing installations are watertight.

Test Cuts: Test specimens will be removed to evaluate problems observed during quality-assurance inspections of roofing membrane as follows:

Approximate quantities of components within roofing membrane will be determined according to ASTM D 3617.

Test specimens will be examined for interplay voids according to ASTM D 3617 and to comply with criteria established in Appendix 3 in ARMA/NRCA’s “Quality Control Guidelines for the Application of Polymer Modified Bitumen Roofing.”

Repair areas where test cuts were made according to roofing system manufacturer’s written instructions.

Final Roof Inspection: Arrange for roofing system manufacturer’s technical personnel to inspect roofing installation on completion.

Notify LANL STR 48 hours in advance of date and time of inspection.

Roofing system will be considered defective if it does not pass tests and inspections.

Additional testing and inspecting, at Construction Subcontractors expense will be performed to determine if replaced or additional work complies with specified requirements.

PROTECTING AND CLEANING

Do not leave installed insulation exposed to weather. Cover and waterproof immediately after installation.

Temporarily seal exposed insulation edges at the end of each day by lapping roofing membrane over edge to form a seal. Remove seal when work resumes.

Remove installed insulation that has become wet or damaged and replace the new insulation material.

Protect insulation from traffic with protective covering materials during and after installation.

Protect roofing system from damage and wear during remainder of construction period.  When remaining construction will not affect or endanger roofing, inspect roofing for deterioration and damage, describing its nature and extent in a written report, with copies of LANL STR.

Correct deficiencies in or remove roofing system that does not comply with requirements, repair substrates, and repair or reinstall roofing system to a condition free of damage and deterioration at time of substantial completion and according to warranty requirements.

Clean overspray and spillage from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

Maintain job site in a clean, orderly fashion, and free of debris. Store materials and equipment so operations of building are not interrupted.

END OF SECTION

******************************************************************

Do not delete the following reference information:

******************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 07 5316 Rev. 2, dated June 26, 2012.